SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 4

Building Name:  St. Rita of Cascia

Building Address:  770 W. Old Indian Trail- Aurora, Illinois 60506

Name of Person Completing Report:	Elizabeth Faxon

Title:	Principal						                       	Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Linoleum | Restrooms by Gym | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 02 | 1’x1’ Ceiling Tile- Pinhole | Basement & Hallway | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 03 | Plaster Ceilings & Walls- Sandy Finish (See HA #SPB) | Basement & Lobby Area | N/A | N/A |  | Material Analyzed to be NON-ACM by True North in 2014 |
| 04 | 1’x1’ Ceiling Tile- Grooved w/Pinholes | Telephone Booth & Office | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 05 | 2’x4’ Ceiling Tile- Grooved w/Pinholes | Library | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 06 | Fiberglass Ceiling Tile | 7th & 8th Grade Classrooms | N/A | N/A |  | Assumed to be Fiberglass in 1988 |
| 07 | Gypsum Wall Board | Pipe Chase, Hallway to Gym, Storage to Gym | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 08 | 2’x4’ Ceiling Tile- Rough | Hallway To Gym | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 09 | Boiler & Boiler Flue Insulation | Boiler Room | ND | ND |  | Preventive Measures… Continue O&M |
| 10 | Pipe Insulation | Boiler Room | ND | ND |  | Preventive Measures… Continue O&M |
| 11 | Pipe Fittings on Non-ACM Pipe Insulation | Throughout | ND | ND |  | Preventive Measures… Continue O&M |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 4

Building Name:  St. Rita of Cascia

Building Address:  770 W. Old Indian Trail- Aurora, Illinois 60506

Name of Person Completing Report:	Elizabeth Faxon

Title:	Principal						                       	Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | 9”x 9” Floor Tile | Throughout Building | N/A | N/A |  | Material Removed/Abated in 3 Stages… 1990, July 2002, June/July 2004 |
| 13 | 9”x 9” Floor Tile Mastic- Associated w/HA #12 | Throughout Building | N/A | N/A |  | Material Removed/Abated in 3 Stages… 1990, July 2002, June/July 2004 |
| 14 | Acoustical Ceiling Plaster | Church | N/A | N/A |  | Material Removed/Abated in 1990 |
| 15 | Epoxy Flooring Material | Locker Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| SPA | Plaster- Smooth Finish | Throughout Building | N/A | N/A |  | Material Analyzed to be NON-ACM by True North in 2014 |
| SPB | Plaster- Sandy Finish | Basement & Lobby Area, Gym Hallway | HA #03 | HA #03 |  | Material Analyzed to be NON-ACM by True North in 2014 |
| MDA | Drywall W/Compound & Tape | Library & Computer Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFA | 12”x 12” Floor Tile/Mastic- Beige w/Tan & Brown Flecks | Basement Cafeteria | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFB | 12”x 12” Floor Tile/Mastic- Beige w/ Aqua, Green & Orange Flecks | Principal’s & Nurses Office | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFC | 12”x 12” Floor Tile/Mastic- Dark And Light Aqua Flecks | Classrooms 1S to 4S & 5W to 8W | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFD | 12”x 12” Floor Tile/Mastic- Dark Gray & Beige Flecks | Hallway & Faculty Lounge | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 4

Building Name:  St. Rita of Cascia

Building Address:  770 W. Old Indian Trail- Aurora, Illinois 60506

Name of Person Completing Report:	Elizabeth Faxon

Title:	Principal					                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MFE | 12”x 12” Floor Tile/Mastic- Gray & Beige Flecks | 1st Floor-Front Workrooms & Storage, 2nd Floor- Computer Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFF | 12”x 12” Floor Tile Mastic- Beige & Tan Squares Pattern | Gym, Office/Storage | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFG | Terrazzo | Basement- Stairs, Woman’s Rm, Kitchen 1st Floor- Hallway, Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFH | 1” Ceramic Tile/Grout- Gray | 1st Floor North Boy’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFI | 12”x 12” Floor Tile/Mastic- Brown w/Tan & Beige Flecks | Classrooms 1N to 4N & 6E to 8E, Bookroom/Storage, Teacher’s Lounge | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MBA | Vinyl Wall Base/ Mastic- Gray | Hallway, Storage Rooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MCA | 2’x2’ Lay-In Ceiling Tile | Front Storage Rooms | N/A | N/A |  | Material Analyzed NON-ACM by True North in 2014 |
| MCB | 2’x4’ Lay-In Ceiling Tile- Small Fissures w/Pinholes | Library | N/A | N/A |  | Material Analyzed NON-ACM by True North in 2014 |
| MCC | 2’x4’ Lay-In Ceiling Tile- Rough w/ Pinholes | Hallway to Gym | N/A | N/A |  | Material Analyzed NON-ACM by True North in 2014 |
| MBB | Vinyl Wall Base/ Mastic- Blue | Library | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MBC | Vinyl Wall Base/ Mastic- Black | Hallway to Gym, Gym Office, Faculty Lounge | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 4 of 4

Building Name:  St. Rita of Cascia

Building Address:  770 W. Old Indian Trail- Aurora, Illinois 60506

Name of Person Completing Report:	Elizabeth Faxon

Title:	Principal						                       	Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MMA | Fire Doors | Basement & 2nd Floor | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MMB | Exterior Window Caulking | Exterior- Sanctuary Windows | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MCD | Ceiling Tile/Insulation | 8W,7W,8E,7E | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2014 |
| MFJ | Sheet Flooring- Tan w/Multi Colored Specks | 6W,7E | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2014 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.