SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 3

Building Name:  St. Mary

Building Address:  103 S. Gifford Street- Elgin, Illinois 60120

Name of Person Completing Report:	Jim Banke

Title:	Maintenance 						                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Linoleum/Mastic- Yellow (Under HA# MFE) | Kitchen | ND | ND |  | ASSUMED-Linoleum NON-ACM in 1988- Linoleum & Mastic to remain assumed until Mastic is analyzed |
| 02 | 1’x1’ Ceiling Tile- Vein | AV Room | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 03 | 1’x2’ Ceiling Tile- Rough | Stage | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 04 | 12”x12” Floor Tile/Mastic- Grey w/Blue & White Marks | Gym | ND | ND |  | Tile Negative in 1988 by PLM-Both Tile and Mastic to remain ASSUMED- analyze Tile by TEM Method |
| 05 | 12”x12” Floor Tile/Mastic- Blue w/ White Marks | Gym | ND | ND |  | Tile and Mastic Negative in 1988 by PLM method- TILE to remain ASSUMED until Tile analyzed by TEM |
| 06 | 12”x12” Floor Tile/Mastic- Brown | Stairs & Landings | ND | ND |  | Tile Negative in 1988 by PLM-Both Tile and Mastic to remain ASSUMED- analyze Tile by TEM Method |
| 07 | Linoleum/Mastic- Brown | Stairwells | ND | ND |  | ASSUMED-Linoleum NON-ACM in 1988- Linoleum & Mastic to remain assumed until Mastic is analyzed |
| 08 | Hard Fittings | Throughout | ND | ND |  | Preventive Measures… Continue O&M |
| 09 | Aircell Pipe Insulation | Throughout | ND | ND |  | Preventive Measures… Continue O&M |
| 10 | Plaster | Throughout | ND | ND |  | ASSUMED-1 Sample NON-ACM in 1988- 5or7 Samples REQUIRED for more than 1000/5000Sqft |
| 11 | 1’x1’ Ceiling Tile- Smooth | Mobile Classrooms | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 3

Building Name:  St. Mary

Building Address:  103 S. Gifford Street- Elgin, Illinois 60120

Name of Person Completing Report:	Jim Banke

Title:	Maintenance						                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | Linoleum/Mastic- Beige w/Gray Specks | Mobile Classrooms- Bathrooms | ND | ND |  | Preventive Measures… Continue O&M |
| 13 | Drywall | Mobile Classrooms | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 14 | 12”x12” Floor Tile Mastic (Associated w/HA# 04) | Gym (Associated w/HA# 04) | N/A | N/A |  | HA# 14 has been Eliminated and is now Included w/HA# 04 |
| 15 | Linoleum Mastic (Associated w/HA#’s 01 & 07) | Stairwells & Kitchen (Associated w/HA#’s 01 & 07) | N/A | N/A |  | HA# 15 has been Eliminated and is now Included w/HA# 01 & 07 |
| 16 | Linoleum Mastic (Associated w/HA# 12) | Mobile Classrooms- Bathrooms (Associated w/HA# 12) | N/A | N/A |  | HA# 16 has been Eliminated and is now Included w/HA# 12 |
| 17 18 | Linoleum/Mastic- White Linoleum Mastic | 3rd Floor- Teacher’s Bathroom 3rd Floor- Teacher’s Bathroom | ND N/A | N/A |  | ASSUMED- Preventive Measures… Continue O&M HA# 18 has been Eliminated and is now Included w/HA# 17 |
| MCA | 2’x4’ Ceiling Tile- Fissures & Pinholes | 1st Floor- East Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFA | Terrazzo- Black & White | 1st Floor- East Section | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFC | Terrazzo- Pink & Gray w/Green Border | 1st Floor- Foyer & Storage Rooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMA | Metal Fire Door | Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBA | Vinyl Wall Base/Mastic- Gray | Mobile Classrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 3

Building Name:  St. Mary

Building Address:  103 S. Gifford Street- Elgin, Illinois 60120

Name of Person Completing Report:	Jim Banke

Title:	Maintenance						                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MFD | 15”x15” Ceramic Tile/Grout- Tan | 3rd Floor- Science Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFE | Linoleum/Mastic- Blue-Gray Tile Pattern | Kitchen- Top Layer (Over HA# 01) | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MCB | 15”x15” Ceiling Tile- Smooth | 1st Floor- West side Storage Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MBB | Vinyl Wall Base/Mastic- Gray | Mobile Building- Single Classroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MCC | 4’x12’ Ceiling Panels | Mobile Building- Single Classroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MDA | Drywall | Mobile Building- Walls of Single Classroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.