SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 3

Building Name:  Holy Angels

Building Address:  720 Kensington Place- Aurora, Illinois 60506

Name of Person Completing Report:

Title:							                       		Date:

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 3

Building Name:  Holy Angels

Building Address:  720 Kensington Place- Aurora, Illinois 60506

Name of Person Completing Report:

Title:							                       		Date:

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 3

Building Name:  Holy Angels

Building Address:  720 Kensington Place- Aurora, Illinois 60506

Name of Person Completing Report:

Title:						                       		Date:

*** Material Condition***

(ND)- Not Damaged          (D)-  Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management ded.  Notify the Asbestos Program Manager immediately concerning any changes.

# Text boxes

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | 1’x1’ Ceiling tile- Rough | 1961 Building- Throughout | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 02 | 2’x4’ Ceiling Tile- Grooved | 1981 Addition-Throughout including Basement | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 03 | 2’x4’ Ceiling Tile- Smooth | Storage room | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 04 | Plaster Ceiling | Stairwell and Janitor’s Closet | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 05 | 9”x 9” Floor Tile/Mastic- Tan w/Multi Colored Specks | First Floor Classrooms and Gym Rooms | ND | ND |  | Preventive Measures… Continue O&M |
| 06 | Boiler and Boiler Breeching Insulation | Boiler Room | ND | ND |  | Preventive Measures… Continue O&M |
| 07 | Hot Water Tank Insulation | Boiler Room | N/A | N/A |  | Material is reported Removed/Abated 1998 |
| 08 | Air Cell Pipe Insulation | Boiler Room and Scattered Areas | ND | ND |  | Preventive Measures… Continue O&M |
| 09 | Pipe Fitting Insulation on Fiberglass Pipe Insulation | Throughout | N/A | N/A |  | Sampled by MEC in Jan. 2012- Analyzed as NON-ACM |
| 10 | Tectum Fiberboard | Gymnasium | N/A | N/A |  | Material Analyzed to be Non-ACM in 1988 |
| 11 | Floor Tile Mastic- Associated w/ 9”x9” Floor Tile | Throughout | N/A | N/A |  | HA# 11 has been Eliminated and is now Included w/HA# 05 |

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | Boiler Dampers | Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| MFA | 12“x 12” Floor Tile/Mastic- Beige w/Tan Flecks | Basement & 1st Floor Scattered Areas | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFB | Terrazzo | 1st Floor and Basement Hallways, Entrance Lobby, Stairwells | N/A | N/A |  | Material analyzed to be NON-ACM by True North 2017 |
| MFC | 12”x 12” Floor Tile/Mastic- Brown w/Tan Flecks | 1980 Addition- Classrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFD | 1” Ceramic Tile/Grout- Tan | 1980 Addition- Hall Bathrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFE | 3” Ceramic Tile/Grout- Gray | 1980 Addition- Hall Bathrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MCA | 2’x4’ Lay-In Ceiling Tile- Wavy Fissures w/Pin Holes | Throughout- Scattered Areas | N/A | N/A |  | Analyzed by True North to be NON-ACM in 2014 Material Identified by MEC in 2011 |
| MDA | Drywall w/Compound & Tape | Basement | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MMA | Adhesive Associated with 1’x1’ Ceiling Tile HA #01 | Throughout | N/A | N/A |  | Analyzed by MEC to be NON-ACM in Jan. 2012 Material Identified by MEC in 2011 |
| MBA | Vinyl Wall Base/Mastic- Brown | Basement- Southeast Classroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MBB | Vinyl Wall Base/Mastic- Tan | Basement- Southeast Rooms, 1980 Addition-Throughout | N/A | N/A |  | Analyzed by True North to be NON-ACM in 2014 Material Identified by MEC in 2011 |

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MMB | Fire Doors | Classrooms #903 & #909 & Adjacent Hallway Doors | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MMC | Exterior Door Caulking | Exterior- Front Main Entrance Doors | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MMD | Exterior Window Glazing | Exterior- Windows | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MCB | 2’x4’ Ceiling- White w/Plaster Backing (Fiberglass) | Rooms 206,207 | N/A | N/A |  | Material Determined to be Fiberglass by True North in 2014 Material Identified by True North in 2014 |
| MCC | 2’x4’ Ceiling Tile- Pinholes | Upper and Lower Hallway | N/A | N/A |  | Analyzed by True North to be NON-ACM in 2014 Material Identified by True North in 2014 |
| MFF | 12”x12” Floor Tile/Mastic- White w/Grey Specks | Home School Storage Area, Cafeteria, Room 308 | N/A | N/A |  | Analyzed by True North to be NON-ACM in 2014 Material Identified by True North in 2014 |
| MFG | 9”x9” Floor Tile/Mastic- Tan & White Streaks | Room 104 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2014 |
| MFH | 9”x9” Floor Tile/Mastic- Red w/White Streaks | Room 206, Lower Level Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2014 |
| MME | Heat Shield w/Silver Paper | Inside Unit Heaters on Exterior Classroom Walls | N/A | N/A |  | Analyzed by True North to be NON-ACM in 2014 Material Identified by True North in 2014 |