SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 4

Building Name: St. Peter & Paul School

Building Address:  416 N. First Street Cary, Illinois 60013

Name of Person Completing Report:

Title:  				   			 			 Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Tectum Ceiling Tile | Gymnasium | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 02 | 1’x1’ Ceiling Tile- Rough Grooved | 1st Floor, Lobby, Lower Level Stairwells | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 03 | 2’x4’ Ceiling Tile- Rough | Music Office | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 04 | 2’x4’ Ceiling Tile- Rough, Pinhole | Multi-Purpose Room | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 05 | 2’x4’ Ceiling Tile- Rough, White | Lobby Area, Lower Level | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 06 | Gypsum Wall & Ceiling | Basement Restrooms, Locker Rooms, Library | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 07 | 9”x9” Floor Tile- Brown Specked | Basement- Music Room, Kitchen | N/A | N/A |  | Material Removed/Abated in 1989- Replaced w/ 12”x12” Tile |
| 08 | 9”x9” Floor Tile/Mastic-Green w/Brown Specks | 1st Floor- Multi-Purpose Room, Supply & Speech/Counselor Room | ND | ND |  | Material Partially Removed/Abated in 1989- Remains under Carpet 1st Floor Mastic is ASSUMED |
| 09 | 9”x9” Floor Tile- Blue w/Brown | Kitchen, Music Room | N/A | N/A |  | Material Removed/Abated in 1989- Replaced w/ 12”x12” Tile |
| 10 | 9”x9” Floor Tile- Orange w/Brown Specks | Lower Level Storage Room | N/A | N/A |  | Material Removed/Abated in 1989- Replaced w/ 12”x12” Tile |
| 11 | 9”x9” Floor Tile/Mastic- Light & Dark Brown Alternating | 1st Floor- Gymnasium, Back Offices | ND | ND |  | Material Partially Removed/Abated- 1989 Tile Remains Behind & to Side of Gym & Stage Area |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 4

Building Name: St. Peter & Paul School

Building Address: 416 N. First Street Cary, Illinois 60013

Name of Person Completing Report:

Title:  						                			   Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | 9”x9” Floor Tile/Mastic- Pink, Blue, Green, Brown Alternating | Classrooms 1A-4A, 1B-4B, 1st Floor Server Room | ND | ND |  | Material Partially Removed/Abated- Associated ASSUMED Mastic remains in Server Room |
| 13 | Pipe Fitting Insulation | Boiler Room, Pipe Tunnel, Attic, Fan Room | ND | ND |  | Preventive Measures… Continue O&M Removed/Abated from Boiler Room in 2001 |
| 14 | Boiler Internals | Boiler Room | N/A | N/A |  | Boiler was Removed/Abated prior to 2000 Inspection |
| 15 | 9”x9” Floor Tile Mastic (Associated w/All Remaining 9”x9” Floor Tile) | Multi-Purpose Room, Hallway, Gymnasium, Stage Area | N/A | N/A |  | HA# 15 has been Eliminated and is now Included w/Individual Associated Tiles |
| 16A 16B | 12”x12” Floor Tile- (Also See Associated Mastic HA# 16B) | Cafeteria, Kitchen, Gym | N/A | N/A |  | HA# 16A & 16B Descriptions have been Eliminated and are now Included Elsewhere |
| 17 | Flexible Duct Connector | Fan Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| 18 | Hot Water Tank Insulation | Boiler Room | N/A | N/A |  | Removed/Abated from Boiler Room in 2001 |
| MCA | 2’X4’ Lay-In Ceiling Tile- Pitted w/Pinholes | Scattered Areas Throughout | N/A | N/A |  | Material Analyzed by MEC to be NON-ACM in 2012 Material Identified by MEC in 2012 |
| MCB | 2’x4’ Lay-In Ceiling Tile- Gypsum | Basement- Kitchen | N/A | N/A |  | Material Analyzed by MEC to be NON-ACM in 2012 Material Identified by MEC in 2012 |
| MCC | 2’x2’ Lay-In Ceiling Tile- Deep Fissures w/Pinholes | 1st Floor- Classrooms | N/A | N/A |  | Material Analyzed by MEC to be NON-ACM in 2012 Material Identified by MEC in 2012 |
| MFA | 12”x12” Floor Tile/Mastic- White, Multi-Colored w/Scattered Blue Tiles | Basement- Cafeteria, Girl’s Locker Room, Hallway | ND | ND |  | Tile analyzed to be NON-ACM by TNC in 2018- Mastic is ASSUMED Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 4

Building Name: St. Peter & Paul School

Building Address: 416 N. First Street Cary, Illinois 60013

Name of Person Completing Report:

Title:  										Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MFG | 1”x1” Ceramic Tile/Grout- White w/Orange, Black & Tan Tiles | Basement- Boy’s & Girl’s Locker Room- Showers | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFH | 2”x2” Ceramic Tile/Grout- Gray w/Light & Dark Green Tiles | Basement- Boy’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFI | Linoleum- Blue | Basement- Ramp to 2002 Addition | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFJ | 12”x12” Floor Tile/ Mastic- Gray w/Dark Gray & Beige Flecks | 1st Floor- Gymnasium- Stage, Chair Storage under Stage & Storage Closet | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFK | 12”x12” Floor Tile/Mastic- Gray w/Dark Gray & Beige Streaks w/Red & Blue Tiles | 1st Floor- Classrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFL | 1”x1” Ceramic Tile/Grout- Gray, Orange & White | 1st Floor- Girl’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFM | 1”x1” Ceramic Tile/Grout- Dark Green, Light Green & White | 1st Floor- Boy’s Bathroom & Speech/Counselor- Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFN | 1”x1” Ceramic Tile/Grout- Brown | 1st Floor- Janitor’s Closet | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MDA | Drywall w/Compound & Tape | 1st Floor- Chair Storage Below Stage | N/A | N/A |  | Material Analyzed by MEC to be NON-ACM in 2012 Material Identified by MEC in 2012 |
| MBC | 6” Vinyl Wall Base/Mastic- Blue | Throughout School | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFO | 2”x2” Ceramic Tile/Grout-Gray & Green | Teacher’s Lounge-Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 4 of 4

Building Name: St. Peter & Paul School

Building Address: 416 N. First Street Cary, Illinois 60013

Name of Person Completing Report:

Title:  										Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MFB | 1”x1” Ceramic Tile/Grout- Brown, Tan & Orange | Basement- Hallways & Stair Landings 1st Floor- Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFC | 12”x12” Floor Tile/Mastic- White w/Light Gray Flecks | Basement- North Janitor’s Closet | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFD | 12”x12” Floor Tile/Mastic- Tan w/Brown & White Streaks | Basement- Kitchen & Storage Closets | ND | ND |  | Tile Negative, Mastic Positive by True North in 2015- NOTE: Tile is positive ACM with Mastic Residue Attached - Material Identified by MEC in 2012 |
| MBA | 6” Vinyl Wall Base/Mastic- Black | Basement- Kitchen | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBB | Vinyl Wall Base/Mastic- Brown | Basement- Kitchen Storage | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFE | Linoleum- Tan | Stairs, Gym-Stage | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFF | 2”x2” Ceramic Tile/Grout- Gray w/Scattered Pink Tiles | Basement- Girls Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MWA | 4”x4” Ceramic Tile/Grout- Pink | Basement- Girl’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MWB | 4”x4” Ceramic Tile/Grout- Yellow | Basement- Boy’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MWC | 2”x2” Ceramic Tile/Grout- Brown | On Walls of Hallway in Original Building | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MWD MFP | 4”x4” Ceramic Tile/Grout- Brown Sheet Flooring- Wood Pattern | On Walls Outside of Main Office Gymnasium Floor | ND N/A | ND N/A |  | MWD- ASSUMED- Preventive Measures… Continue O&M MFP analyzed to be NON-ACM by TNC in 2018 MWD Identified by True North in 2015 MFP Identified by True North in 2018 |

*** Material Condition***                (ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged