SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 5

Building Name:  St. Edward Prep Academy (formerly St. Joseph)

Building Address:  274 Division Street- Elgin, Illinois 60120

Name of Person Completing Report:

Title:   						                       			Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | 1’x1’ Ceiling Tile- Rough | Throughout School Except Kitchen & Bathrooms | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 02 | Plaster | Throughout | ND | ND |  | ASSUMED-3 Samples NON-ACM in 1988- 5or7 Samples REQUIRED for more than 1000/5000Sqft |
| 03 | 9”X9” Floor Tile/Mastic- Yellow | Classroom Grades 1,2 & 7 | ND | ND |  | Preventive Measures… Continue O&M |
| 04 | 12”x12” Floor Tile/Mastic- Greenish Gray | 1st Floor- Classroom Grade 2 | ND | ND |  | Negative in 1988 by PLM method-Both Tile and Mastic to remain ASSUMED until analyzed by TEM |
| 05 | 9”x9” Floor Tile/Mastic- Brown w/White & Black Marks | 1st Floor- Kindergarten 2nd Floor- Stairwells, Lounge, Library, Comp Rm | ND | ND |  | Preventive Measures… Continue O&M |
| 06 | 12”x12” Floor Tile/Mastic- Tan (Reassigned as Gray- SEE HA#-MFH) | Gym (SEE HA#-MFH) | N/A | N/A |  | HA# 06 Descriptions have been Eliminated and are now Included w/HA# MFH |
| 07 | 9”x9” Floor Tile- Green | Cafeteria, Kitchen, Halls, Basement | N/A | N/A |  | Material Removed/Abated in December 2002, Summer 2004 & 2011 |
| 08 | 9”x9” Floor Tile- Ivory | 1st & 2nd Floor Hallways, 2nd Floor Bookroom | ND | ND |  | Preventive Measures… Continue O&M Material Removed/Abated from Hallways in December 2002 |
| 09 | 9”x9”Floor Tile/Mastic- Red | 2nd Floor Classroom Grade 6 | ND | ND |  | Material Reportedly Removed/Abated- Material may remain under existing Floor Tile? |
| 10 | 9”x9” Floor Tile/Mastic- Tan w/Red | 1st Floor- Classroom Pre-K 2nd Floor- Classroom Grade 8 | ND | ND |  | Preventive Measures… Continue O&M |
| 11 | 9”x9” Floor Tile/Mastic- Brown | Basement- Music Room, Maintenance Office | ND | ND |  | Preventive Measures… Continue O&M Material Abated Music Room in February 2014 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 5

Building Name:  St. Edward Prep Academy (formerly St. Joseph)

Building Address:  274 Division Street- Elgin, Illinois 60120

Name of Person Completing Report:

Title:								                       	Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | Aircell Pipe Insulation | Throughout | ND | ND |  | Preventive Measures… Continue O&M |
| 13 | Hard Fittings on Fiberglass Lines | Throughout | ND | ND |  | Preventive Measures… Continue O&M |
| 14 | 12”x12” Floor Tile/Mastic- Gray (Reassigned as HA# MFH) | Gym SEE HA# MFH) | N/A | N/A |  | HA# 14 Descriptions have been Eliminated and are now Included Elsewhere- SEE HA# MFH |
| 15 | 9”x9” Floor Tile Mastic | Throughout | N/A | N/A |  | HA# 15 has been Eliminated and is now Included w/Individual Associated Tiles |
| 16 | 12”x12” Floor Tile Mastic | Throughout | N/A | N/A |  | HA# 16 has been Eliminated and is now Included w/Individual Associated Tiles |
| 100 | Aircell Pipe Insulation | Boiler Room under Church | N/A | N/A |  | Material has been Removed/Abated |
| 101 | Boiler Insulation | Boiler Room under Church | N/A | N/A |  | Material has been Removed/Abated |
| 102 | Tank Insulation | Boiler Room under Church | N/A | N/A |  | Material has been Removed/Abated |
| MFA | 12”x12” Floor Tile/Mastic- Beige w/Gray Flecks | Basement | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBA | Vinyl Wall Base/Mastic- Tan | Basement & 1st Floor | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MCA | 2’x2’ Lay-In Ceiling Tile- Rough | Basement | N/A | N/A |  | Analyzed to be NON-ACM by True North in 2015 Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 5

Building Name:  St. Edward Prep Academy (formerly St. Joseph)

Building Address:  274 Division Street- Elgin, Illinois 60120

Name of Person Completing Report:

Title:							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MBB | Vinyl Wall Base/Mastic- Black | Base- Music Rm, 1st Fl-Gym, Kitchen, Storage, 2nd Fl- Class Grades 5 & 7 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFB | 1” Ceramic Tile/Grout- Light Blue | Basement- Girl’s Bathroom, 1st Floor- Locker Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFC | 1” Ceramic Tile/Grout- Gray & Beige | Basement- Boy’s Bathroom, 1st Floor- Bathroom, Foyer Storage Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFD | 1”x2” Ceramic Tile/Grout- Gray & Beige | Stairwells, 1st Fl- Boys’ & Girl’s Bathrooms, 2nd Fl- Boy’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFE | 12”x12” Floor Tile/Mastic- Black w/ Beige | 1st Floor- Foyer & Adjacent Stairway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFF | 16” Ceramic Tile/Grout- Rust | 1st Floor- Storage by Foyer | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFG | 12”x12” Floor Tile/Mastic- Beige & Black Flecks | 1st & 2nd Floor Hallways | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFH | 12”x12” Floor Tile/Mastic- Beige w/Gray Flecks | 1st Floor- Gym | ND | ND |  | Tile Negative in 1988 by PLM-Both Tile and Mastic to remain ASSUMED- analyze Tile by TEM Method Material Reclassified from HA#06 by MEC in 2012 |
| MFJ | 12”x12” Floor Tile/Mastic- Light Brown Mosaic | 1st Floor- Kindergarten | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFK | 12”x12” Floor Tile/Mastic- Beige w/ Black | 2nd Floor- Classroom Grade 5 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFL | 1”x2” Ceramic Tile/Grout- Green | 2nd Floor- Boy’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 4 of 5

Building Name:  St. Edward Prep Academy (formerly St. Joseph)

Building Address:  274 Division Street- Elgin, Illinois 60120

Name of Person Completing Report:

Title:							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MFM | 12”x12” Floor Tile/Mastic- Tan w/Brown Flecks | 2nd Floor- Classroom Grade 7 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MCB MCD | 2’x4’ Lay-In Ceiling Tile- Scattered Holes 2’x4’ Lay-In Ceiling Tile- Fissures & Pin Holes | 1st Floor- Kitchen 1st Floor- Grade 3, 2nd Floor- Grade 4 | N/A N/A | N/A N/A |  | Both Analyzed to be NON-ACM by True North in 2015- Material Identified by MEC in 2012 |
| MCC | 1’x1’ Ceiling Tile- Large Holes | 2nd Floor- Grade 4 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFO | 9”x9” Floor Tile/Mastic- Brown & Black | 1st Floor- Grade 3, 2nd Floor- Grade 4, Stairwell | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMA | Interior Window Glazing | 1st & 2nd Floors | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMB | Puck Adhesive (Associated with HA# MCC) | 2nd Floor- Grade 4 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFN | 12”x12” Floor Tile/Mastic- Gray & Beige | 2nd Floor- Grade 4 | ND | ND |  | Material Identified by True North in 2015 Material Identified by MEC in 2012 |
| MWA | 4”x4” Ceramic Tile/Grout- Tan w/Brown Border | 2nd Floor Hallway Walls | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFI | 12”x12” Floor Tile/Mastic- Brown w/White Marks | 2nd Floor- 6th Grade Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFP | 15”x15” Ceramic Tile/Grout- Tan w/Wavy Pattern | Basement Hall Outside of Computer Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFQ | 12”x12” Floor Tile/Mastic- Blue & Gray | On sides of Gym & Free Throw Area, Kitchen, Hallway off of Gym | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 5 of 5

Building Name:  St. Edward Prep Academy (formerly St. Joseph)

Building Address:  274 Division Street- Elgin, Illinois 60120

Name of Person Completing Report:

Title:							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MBC | Vinyl Wall Base/Mastic- Brown | 1st Floor- Grade 3 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management.