SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 4

Building Name:  St. Thomas More

Building Address:  1625 W. Highland Ave- Elgin, Illinois 60123

Name of Person Completing Report:

Title:				                       					Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | 2’x2’ Ceiling Tile- Rough | Office, Locker Rooms, Halls | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 02 | 2’x4’ Ceiling Tile- Rough | Rear of Church | N/A | N/A |  | Material Removed/Abated in 1991 |
| 03 | Plaster | Kitchen | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 04 | Gypsum Wall Board | Boiler Room | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 05 | 9”x9” Floor Tile/Mastic- Tan w/White Streaks & Brown Specks | Classrooms, Foyer, Roberts Hall | ND | ND |  | Preventive Measures… Continue O&M |
| 06 | 9”x9” Floor Tile/Mastic- Light Green w/Green Specks | Hallway, Aide | ND | ND |  | Preventive Measures… Continue O&M |
| 07 | 9”x9” Floor Tile/Mastic- Green w/White Streaks | Borders in Classrooms, Library, Foyer & Roberts Hall Janitor’s Closet & Storage | ND | ND |  | Only 1 PLM sample NON-ACM in 1988- -Both Tile and Mastic to remain ASSUMED- analyze Tile by TEM |
| 08 | 12”x12” Floor Tile/Mastic- Off White w/Brown Streaks | Hallway & Kitchen | ND | ND |  | Tile Negative in 1988 by PLM-Both Tile and Mastic to remain ASSUMED- analyze Tile by TEM Method |
| 09 | Boiler Flue | Boiler Room | NA | N/A |  | Material Abated in Summer 2012 |
| 10 | Aircell Pipe Insulation | Boiler Room & Throughout Original Building Including Service Tunnels | ND | ND |  | Preventive Measures… Continue O&M- Material Abated from Boiler Room in Summer 2012 |
| 11 | Hard Pipe Fittings Insulation on Fiberglass Lines | Boiler Rm & Throughout Orig Bldg Incl. Service Tunnels & 1970 Addition | ND | ND |  | Preventive Measures… Continue O&M- Material Abated from Boiler Room & Gym Storage A & B in Summer 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 4

Building Name:  St. Thomas More

Building Address:  1625 W. Highland Ave- Elgin, Illinois 60123

Name of Person Completing Report:

Title: 						                       			Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | 9”x9” Floor Tile Mastic (Associated w/HA#’s 05 & 06) | Throughout (Associated w/HA#’s 05 & 06) | N/A | N/A |  | HA# 12 has been Eliminated and is now Included w/ Individual Associated Tiles |
| 13 | 12”x12” Floor Tile Mastic | Throughout- Under Various Color 12”x12” Tiles | N/A | N/A |  | HA# 13 has been Eliminated and is now Included w/Individual Associated Tiles |
| MBA | 6” Vinyl Wall Base/Mastic- Brown | Original Building- Hallway | N/A | N/A |  | Material analyzed to be NON-ACM in 2012 Material Identified by MEC in 2012 |
| MBB | 4” Vinyl Wall Base/Mastic- Brown | Roberts Hall, Offices, Kitchen, Bathrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBC | 4” Vinyl Wall Base/Mastic- Brown | 1992 Addition | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFA | 1”x4” Ceramic Tile/Grout- Green, Orange & Beige | Original Building- Bathrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFB | 1” Ceramic Tile/Grout- White | Original Building- Boy’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFC | 1” Ceramic Tile/Grout- Dark & Light Blue | Original Building- Boy’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFD | 12”x12” Floor Tile/Mastic- Beige w/Tan Flecks & Orange Tile Border | Original Building- Hallway & Foyer | ND | ND |  | Preventive Measures… Continue O&M- Abated & replaced in E. & N.E. Vestibules in 2012 Mastic is Positive- Material Identified by MEC in 2012 |
| MFE | 12”x12” Floor Tile/Mastic- Beige w/Brown Streaks | Roberts Hall, Hallway, 1992 Addition | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Analyzed by PLM to be NON-ACM by True North in 2015- to remain assumed until final TEM Clearance Material Identified by MEC in 2012 |

*** Material Condition***      (ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 4

Building Name:  St. Thomas More

Building Address:  1625 W. Highland Ave- Elgin, Illinois 60123

Name of Person Completing Report:

Title: 							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MMA | Accordion Wall- Blue | Roberts Hall | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMB | Metal Fire Door | Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMC | Exterior Window Glazing | Original Building | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M- Abated in Original Classroom Wing in 2012 Material Identified by MEC in 2012 |
| MFF | 6” Ceramic Tile/Grout- Gray & Pink | Roberts Hall- Back Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFG | 12”x12” Floor Tile/Mastic- Beige w/Tan Flecks | West Vestibule | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFH | 1” Ceramic Tile/Grout- Yellow | Women’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFI | 1” Ceramic Tile/Grout- Brown | Men’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFJ | Linoleum/Mastic- Brown | Gymnasium | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFK | 2” Ceramic Tile/Grout- Gray | 1992 Addition- Children’s Bathroom, Men’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFL | 2” Ceramic Tile/Grout- Tan | 1992 Addition- Women’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFM | 2” Ceramic Tile/Grout- Light Gray | 1992 Addition- LRC & Staff Lounge | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each Year.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 4 of 4

Building Name:  St. Thomas More

Building Address:  1625 W. Highland Ave- Elgin, Illinois 60123

Name of Person Completing Report:

Title: 								                       	Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MCA | 2’x4’ Lay-In Ceiling Tile- Deep Fissures w/Pinholes | Roberts Hall | N/A | N/A |  | Material Analyzed to be NON-ACM by True North in 2015- Material Identified by MEC in 2012 |
| MCB | 2’x2’ Lay-In Ceiling Tile- Deep Fissures w/Pinholes | Roberts Hall Office, Main Hallway, Men’s & Women’s Bathrooms | N/A | N/A |  | NON-ACM Letter on File |
| MCC | 2’x4’ Lay-In Ceiling Tile- Wavy Fissures w/Pinholes | 1992 Addition- Throughout | N/A | N/A |  | Material Analyzed to be NON-ACM by True North in 2015- Material Identified by MEC in 2012 |
| MFN | 12”x12” Floor Tile/Mastic- Light Brown w/Flecks | East & North East Vestibules | N/A | N/A |  | Material NON-ACBM- Letter On File |
| MFO | 12”x12” Floor Tile/Mastic- Orange | Original Building- Edge of Hallway | N/A | N/A |  | Analyzed to be NON-ACM in 2012 |
| MFP | 12”x12” Floor Tile/Mastic- White w/Multi Colored Specks | RE Supply Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015- Installed July 2014 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.