SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 5

Building Name: St. Mary School

Building Address:  704 Peoria Avenue Dixon, Illinois 61021

Name of Person Completing Report:

Title:						                       			   	Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | 9x9 Floor Tile/Mastic- Green w/Black & Yellow Specks | Cafeteria & Faculty Lounge | ND | ND |  | Tile Negative in 1988 by PLM-Both Tile and Mastic to remain ASSUMED- analyze Tile by TEM Method |
| 02 | 9x9 Floor Tile/Mastic- Aqua & Pink Checkered | Kitchen & Food Storage | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |
| 03 | 9x9 Floor Tile/Mastic-Grey w/Black & White | Basement & Central Stairwells, Classroom 4E | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED-Painted over stairwell tile in 2012 |
| 04 | 12x12 Floor Tile/Mastic- Cream w/Brown Marks | Basement- Computer Room (now Maintenance) | ND | ND |  | Tile Negative in 1988 by PLM-Both Tile and Mastic to remain ASSUMED- analyze Tile by TEM Method |
| 05 | 9x9 Floor Tile/Mastic- Olive & Pink w/Light Green Streaks | Basement- Music Room | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |
| 06 | 9x9 Floor Tile/Mastic- Beige w/Dark Brown Streaks | 1st Floor- Workroom, Offices, Classrooms 6W, 7E, 8E | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |
| 07 | 9x9 Floor Tile/Mastic- Dark Brown w/White Streaks | Gym Office & Gym Storage Room | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |
| 08 | 9x9 Floor Tile/Mastic- Dark Brown w/Black & White Specks | Classrooms 1E, 2W | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |
| 09 | 9x9 Floor Tile/Mastic- Black w/Red & White Specks | Principal’s Office | ND | ND |  | Mastic only Remains under Carpeting- Preventive Measures… Continue O&M- Mastic is ASSUMED |
| 10 | 9x9 Floor Tile/Mastic- Green w/Black & White Streaks | Classrooms 7W, 8W | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |
| 11 | 9x9 Floor Tile/Mastic- Brown w/White & Black Streaks | Classroom 6E & West Gym Storage | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 5

Building Name: St. Mary School

Building Address:  704 Peoria Avenue Dixon, Illinois 61021

Name of Person Completing Report:

Title:							                       			Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | 9x9 Floor Tile- Grey w/Orange Streaks and Orange Tiles | Classroom 5E | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |
| 13 | 9x9 Floor Tile- Brown w/White & Reddish Streaks | 2nd Floor- Janitor’s Closets | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED-Tile Encapsulated in west end closet in 2012 |
| 14 | 9x9 Floor Tile-Grey w/White, Black & Green | Classroom 3E | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |
| 15 | 9x9 Floor Tile- Tan w/ Green & Black Specks | Classroom 3W | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |
| 16 | 1’x1’ Ceiling Tile- Various Holes | Basement, 1ST & 2ND Floor, New Wing,-Cafeteria, Classrooms | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 17 | 2’x4’ Ceiling Tile- Rough Pinhole | Computer Room | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 18 | 1’x1’ Ceiling Tile- Rough Texture | 1st, 2nd Floors, New Wing- Hallways Lounge & Offices Areas | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 19 | Ceiling Board | Gymnasium | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 20 | 1’x1’ Ceiling Tile- Smooth Texture | Men’s Restroom | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 21 | 2’x4’ Ceiling Tile- Smooth Texture | 1st Floor Hall by Stairs | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 22 | Pipe Insulation | Boiler Room | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 5

Building Name: St. Mary School

Building Address:  704 Peoria Avenue Dixon, Illinois 61021

Name of Person Completing Report:

Title:							                       			Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 23 | Pipe Fittings | Throughout | ND | ND |  | Preventive Measures… Continue O&M |
| 24 | Boiler Breeching | Boiler Room | N/A | N/A |  | Material Removed/Abated in June 2000 |
| 25 | Boiler Gasket | Boiler Room | N/A | N/A |  | Material Removed/Abated in June 2000 |
| 26 | 9x9 Floor Tile Mastic | Throughout Building | N/A | N/A |  | HA# 26 has been Eliminated and is now Included w/Individual Associated Tiles |
| 27 | 12x12 Floor Tile Mastic | Throughout Building | N/A | N/A |  | HA# 27 has been Eliminated and is now Included w/Individual Associated Tiles |
| 28 | Drywall w/Compound & Tape | Classrooms- Along Window Side Wall | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| 29 | 12x12 Floor Tile- Cream | Band Room | N/A | N/A |  | HA# 29 has been Eliminated- Incorrect Location- Tile is Located In Maintenance Office (SEE HA# 04) |
| 30 | 1'x1' Ceiling Tile | Gym Office | N/A | N/A |  | HA# 30 has been Eliminated- Conflicting Materials in 2009 Report- Materials Accounted for Elsewhere |
| 31 | Vibration Dampers | Gym Stage | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| 32A | Stone Ledges | Throughout Addition | N/A | N/A |  | HA# 32A has been Eliminated- Determined by MEC in 2012 to be NON-SUSPECT Material |
| 32B | Stone Ledges | Throughout Original Building | N/A | N/A |  | HA# 32B has been Eliminated- Determined by MEC in 2012 to be NON-SUSPECT Material |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 4 of 5

Building Name: St. Mary School

Building Address:  704 Peoria Avenue Dixon, Illinois 61021

Name of Person Completing Report:

Title:						                       				Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 33 | 12”x12” Floor Tile- Cream w/Brown Streaks | Original Building- South Stairs by Cafe | N/A | N/A |  | HA# 33 Descriptions have been Eliminated and is now Included Elsewhere- (SEE HA MFJ) |
| 34 | 12”x12” Floor Tile Mastic | Original Building- South Stairs by Cafe | N/A | N/A |  | HA# 34 has been Eliminated and is now Included w/Individual Associated Tiles |
| MFA | Terrazzo- Black, White, Brown Stone Pattern | 2nd Floor Addition- Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFB | Terrazzo- Brown & White Stone Pattern | 1st & 2nd Floor- Boy’s & Girl’s Bathrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFC | Terrazzo- Black, Brown, White, Gray Stone Pattern | Basement- Bathrooms, 1st & 2nd Floor- Hallway, 2nd Floor Boy’s Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFD | 9”x9” Floor Tile/Mastic- Gray w/White Streaks & Red Tiles w/White Streaks | Library 5W | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFE | 9”x9” Floor Tile/Mastic- Tan w/Dark Brown Streaks & Green Tiles w/White & Black | Classroom 4W | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFF | 9”X9” Floor Tile/Mastic- Dark Gray w/Pink & Beige Spots & Pink Tiles w/Black & Beige | Classrooms 1W & 2E | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFG | Terrazzo- Black, Tan, Brown Stone Pattern | Foyer | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFH | 9”x9” Floor Tile/Mastic- Brown w/Beige Spots | 1st Floor- Janitor’s Closet (Next to Faculty Lounge | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M-Tile encapsulated with cement overlay in 2012- Material Identified by MEC in 2012 |
| MFI | 12”x12” Floor Tile/Mastic- Dark Gray & Beige Flecks | Gym- Stage | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each year.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 5 of 5

Building Name: St. Mary School

Building Address:  704 Peoria Avenue Dixon, Illinois 61021

Name of Person Completing Report:

Title:					                       					Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MFJ | 12”X12’ Floor Tile/Mastic- Tan w/Dark Brown Streaks | Basement- Southwest Storage- East Gym & Cafeteria Stairwell | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Painted over stairwell tile in 2012- Material Identified by MEC in 2012 |
| MBA | Vinyl Wall Base/Mastic- Black | 2nd Floor- Addition- Classrooms & Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBB | Vinyl Wall Base/Mastic- Black | Original Building- 1st & 2nd Floor- Classrooms & Hallways | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MCA | 2’x2’ Lay-In Ceiling Tile- Swirl Pattern | 2nd Floor- North Janitor’s Closet | N/A | N/A |  | Material analyzed to be NON-ACM by True North in 2015- Material Identified by MEC in 2012 |
| MCB | 2’x4’ Lay-In Ceiling Tile- Smooth | Principal’s Office | ND | ND |  | Letter on File stating NON-ACM Material Identified by MEC in 2012 |
| MCC | 2’x4’ Lay-In Ceiling Tile- Eight Square Pattern | Foyer | N/A | N/A |  | Material analyzed to be NON-ACM by True North in 2015- Material Identified by MEC in 2012 |
| MMA | Adhesive Pucks- (Associated w/1’x1’ Ceiling Tiles) | Cafeteria, 1st & 2nd Floor- Classrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMB | Fire Door | Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMC | Mastic on Wood Floor | Gym | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each year.