 **SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT Page 1 of 5**

**Building Name:**  **St. Edward Catholic Prep. Academy- formerly St. Joseph**

**Building Address:**  **274 Division Street- Elgin, Illinois 60120**

**Name of Person Completing Report:**

**Title:**  **Date:**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **HA#** | **Material Description** | **Locations of material** | **Previous**  **Condition**  **\*\*\*** | **Current**  **Condition**  **\*\*\*** | **Photo**  **#** | **Comments** |
| *~~01~~* | *~~1’x1’ Ceiling Tile- Rough~~* | *~~Throughout School Except Kitchen & Bathrooms~~* | *~~N/A~~* | *~~N/A~~* |  | Material analyzed to be ***NON-ACM*** in ***1988*** |
| **02** | **Plaster** | **Throughout** | **ND** | **ND** |  | ***ASSUMED****-****3 Samples NON-ACM*** in ***1988- 5or7 Samples******REQUIRED***for***more than******1000/5000Sqft*** |
| **03** | **9”X9” Floor Tile/Mastic- Yellow** | **Classroom Grades 1,2 & 7** | **ND** | **ND** |  | ***Preventive Measures… Continue O&M*** |
| **04** | **12”x12” Floor Tile/Mastic- Greenish Gray** | **1st Floor- Classroom Grade 2** | **ND** | **ND** |  | Negative in 1988 by PLM method***-***Both ***Tile*** ***and Mastic*** to remain ***ASSUMED*** until analyzed by ***TEM*** |
| **05** | **9”x9” Floor Tile/Mastic- Brown w/White & Black Marks** | **1st Floor- Kindergarten 2nd Floor- Stairwells, Lounge, Library, Comp Rm** | **ND** | **ND** |  | ***Preventive Measures… Continue O&M*** |
| *~~06~~* | *~~12”x12” Floor Tile/Mastic- Tan~~*  **(Reassigned as Gray- SEE HA#-MFH)** | **Gym**  **(SEE HA#-MFH)** | *~~N/A~~* | *~~N/A~~* |  | ***HA# 06 Descriptions have been Eliminated and are now Included w/HA# MFH*** |
| *~~07~~* | *~~9”x9” Floor Tile- Green~~* | *~~Cafeteria, Kitchen, Halls, Basement~~* | *~~N/A~~* | *~~N/A~~* |  | Material ***Removed/Abated*** in December ***2002,*** Summer ***2004 & 2011*** |
| **08** | **9”x9” Floor Tile- Ivory** | **~~1~~~~st~~ ~~& 2~~~~nd~~ ~~Floor Hallways~~, 2nd Floor Bookroom** | **ND** | **ND** |  | ***Preventive Measures… Continue O&M*** Material ***Removed/Abated from Hallways*** in December ***2002*** |
| **09** | **9”x9”Floor Tile/Mastic- Red** | **2nd Floor Classroom Grade 6** | **ND** | **ND** |  | Material ***Reportedly Removed/Abated- Material may remain under existing Floor Tile?*** |
| **10** | **9”x9” Floor Tile/Mastic- Tan w/Red** | **1st Floor- Classroom Pre-K 2nd Floor- Classroom Grade 8** | **ND** | **ND** |  | ***Preventive Measures… Continue O&M*** |
| **11** | **9”x9” Floor Tile/Mastic- Brown** | **~~Basement- Music Room,~~ Maintenance Office** | **ND** | **ND** |  | ***Preventive Measures… Continue O&M***  ***Material Abated Music Room in February 2014*** |

**\*\*\* Material Condition\*\*\***

**(ND)- Not Damaged (D)- Damaged (SD)- Significantly Damaged**

**The 6-month inspection *must* be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan. A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan. NOTE:** If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided. Notify the Asbestos Program Manager immediately concerning any changes.

 **SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT Page 2 of 5**

**Building Name:**  **St. Edward Catholic Pre. Academy- formerly St. Joseph**

**Building Address:**  **274 Division Street- Elgin, Illinois 60120**

**Name of Person Completing Report:**

**Title:** **Date:**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **HA#** | **Material Description** | **Locations of material** | **Previous**  **Condition**  **\*\*\*** | **Current**  **Condition**  **\*\*\*** | **Photo**  **#** | **Comments** |
| **12** | **Aircell Pipe Insulation** | **Throughout** | **ND** | **ND** |  | ***Preventive Measures… Continue O&M*** |
| **13** | **Hard Fittings on Fiberglass Lines** | **Throughout** | **ND** | **ND** |  | ***Preventive Measures… Continue O&M*** |
| *~~14~~* | *~~12”x12” Floor Tile/Mastic- Gray~~*  **(Reassigned as HA# MFH)** | *~~Gym~~*  **SEE HA# MFH)** | *~~N/A~~* | *~~N/A~~* |  | ***HA# 14 Descriptions have been Eliminated and are now Included Elsewhere- SEE HA# MFH*** |
| *~~15~~* | *~~9”x9” Floor Tile Mastic~~* | *~~Throughout~~* | *~~N/A~~* | *~~N/A~~* |  | ***HA# 15 has been Eliminated and is now Included w/Individual Associated Tiles*** |
| *~~16~~* | *~~12”x12” Floor Tile Mastic~~* | *~~Throughout~~* | *~~N/A~~* | *~~N/A~~* |  | ***HA# 16 has been Eliminated and is now Included w/Individual Associated Tiles*** |
| *~~100~~* | *~~Aircell Pipe Insulation~~* | *~~Boiler Room under Church~~* | *~~N/A~~* | *~~N/A~~* |  | Material has been ***Removed/Abated*** |
| *~~101~~* | *~~Boiler Insulation~~* | *~~Boiler Room under Church~~* | *~~N/A~~* | *~~N/A~~* |  | Material has been ***Removed/Abated*** |
| *~~102~~* | *~~Tank Insulation~~* | *~~Boiler Room under Church~~* | *~~N/A~~* | *~~N/A~~* |  | Material has been ***Removed/Abated*** |
| **MFA** | **12”x12” Floor Tile/Mastic- Beige w/Gray Flecks** | **Basement** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MBA** | **Vinyl Wall Base/Mastic- Tan** | **Basement & 1st Floor** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| *~~MCA~~* | *~~2’x2’ Lay-In Ceiling Tile- Rough~~* | *~~Basement~~* | *~~N/A~~* | *~~N/A~~* |  | ***Analyzed to be NON-ACM by True North in 2015***  ***Material Identified by MEC in 2012*** |

**\*\*\* Material Condition\*\*\***

**(ND)- Not Damaged (D)- Damaged (SD)- Significantly Damaged**

**The 6-month inspection *must* be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan. A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan. NOTE:** If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided. Notify the Asbestos Program Manager immediately concerning any changes.

 **SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT Page 3 of 5**

**Building Name:**  **St. Edward Catholic Prep. Academy- formerly St. Joseph**

**Building Address:**  **274 Division Street- Elgin, Illinois 60120**

**Name of Person Completing Report:**

**Title:** **Date:**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **HA#** | **Material Description** | **Locations of material** | **Previous**  **Condition**  **\*\*\*** | **Current**  **Condition**  **\*\*\*** | **Photo**  **#** | **Comments** |
| **MBB** | **Vinyl Wall Base/Mastic- Black** | **Base- Music Rm, 1st Fl-Gym, Kitchen, Storage, 2nd Fl- Class Grades 5 & 7** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFB** | **1” Ceramic Tile/Grout- Light Blue** | **Basement- Girl’s Bathroom, 1st Floor- Locker Room** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFC** | **1” Ceramic Tile/Grout- Gray & Beige** | **Basement- Boy’s Bathroom, 1st Floor- Bathroom, Foyer Storage Room** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFD** | **1”x2” Ceramic Tile/Grout- Gray & Beige** | **Stairwells, 1st Fl- Boys’ & Girl’s Bathrooms, 2nd Fl- Boy’s Bathroom** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFE** | **12”x12” Floor Tile/Mastic- Black w/ Beige** | **1st Floor- Foyer & Adjacent Stairway** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFF** | **16” Ceramic Tile/Grout- Rust** | **1st Floor- Storage by Foyer** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFG** | **12”x12” Floor Tile/Mastic- Beige & Black Flecks** | **1st & 2nd Floor Hallways** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFH** | **12”x12” Floor Tile/Mastic- Beige w/Gray Flecks** | **1st Floor- Gym** | **ND** | **ND** |  | Tile Negative in 1988 by PLM***-***Both ***Tile*** ***and Mastic*** to remain ***ASSUMED-*** analyze ***Tile*** by ***TEM Method***  ***Material Reclassified from HA#06 by MEC in 2012*** |
| **MFJ** | **12”x12” Floor Tile/Mastic- Light Brown Mosaic** | **1st Floor- Kindergarten** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFK** | **12”x12” Floor Tile/Mastic- Beige w/ Black** | **2nd Floor- Classroom Grade 5** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFL** | **1”x2” Ceramic Tile/Grout- Green** | **2nd Floor- Boy’s Bathroom** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |

**\*\*\* Material Condition\*\*\***

**(ND)- Not Damaged (D)- Damaged (SD)- Significantly Damaged**

**The 6-month inspection *must* be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan. A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan. NOTE:** If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided. Notify the Asbestos Program Manager immediately concerning any changes.

 **SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT Page 4 of 5**

**Building Name:**  **St. Edward Catholic Prep. Academy- formerly St. Joseph**

**Building Address:**  **274 Division Street- Elgin, Illinois 60120**

**Name of Person Completing Report:**

**Title:** **Date:**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **HA#** | **Material Description** | **Locations of material** | **Previous**  **Condition**  **\*\*\*** | **Current**  **Condition**  **\*\*\*** | **Photo**  **#** | **Comments** |
| **MFM** | **12”x12” Floor Tile/Mastic- Tan w/Brown Flecks** | **2nd Floor- Classroom Grade 7** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| *~~MCB~~*  *~~MCD~~* | *~~2’x4’ Lay-In Ceiling Tile- Scattered Holes~~*  *~~2’x4’ Lay-In Ceiling Tile- Fissures & Pin Holes~~* | *~~1~~~~st~~ ~~Floor- Kitchen~~*  *~~1~~~~st~~ ~~Floor- Grade 3, 2~~~~nd~~ ~~Floor- Grade 4~~* | *~~N/A~~*  *~~N/A~~* | *~~N/A~~*  *~~N/A~~* |  | ***Both Analyzed to be NON-ACM by True North in 2015- Material Identified by MEC in 2012*** |
| **MCC** | **1’x1’ Ceiling Tile- Large Holes** | **2nd Floor- Grade 4** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFO** | **9”x9” Floor Tile/Mastic- Brown & Black** | **1st Floor- Grade 3, 2nd Floor- Grade 4, Stairwell** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MMA** | **Interior Window Glazing** | **1st & 2nd Floors** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MMB** | **Puck Adhesive**  **(Associated with HA# MCC)** | **2nd Floor- Grade 4** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFN** | **12”x12” Floor Tile/Mastic- Gray & Beige** | **2nd Floor- Grade 4** | **ND** | **ND** |  | ***Material Identified by True North in 2015***  ***Material Identified by MEC in 2012*** |
| **MWA** | **4”x4” Ceramic Tile/Grout- Tan w/Brown Border** | **2nd Floor Hallway Walls** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015*** |
| **MFI** | **12”x12” Floor Tile/Mastic- Brown w/White Marks** | **2nd Floor- 6th Grade Room** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015*** |
| **MFP** | **15”x15” Ceramic Tile/Grout- Tan w/Wavy Pattern** | **Basement Hall Outside of Computer Room** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015*** |
| **MFQ** | **12”x12” Floor Tile/Mastic- Blue & Gray** | **On sides of Gym & Free Throw Area, Kitchen, Hallway off of Gym** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015*** |

**\*\*\* Material Condition\*\*\***

**(ND)- Not Damaged (D)- Damaged (SD)- Significantly Damaged**

**The 6-month inspection *must* be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan. A copy of the completed form must also be sent to the Diocesan Property Management.**

 **SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT Page 5 of 5**

**Building Name:**  **St. Edward Catholic Prep. Academy- formerly St. Joseph**

**Building Address:**  **274 Division Street- Elgin, Illinois 60120**

**Name of Person Completing Report:**

**Title:** **Date:**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **HA#** | **Material Description** | **Locations of material** | **Previous**  **Condition**  **\*\*\*** | **Current**  **Condition**  **\*\*\*** | **Photo**  **#** | **Comments** |
| **MBC** | **Vinyl Wall Base/Mastic- Brown** | **1st Floor- Grade 3** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015*** |
| ***MCF*** | **2’x2’ Ceiling Tile-Large and Small Pinhole** | **Hallway at north end of office area** | ***ND*** | ***ND*** | 5 | ***Analyzed- By True North on July 28th,2020 to be NON-ACM- Identified by True North July 2020*** |
| **MCE** | **2’x2’ Ceiling Tile-Fissure w/Pinhole** | **Located in Principal’s office, and main office areas in the hallway at south end of office are** | **ND** | **ND** | 4 | ***Analyzed- By True North on July 28th, 2020 to be NON-ACM- Identified by True North July 2020*** |
| ***MMD*** | **Stair tread- Light Brown w/Cream** | **Located at the south exterior entrance of the office area** | **ND** | **ND** | 6 | ***Analyzed- By True North on July 28th , 2020 to be NON-ACM- Identified by True North July 2020*** |
| **MFG** | **12x12 Floor Tile/Mastic-Beige & Black Flecks** | **Located within the south and east office entrances** | **ND** | **ND** | 3 | ***Analyzed- By True North on July 28, 2020 to be NON-ACM- Identified by True North July 2020*** |
| **MFR** | **12x12 Floor Tile/Mastic-Cream w/Brown Streaks** | **Located in main office hallway** | **ND** | **ND** | ***7*** | ***ASSUMED- Preventive Measures... Continue O&M Material Identified by True North July 2020*** |
| **MFS** | **9’x9’ Floor Tile/ Mastic-Green** | **Located in the transition hallway at north end of office area. Now under wood laminate vinyl floor** | **ND** | **ND** | 8 | ***ASSUMED-Preventive Measures...Continue O&M Material Identified by True North July 2020*** |
| **MFT** | **9’x9’ Floor Tile/ Mastic-Red** | **Located in the transition hallway at the north end of office area now under wood laminate vinyl floor** | **ND** | **ND** | 9 | ***ASSUMED-Preventive Measure...Continue O&M Material Identified by True North July 2020*** |
| **MFU** | **9’x9’ Floor Tile/ Mastic-Dark Brown w/Peach & Cream Streaks** | **Located in principal’s office, conference room, bookkeeper office, technology room, & Tittle I rooms under carpet/wood floor** | **ND** | **ND** | 1 | ***Floor Tile- 10% Chrysotile Mastic- 2% Chrysotile- Material Identified by True North July 2020*** |
| **MMC** | **Interior Window Glazing-White** | **Located in Pre-K and music room exterior windows** | **ND** | **ND** | 2 | ***Analyzed- By True North on July 28,2020 to be NON-ACM- Identified by True North July 2020*** |
| **MGF** | **12x12 Floor Tile/Mastic Beige & Black Flecks** | **Located within the south and east office entrances** | **ND** | **ND** | 3 | ***Analyzed-By True North on July 28,2020 to be NON-ACM- Identified by True North July 2020*** |

**\*\*\* Material Condition\*\*\***

**(ND)- Not Damaged (D)- Damaged (SD)- Significantly Damaged**

**The 6-month inspection *must* be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan. A copy of the completed form must also be sent to the Diocesan Property Management.**