SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 5

Building Name:  St. Charles Borromeo

Building Address:  288 East Jefferson Street - Hampshire, Illinois 60140

Name of Person Completing Report:

Title:							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | 1’x1’ Ceiling Tile- Peg Hole | Gym | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 02 | 1’x1’ Ceiling Tile- Rough | Halls, Classrooms, Office (1929), Cafeteria | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 03 | 2’x4’ Ceiling Tile- Rough | Classrooms 208, 209 | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 04 | Hard Fitting Insulation | Boiler Room, Throughout Building | ND | ND |  | Preventive Measures… Continue O&M |
| 05 | Tank Insulation | Boiler Room | ND | ND |  | Preventive Measures… Continue O&M |
| 06 | Boiler Insulation | Boiler Room | N/A | N/A |  | Material Abated Summer 2012 |
| 07 | 9”x9” Floor Tile/Mastic- Tan w/Brown & White Strips | Ground Floor Central Hallway, upper Floor Hallway, Grade 6 & 8 Classrooms, Main Office (1962) | ND | ND |  | Preventive Measures… Continue O&M |
| 08 | 9”x9” Floor Tile/Mastic- Green | Foyer & Stairwell (1929) | ND | ND |  | ASSUMED- 1 sample NON-ACM in 1988-Tile and Mastic to remain ASSUME- analyze Tile by TEM |
| 09 | Plaster Walls And Ceilings (See HA’s SPA & SPB) | Throughout (1929) | N/A | N/A |  | HA# 09 Description has been Eliminated and is now Included Elsewhere under HA’S SPA & SPB |
| 10 | 9”x9” Floor Tile/Mastic- Brown w/White Streaks | North Stairwell Landing (1962) | ND | ND |  | ASSUMED- 1 sample NON-ACM in 1988-Tile and Mastic to remain ASSUME- analyze Tile by TEM |
| 11 | Plaster Ceiling | Church Basement Classroom | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 5

Building Name:  St. Charles Borromeo

Building Address:  288 East Jefferson Street - Hampshire, Illinois 60140

Name of Person Completing Report:

Title:							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | 9”x9” Floor Tile Mastic | Throughout | N/A | N/A |  | HA# 12 has been Eliminated and is now Included w/Individual Associated Tiles |
| 13 | Drywall w/Compound & Tape | Sub-Basement, Cafeteria, K-Room, Serving Room (1962) | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| 14 | Boiler Breeching | Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| 15 | Transite Panels on Door | Ground Floor- Stairwell Door to Sub-Basement, Sub-Basement | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| 16 | Linoleum- Off White | Basement- Kitchen, Pre-School Classroom (1962) | N/A | N/A |  | Material sampled by True North- Analyzed NON-ACM in 2012 |
| 17 | Linoleum Mastic- Associated w/HA# 16 | Basement- Kitchen, Pre-School Classroom (1962) | N/A | N/A |  | Material sampled by True North- Analyzed NON-ACM in 2012 |
| SPA | Plaster (Formerly HA# 09) | 1929 Building Throughout | N/A | N/A |  | Analyzed to be NON-ACM by True North in 2015 Material Identified by MEC in 2012 |
| SPB | Plaster (Formerly HA# 09) | 1962 Building Throughout | ND | ND |  | ASSUMED-1 Sample NON-ACM in 1988- 5/7 Samples REQUIRED for more than 1000/5000Sqft Material Identified by MEC in 2012 |
| MFA | 12”x12” Floor Tile/Mastic- Beige w/Tan Flecks | Kitchen, Pre-School Classroom (1962) | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFB | 12”x12” Floor Tile/Mastic- Gray w/Dark Gray & Beige Flecks | Library, Computer Lab (1962) | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFC | Linoleum/Mastic- Chocolate w/Beige Swirls | West & North Stairs (1962) | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 5

Building Name:  St. Charles Borromeo

Building Address:  288 East Jefferson Street - Hampshire, Illinois 60140

Name of Person Completing Report:

Title:							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MFD | 1” Ceramic Tile/Grout- Brown & Tan | Boy’s Bathroom (1962) | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFE | 1”x2” Ceramic Tile/Grout- Green | Girl’s Bathroom (1962) | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFF | Linoleum/Mastic- Blue | West Stairs (1962) | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFG | 12”X12” Floor Tile/Mastic- White w/Light Blue Flecks & Blue Tile Border | West Foyer Entrance (1962) | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFH | 2” Ceramic Tile/Grout- Tan | Girl’s & Boy’s Bathrooms (1929) | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFI | 12”x12” Linoleum/Mastic- Tan | Gymnasium- Northwest Mezzanine | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFJ | Ceramic Tile/Grout- White Hexagon Pattern | Gymnasium- Northwest Old Athletic Storage Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBA | Vinyl Wall Base/Mastic- Black | Throughout Buildings (1929 & 1962) | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBB | Vinyl Wall Base/Mastic- Gray | Computer Lab, Library (1962) | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MCA | 2’x4’ Lay-In Ceiling Tile- Small & Medium Pinholes | Computer Lab, Library (1962) | N/A | N/A |  | Material Analyzed by True North to be NON-ACM in 2015 Material Identified by MEC in 2012 |
| MCB | 2’x4’ Lay-In Ceiling Tiles- Fissures w/Pinholes | Grade 7 Classroom (1962) | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 4 of 5

Building Name:  St. Charles Borromeo

Building Address:  288 East Jefferson Street - Hampshire, Illinois 60140

Name of Person Completing Report:

Title:							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MCC | 2’x4’ Lay-In Ceiling Tiles- Dense Fissures w/Pinholes | Grade 5 & 7 Classrooms (1962) | N/A | N/A |  | Material Reclassified as HA#03 by True North-2015 Material Identified by MEC in 2012 |
| MMA | Boiler Anti-Vibration Cloth | Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMB | Fire Doors | Boiler Room & Adjacent Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMC | Carpet Glue | Scattered Areas Throughout | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMD | Exterior Window Glazing | 1929 Building Windows | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MME | Exterior Window Caulking | 1929 Building Windows | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMF | Exterior Window Glazing | 1962 Building Windows | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMG | Exterior Window Caulking | 1962 Building Windows | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MWA | 4”x4” Ceramic Tile/Grout- Cream | 1929 Building- Boy’s and Girl’s Bathrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFK | 1”x2” Ceramic Tile/Grout- Gray and White | 1962 Building- 2nd Floor Custodial Closet | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MWB | 1”x1” Ceramic Tile/Grout- Gray | 1962 Building- 2nd Floor Custodial Closet | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 5 of 5

Building Name:  St. Charles Borromeo

Building Address:  288 East Jefferson Street - Hampshire, Illinois 60140

Name of Person Completing Report:

Title:							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MBC | 6”x6” Ceramic Tile/Grout- Gray | 1962 Building- 2nd Floor Custodial Closet | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MWC | 1”x1” Ceramic Tile/Grout- Cream | 1962 Building- Boy’s Bathroom Walls | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MWD | 1”x1” Ceramic Tile/Grout- Green | 1962 Building- Girl’s Bathroom Walls | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MMH | Boiler Insulation | Boiler Room | N/A | N/A |  | Material Identified by True North to be Fiberglass in 2015 |
| MBD | 4”x4” Ceramic Tile/Grout- Cream | 1962 Building- Base of Walls in Boy’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MBE | 4”x4” Ceramic Tile/Grout- White | 1962 Building- Base of Walls in Girl’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management.