SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 11

Building Name: Boylan High School

Building Address:  4000 St. Francis Drive Rockford, Illinois 61103

Name of Person Completing Report:

Title:								                       	             Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | 9”x9” Floor Tile/Mastic- Beige w/Brown & White Streaks | 103,120,121,122,123,127,130,131,134,135,136,137,139,140,148,152,201,202,208,209,211,223,225, Red Ribbon 162/306,Storage 163/304,Concession, SW Café Room, Music Office, Main Office, Asst. Principal’s Office, Auditorium Balcony Seating Area | ND | ND |  | Preventive Measures… Continue O&M |
| 02 | 9”x9” Floor Tile/Mastic- Dark Brown w/White Streaks | 103,104,105,107,114,118,119,120,121,122,123,126,127,130,131,132,133,134,135,136,137,138,139,140,148,149,150,153,154,155,201,202,203,204,208,209,211,213,218,219,223,225,227,228,228A, Storage Attached to 138, Teacher’s Workroom b/w Rooms 218 & 222, Bookstore 160/310, Ticket Booth, Office on Stage, Auditorium, Balcony Sound Booth | ND | ND |  | Preventive Measures… Continue O&M |
| 03 | 9”x9” Floor Tile/Mastic- Dark Green w/White Streaks | 105,107,114,124,133,149,150,153,154,155,218,220, 222,227,228, Teacher’s Workroom between 218 & 222, Storage Room between 222 & 225 | ND | ND |  | Preventive Measures… Continue O&M |
| 04 | 9”x9” Floor Tile/Mastic- Maroon w/White | 105,114,126,132,133,149,150,153,154,155,218,227,228 | ND | ND |  | Negative in 1988 by PLM- Tile and Mastic to remain ASSUMED- analyze Tile by TEM Method |
| 05 | 9”x9” Floor Tile/Mastic- Evergreen w/White Streaks | 102,109,126,132,212,212A,214,215,216,217, Principal’s Office | ND | ND |  | Preventive Measures… Continue O&M- Under Carpet 212A,214,215,216, Principal’s Office |
| 06 | 9”x9” Floor Tile/Mastic- Black w/White Streaks | Room 102 (Under Carpet) | ND | ND |  | Negative in 1988 by PLM- Tile and Mastic to remain ASSUMED- analyze Tile by TEM Method |
| 07 | 9”x9” Floor Tile/Mastic- Tan w/Brown & White Streaks | Room 151 | ND | ND |  | Preventive Measures… Continue O&M |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 11

Building Name: Boylan High School

Building Address:  4000 St. Francis Drive Rockford, Illinois 61103

Name of Person Completing Report:

Title:								                       	   Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 08 | 9”x9” Floor Tile/Mastic- Tan w/Multi-Specks | Library & Chapel (Under Carpet) | ND | ND |  | Preventive Measures… Continue O&M- Under Carpet in Library & Chapel |
| 09 | 9”x9” Floor Tile/Mastic- Brown w/Multi-Specks | Library, Chapel (Under Carpet), 2nd Floor Hallway | ND | ND |  | Preventive Measures… Continue O&M- Under Carpet in Library & Chapel |
| 10 | Plaster Ceiling | Various Rooms Throughout | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 11 | Pipe Insulation | Throughout School | ND | ND |  | Preventive Measures… Continue O&M- Abated from Boiler Room Summer/2015 |
| 12 | Hot Water Tank Insulation | Boiler Room | N/A | N/A |  | Material abated Summer/2015 |
| 13 | Boiler Gasket | Boiler Room | N/A | N/A |  | Material Removed/Abated in Summer 2011 |
| 14 | Pipe Fitting Insulation | Throughout School | ND | ND |  | Preventive Measures… Continue O&M |
| 15 | Duct Insulation | Boiler Room | ND | ND |  | Preventive Measures… Continue O&M |
| 16 | Duct Insulation | Backstage- Rooms, Gym, Shop | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 17 | 9”x9” Floor Tile/Mastic- Tan & Beige | 2nd Floor Hallway | ND | ND |  | Preventive Measures… Continue O&M |
| 18 | 9”x9” Floor Tile/Mastic- Green w/Black Streaks | Rooms 206, 219A | ND | ND |  | Preventive Measures… Continue O&M |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 11

Building Name: Boylan High School

Building Address:  4000 St. Francis Drive Rockford, Illinois 61103

Name of Person Completing Report:

Title:		   					                       		  Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 19 | 9”x9” Floor Tile/Mastic- Ivory w/Black Streaks | Room 221 | ND | ND |  | Preventive Measures… Continue O&M |
| 20 | Ceiling Plaster (Spray Applied Acoustical) | Auditorium- Underside of Balcony | ND | ND |  | Preventive Measures… Continue O&M |
| 21 | 2’x2’ Ceiling Tile- Smooth | Various Areas Throughout | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 22 | 2’x2’ Ceiling Tile- Rough | Various Areas Throughout | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 23 | 1’x1’ Ceiling Tile- Irregular Holed | Band Room, Storage, Choral Room | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 24 | 1’x1’ Ceiling Tile- Wood Grained Surface | Office in Aux Gym | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 25 | 2’x4’ Ceiling Tile- Rough | Cafeteria, Library | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 26 | 2’x4’ Ceiling Tile- Smooth | Room 138 | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 27 | Pipe Insulation | Pipe Chase by Boy’s Locker Room | ND | ND |  | Preventive Measures… Continue O&M |
| 28 | 9”x9” Floor Tile Mastic | Under All 9”x9” Floor Tiles Throughout the Building | N/A | N/A |  | HA# 28 has been Eliminated and is now Included w/Individual Associated Tiles |
| 29 | Flexible Connectors | Boiler Room & Wood Shop | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 4 of 11

Building Name: Boylan High School

Building Address:  4000 St. Francis Drive Rockford, Illinois 61103

Name of Person Completing Report:

Title:					   		                       	                 Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 30 | 1’x1’ Ceiling Tile/Glue Pucks | Annex Classrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M- |
| 31 | 9”x9” Floor Tile/Mastic- Tan w/Brown Streaks | Annex- Kitchen | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| 32 | 9”x9” Floor Tile Mastic | Annex- Under All Tiles | N/A | N/A |  | HA# 32 has been Eliminated and is now Included w/Individual Associated Tiles |
| 33 | 12”x12” Floor Tile/Mastic- Off White w/Speckles | Band Room & Hall | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| 34 | 12”x12” Floor Tile/Mastic- Green & White | Aux Gym- Trainer’s Office | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| 35 | Pipe Fittings & Roof Drain Insulation | Pool Building- Chemical Room | N/A | N/A |  | Analyzed to be NON-ACM by True North- 2014 |
| MMA | Window Glazing | All Windows in 1959 Building | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMB | Transite Countertops and Sink Basins | 217,218,219A,221,222, Teacher’s Workroom between 218 & 220 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMC | Chalkboard/Whiteboard Glue | All Classrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMD | Tar Paper- (Under Rubber 12”x12” Flooring) | Aux Gym | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MME | Baseboard- Navy Blue/Mastic | Band Room Hall | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 5 of 11

Building Name: Boylan High School

Building Address:  4000 St. Francis Drive Rockford, Illinois 61103

Name of Person Completing Report:

Title:							                       		 Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MMF | Door Caulk | Band Room Hall | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFA | 9”x9” Floor Tile/Mastic- White w/Gray Streaks | Room 222 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFB | 1”x1” Ceramic Tile/Grout- Multi-Colored | 2nd Floor Stairwells | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFC | Multi-Sized Ceramic Floor Tile/Grout- Multi-Colored | Restrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFD | 9”x9” Floor Tile/Mastic- Tan w/White & Red Streaks | Room 210 (Under Carpet) | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MCA | 2’x2’ Ceiling Tile- Speckled Pattern | 102,103,105,107,108,109,110,114,115,118,119,119A,121,123,124,126,127, 134,135,136,139,140,145,148,149,150,151,152,153,154,155,201,202,204,209,210,211,212,212A,213,214,215,216,218,220,221, 222,223,225,Main-Principal’s-Asst. Principal’s Offices, 1st & 2nd Floor Hallways | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M- Used to Replace All Ceiling Tiles Previously Identified as HA #21 Material Identified by MEC in 2012 |
| MCB | 2’x2’ Ceiling Tile- Worm-Like Fissure Pattern | Random Rooms & Halls (Used as Replacement Tiles) | N/A | N/A |  | Analyzed to be NON-ACM by TNC in 2018 Material Identified by MEC in 2012 |
| MCC | Glue Pucks- Associated w/1’x1’ Ceiling Tiles HA #23 | Room 138 & All Adjacent Storage Rooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MCD | Glue Pucks- Associated w/1’x1’ Ceiling Tiles HA #24 | Aux Gym Office | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MCE | 2’x2’ Ceiling Tile- Smooth | Girl’s Locker Room Office, Toilet Area | N/A | N/A |  | Analyzed to be NON-ACM by TNC in 2018 Material Identified by MEC in 2012 |
| MCF | 2’x4’ Ceiling Tile- Worm-Like Fissures | Library & Chapel-(Mixed w/HA#21 & MCB) | N/A | N/A |  | Analyzed to be NON-ACM by TNC in 2018 Material Identified by MEC in 2012 |

*** Material Condition***     (ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 6 of 11

Building Name: Boylan High School

Building Address:  4000 St. Francis Drive Rockford, Illinois 61103

Name of Person Completing Report:

Title:									                 Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MBA | Baseboard/Mastic- Beige | Room 138 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBB | Older Brown Baseboard/Mastic | Small Rooms between 137 & 138 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBC | Newer Brown Baseboard/Mastic | Room 137 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| TDA | Seam Tape on Duct Insulation | Wood Shop | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| SPA | Plaster Ceiling | Main Auditorium | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFA | 9”x9” Floor Tile/Mastic-Gray w/Black Streaks | Annex- Rear Entry & Stairs, 1st Floor- Hall Closet, 2nd Floor- W. Stairs, Break Room, Library, Equipment Room #1,#2, Janitor’s Closet, Hall, 5 Bedrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M- Under Carpet in 2nd Floor Hall-- Material Identified by MEC in 2012 |
| MFB | 9”x9” Floor Tile/Mastic- Red w/Tan Streaks | Annex- Basement Room A-18 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFC | 9”x9” Floor Tile/Mastic- Tan w/Brown Streaks | Annex- Basement Room A-18 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFD | 12”x12” Floor Tile/Mastic- Light Gray w/Dark Gray Streaks | Annex- Basement Restroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFE | 1”x1” Ceramic Floor Tile/Grout- Multi-Colored | Annex- 1st Floor- Woman’s Restroom, 2nd Floor- Shower Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFF | 12”x12” Floor Tile/Mastic- Tan w/White & Brown Specks | Annex- Vestibule Leading to Main School Building | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Mgmt.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 7 of 11

Building Name: Boylan High School

Building Address:  4000 St. Francis Drive Rockford, Illinois 61103

Name of Person Completing Report:

Title:									                  Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MFG | 9”x9” Floor Tile/Mastic- Unknown Color | Annex- A15, A16, A17, Wellness Office, Father’s Office, Teacher’s Workroom, 1st Floor- Hall & Conference Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M- Under Carpeting in All Rooms Listed Material Identified by MEC in 2012 |
| MFH | Floor Tile Mastic | Annex- Throughout | N/A | N/A |  | HA# MFH has been Eliminated and is now Included w/Individual Associated Tiles- Material Identified by MEC in 2012 |
| MCA | 12”x12” Ceiling Tile/Adhesive Pucks- Fissured | Annex- A15, A16, A17, A18 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMA | Older Black Baseboard & Glue | Annex- Kitchen, A18, Basement Restroom, 2nd Floor Hall | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMB | Newer Black Baseboard & Glue | Annex- A15,A16,A17,Wellness Office,1st Floor Hall,2nd Floor-Break Room, Library, Equipment Rooms 1 & 2,Janitor’s Closet, 5 Bedrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMC | 4”x4” Ceramic Wall Tile- Yellow | Annex- 1st Floor Woman’s Restroom, 2nd Floor Shower Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMD | Brown Baseboard & Glue | Annex- 1st Floor Conference Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MME | White Baseboard & Glue | Annex- 1st Floor Father’s Office | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMF | Light Brown Baseboard & Glue | Annex- Teacher’s Workroom, Vestibule Leading to Main School Building | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| SPA | Plaster Walls & Ceilings | Annex- Throughout Building | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 8 of 11

Building Name: Boylan High School

Building Address:  4000 St. Francis Drive Rockford, Illinois 61103

Name of Person Completing Report:

Title:									                 Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| TBA | Boiler Insulation | Annex- Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| TBB | Boiler Breeching | Annex- Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| TBC | Tank Insulation | Annex- Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| TFA | Pipe Fitting Insulation | Annex- Boiler Room, A18, Storage Rooms 1 & 2, Laundry, Hall, Crawlspace | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MCA | 2’x2’ Ceiling Tiles- White Fissured | Tennis- Main Office/Lobby | N/A | N/A |  | Analyzed to be NON-ACM by TNC in 2018 Material Identified by MEC in 2012 |
| MCB | 2’x4’ Ceiling Tiles- White Fissured | Tennis- Boy’s Locker Room, Girl’s Locker Room, Lower level Hall | N/A | N/A |  | Armstrong Letter on File Material Identified by MEC in 2012 |
| MFA | 12”x12” Floor Tile/Mastic- White w/Black Specks | Tennis- Girl’s Locker Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFB | 1”x1” Ceramic Floor Tile/Grout- Brown | Tennis- Girl’s Locker Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFC | 1”x1” Ceramic Floor Tile/Grout- Gray & Brown | Tennis- Boy’s Locker Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMA | Gray Baseboard & Glue | Tennis- Boy’s & Girl’s Locker Rooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMB | 3”x3” Ceramic Wall Tile/Grout- Yellow | Tennis- Girl’s Locker Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 9 of 11

Building Name: Boylan High School

Building Address:  4000 St. Francis Drive Rockford, Illinois 61103

Name of Person Completing Report:

Title:									             	   Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MMD | Drywall & Joint Compound | Tennis- Throughout Building | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MME | Transite Panels | Tennis- Lower Level HVAC Room, Behind AHU | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMF | Black Baseboard & Glue | Tennis- Boy’s Locker Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMG | 3”x3” Ceramic Wall Tile/Grout- Beige | Tennis- Boy’s Locker Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMH | Brown Baseboard & Glue | Tennis- Lower Level Hall | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFA | 12”x12” Floor Tile/Mastic- Beige w/Brown Streaks | Pool/Knights- Pool Area: Kitchen, Hallway, Unisex Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFB | 12”x12” Floor Tile/Mastic- White w/Blue Streaks & Green Accent Tiles | Pool/Knights- Alumni Area: Bar Room, Front Lobby, Front Offices, Hall, Banquet Hall, Associate Director’s Office | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFC | 1”X1” Ceramic Floor Tile/Grout- Multi-Colored | Pool/Knights- Pool Area: Woman’s Locker Room & Men’s Locker Room, Alumni Area: Men’s Restroom, Woman’s Restroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 10 of 11

Building Name: Boylan High School

Building Address:  4000 St. Francis Drive Rockford, Illinois 61103

Name of Person Completing Report:

Title:						          				   Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MCA | 2’x4’ Ceiling Tile- White Fissured | Pool/Knights- Pool Area: Kitchen, Hallway, Concession Stand, Trainer’s Office, Alumni Area: Lobby, Front Offices, Men’s Restroom, Woman’s Restroom, Hallway | N/A | N/A |  | Armstrong Letter on File Material Identified by MEC in 2012 |
| MCB | 2’x2’ Ceiling Tile- White Fissured | Pool/Knights- Alumni Area: Bar Room, Banquet Hall, Associate Director’s Office | N/A | N/A |  | Analyzed to be NON-ACM by TNC in 2018 Material Identified by MEC in 2012 |
| MMA | Drywall/Joint Compound- Rough Finish | Pool/Knights- Throughout Building | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMB | Beige Baseboard & Glue | Pool/Knights- Alumni Area: Lobby, Front Office, Bar Room, Banquet Hall, Associate Director’s Office | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMG | Boiler Gasket | Main Building- Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFH | Terrazzo- Brown w/Black & Gold Specks | Main Building- Hallways | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MCG | 2’x2’ Ceiling Tile- Smooth | Main Building- Band Room | N/A | N/A |  | Determined to be NON-ACM by TNC in 2018 Material Identified by True North in 2015 |
| MCH | 2’x4’ Ceiling Tile- Various Holes & Marks | Main Building- Cafeteria | N/A | N/A |  | Analyzed to be NON-ACM by TNC in 2018 Material Identified by True North in 2015 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 11 of 11

Building Name: Boylan High School

Building Address:  4000 St. Francis Drive Rockford, Illinois 61103

Name of Person Completing Report:

Title:						     			        	 Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MFA | 12”x12” Floor Tile/Mastic- Gray w/Multicolored Marks | New Annex- Rooms A1 & Storage Room A10 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by TNC in 2018 |
| MFB | 12”x12” Floor Tile/Mastic- Tan w/Brown & White Marks | New Annex- Rooms A1,A2,A3,A4,A5,A6,A7,A8,A9,A10,A11, A12,A13,A14, & Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by TNC in 2018 |
| MCA | 2’x4’ Ceiling Tile- Holes and Marks | New Annex- Rooms A1,A2,A3,A4,A5,A6,A7,A8,A9,A10,A11, A12,A13,A14, & Hallway | N/A | N/A |  | Armstrong Letter on File Material Identified by MEC in 2012 |
| MFC | Terrazzo- White w/Tan Marks | New Annex- Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by TNC in 2018 |
| MCB | 2’x2’ Ceiling Tile- Pin Holes & Marks | New Annex- Hallway & Main Building Lecture Hall | N/A | N/A |  | Analyzed to be NON-ACM by TNC in 2018 Material Identified by TNC in 2018 |
| MMA | Drywall And Joint Compound | New Annex | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by TNC in 2018 |
| MBA | 4” Baseboard/Adhesive- Tan | New Annex- All Classrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by TNC in 2018 |
| MFE | 12”x12” Floor Tile/Mastic- Gray w/White & Black Marks | Main Building- Lecture Hall | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by TNC in 2018 |
| SPB | Textured Plaster | Main Building Showroom Outside of Lecture Hall |  |  |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by TNC in 2018 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.