SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 9

Building Name: Newman Central High School

Building Address:  1101 W. 23rd Street Sterling, Illinois 61081

Name of Person Completing Report:

Title:  						                       			Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | 9”x9” Floor Tile- Beige w/Black Streaks | See HA# 31 | N/A | N/A |  | HA# 01 Description has been Eliminated- This Tile has been Determined to be Identical to, and is now Included with HA# 31 |
| 02 | Decorative Ceiling Material | Classroom 10 & Chapel* | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988- *Chapel Material now listed under HA# 06 |
| 03 | 12”x12” Floor Tile- Grey with Black & White | 1st Floor Janitor’s Closet | N/A | N/A |  | PER MEC 2012- Material Description was incorrect and new description is now listed under HA# MFI |
| 04 | 12”x12” Floor Tile/Mastic- Beige w/Brown Specks & Orange Accent Tiles | Cafeteria | ND | ND |  | Tile Negative in 1988 by PLM-Both Tile and Mastic to remain ASSUMED- analyze Tile by TEM Method |
| 05 | 12”x12” Floor Tile/Mastic- Brown Speckles | 220,204,206,210,211,Room #1 in Library, 2nd Floor Hallway | ND | ND |  | Tile Negative in 1988 by PLM-Both Tile and Mastic to remain ASSUMED- analyze Tile by TEM Method |
| 06 | Decorative Ceiling Plaster | Chapel & Library | ND | ND |  | Negative in 1988 by PLM- Re-Analyzed Positive June 2008 by TEM - Partial abatement over alter |
| 07 | Plaster Ceiling | Storage, Janitor’s Closet, Locker Rooms, Restrooms | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988- 7 samples Re-Analyzed NON-ACM on 5-1-2013 |
| 08 | 2’x2’ Ceiling Tile- Fissured | Girl’s Restroom | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 09 | 1’x1’ Ceiling Tile-Textured | Music Room | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 10 | 1’x1’ Ceiling Tile- Smooth | Kitchen | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 11 | 3’x7’Ceiling Tile- Fiberboard | Gymnasium & storage Areas | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 9

Building Name: Newman Central High School

Building Address:  1101 W. 23rd Street Sterling, Illinois 61081

Name of Person Completing Report:

Title:					                       				Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | Plaster Walls | Throughout | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 13 | Gypsum Board | Classroom 10 | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 14 | Fiberglass Pipe Insulation | Throughout | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 15 | Pipe Fitting Insulation | Throughout | ND | ND |  | Preventive Measures… Continue O&M- Abated from Boiler Room by Holian-8/16 |
| 16 | Flexible Connections | Classrooms, Cafeteria, Storage, Locker Rooms | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 17 | Boiler Insulation | Boiler Room | N/A | N/A |  | Material Abated by Holian-8/16 |
| 18 | Boiler Gasket | Boiler Room | N/A | N/A |  | Material Abated by Holian-8/16 |
| 19 | Boiler Mortar | Boiler Room | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 Material Removed by Holian-8/16 |
| 20 | Transite Panels | Boiler Room | N/A | N/A |  | Material Abated by Holian-8/16 |
| 21 | Tank Insulation-Hard | Boiler Room | N/A | N/A |  | Material Abated by Holian-8/16 |
| 22 | Tank Insulation- Soft | Pipe Tunnel | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 9

Building Name: Newman Central High School

Building Address:  1101 W. 23rd Street Sterling, Illinois 61081

Name of Person Completing Report:

Title:					                       				Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 23 | Incinerator Lining | Boiler Room | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 24 | Lay-In Fiberglass Insulation | Cafeteria- Above 1’x1’ Ceiling Tile | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 25 | 9”x9” Floor Tile/Mastic- Yellow w/Gray & White Streaks | Dean’s Office | N/A | N/A |  | Material Removed/Abated |
| 26 | 9”x9” Floor Tile- Orange w/Yellow Specks & White w/Gray Specks | Conference, Concession Rooms | N/A | N/A |  | Material Removed/Abated |
| 27 | HA#27 NOT USED in Original Inspection | HA#27 NOT USED in Original Inspection | N/A | N/A |  | HA#27 NOT USED in Original Inspection |
| 28 | 9”x9” Floor Tile/Mastic- Beige w/Brown & White Streaks | Rooms 201, 203, 208, AV Room, Stage Landings, Room 203 Under Carpet | ND | ND |  | Preventive Measures… Continue O&M |
| 29 | 9”x9” Floor Tile/Mastic- Beige w/Black Streaks & Green Accent Tiles | Equipment Room in Boy’s Locker Room | ND | ND |  | Preventive Measures… Continue O&M |
| 30 | 9”x9” Floor Tile/Mastic- White w/Red & Black Streaks & Red Accent Strip | Room 111 | ND | ND |  | Preventive Measures… Continue O&M |
| 31 | 9”x9” Floor Tile/Mastic- Cream w/Green Streaks & Green Accent Strip | Room 110, Computer Lab, Guidance Offices, Cafeteria Mechanical Room | ND | ND |  | Preventive Measures… Continue O&M- Re-Classified by MEC in 2012- Previously Referred to as Green w/Black Streaks |
| 32 | 9”x9” Floor Tile/Mastic- Beige w/Red & Black Streaks & Red Accent Strip | Rooms 108 Under Carpet, 109 | ND | ND |  | Preventive Measures… Continue O&M- Re-Classified by MEC in 2012- Previously Referred to as Beige w/Yellow & White Streaks & Blue Accent |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT					Page 4 of 9

Building Name: Newman Central High School

Building Address:  1101 W. 23rd Street Sterling, Illinois 61081

Name of Person Completing Report:

Title:   						                       			Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 33 | 9”x9” Floor Tile/Mastic- Beige w/Yellow, Blue & Brown Streaks & Light Red Accent Strip | Rooms 105, 107, Office 101, Large Conference Room 103 Under Carpet | ND | ND |  | Preventive Measures… Continue O&M- Re-Classified by MEC in 2012- Previously Referred to as Beige w/Yellow & Blue |
| 34 | 9”x9” Floor Tile/Mastic- Gray w/White Streaks & Green Accent Tiles | Room 106 | ND | ND |  | Preventive Measures… Continue O&M |
| 35 | 9”x9” Floor Tile/Mastic- Beige & Brown | Sacristy & Storage Room off of Chapel | ND | ND |  | Preventive Measures… Continue O&M |
| 36 | 9”x9” Floor Tile/Mastic- Red & Rust Speckled | Main Office, Secretary’s Office, Bookkeeper’s Office Under Carpet | ND | ND |  | Preventive Measures… Continue O&M |
| 37 | 9”x9” Floor Tile/Mastic- Beige & Brown Specks | Main Office, Safe Room Under Carpet | ND | ND |  | Preventive Measures… Continue O&M |
| 38 | 9”x9” Floor Tile/Mastic- Beige w/Red Streaks | Room 204, Art Storage Room | ND | ND |  | Preventive Measures… Continue O&M |
| 39 | 9”x9” Floor Tile/Mastic- Green w/Black & White Streaks | Storage Areas by Stage, Music Room Hallway, Room 206- Lab Storage | ND | ND |  | Preventive Measures… Continue O&M |
| 40 | 9”x9” Floor Tile/Mastic- Beige & Brown Speckled Pattern | Music Room, Music Storage, Chapel, Library Room #2, Library Closet | ND | ND |  | Preventive Measures… Continue O&M- Under Carpet in Chapel |
| 41 | 9”x9” Floor Tile/Mastic- Aqua w/Black & White Streaks | Basement- Classroom 10 | ND | ND |  | Preventive Measures… Continue O&M |
| 42 | 9”x9” Floor Tile/Mastic- Beige & Brown | 2nd Floor- West Office & Adjacent Storage Room | ND | ND |  | Preventive Measures… Continue O&M |
| 43 | Linoleum- Yellow | Kitchen, Kitchen Area Restroom, Food Storage | N/A | N/A |  | HA# 43 has been Eliminated- Material Not Located by MEC in 2012 Re-Inspection |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT			Page 5 of 9

Building Name: Newman Central High School

Building Address:  1101 W. 23rd Street Sterling, Illinois 61081

Name of Person Completing Report:

Title:						                       			Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 44 | Linoleum- Gray | Stairwell, Music Room | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 45 | 9”x9” Floor Tile Mastic | Throughout School | N/A | N/A |  | HA# 45 has been Eliminated and is now Included w/Individual Associated Tiles |
| 46 | 12”x12” Floor Tile Mastic | Throughout School | N/A | N/A |  | HA# 46 has been Eliminated and is now Included w/Individual Associated Tiles |
| 47 | Linoleum/Mastic | Music Room & Stairwell | N/A | N/A |  | HA# 47 has been Eliminated- Material Not Located by MEC in 2012 Re-Inspection |
| 48 | Drywall & Joint Compound | Main Office Area | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| 49 | 9”x9” Floor Tile- Dark Gray | 2nd Floor Janitor’s Closet | N/A | N/A |  | HA# 49 Descriptions have been Eliminated- MEC Description in 2012 to be Re-Assigned to HA MFF |
| 50 | 9”x9” Floor Tile- Red & Green | Concession Stand Closet | N/A | N/A |  | Material Removed/Abated in 2007 |
| 51 | 9”x9” Floor Tile- Dark Gray w/Black Streaks | Music/Choir Room, Stage Landings | N/A | N/A |  | HA# 51 has been Eliminated- Material Not Located by MEC in 2012 Re-Inspection |
| MFA | 12”X12” Floor Tile/Mastic- Pink w/Orange & Brown Specks | Room 207 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFB | 9”x9” Floor Tile/Mastic- Black w/White Streaks | Room 210 Dark Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFC | 12”x12” Floor Tile/Mastic- Beige w/Tan Specks | Room 205 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 6 of 9

Building Name: Newman Central High School

Building Address:  1101 W. 23rd Street Sterling, Illinois 61081

Name of Person Completing Report:

Title:							              			Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MFD | Ceramic Floor Tile/Grout- Gray & Blue | 2nd Floor Boy’s Restroom | N/A | N/A |  | Analyzed to be NON-ACM by TNC in 2016 Material Identified by MEC in 2012 |
| MFE | Ceramic Floor Tile/Grout- Gray & Green | 2nd Floor Girl’s Restroom, 1st & 2nd Floor Boy’s Restrooms | N/A | N/A |  | Analyzed to be NON-ACM by TNC in 2016 Material Identified by MEC in 2012 |
| MFF | 9”x9” Floor Tile/Mastic- Brown w/Orange, White & Dark Brown Streaks | 2nd Floor Janitor’s Closet | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFG | Ceramic Floor Tile/Grout- Pink | 1st Floor Girl’s Restroom | ND | ND |  | Analyzed to be NON-ACM by TNC in 2016 Material Identified by MEC in 2012 |
| MFH | 12”x12” Floor Tile/Mastic- White w/Gray Specks | Spirit Shop, Infirmary, Locker Room Offices | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M tile in spirit shop removed/abated oct2013- Material Identified by MEC in 2012 |
| MFI | 12”x12” Floor Tile/Mastic- Light Brown w/Dark Brown & Cream Streaks | 1st Floor Janitor’s Closet | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFJ | 2”x2” Ceramic Floor Tile/Grout- Light Gray | Teacher’s Lounge Restroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFK | 12”x12” Floor Tile/Mastic- Tan w/Brown Specks | Kitchen, Kitchen Area Restroom, Food Storage | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFL | 12”x12” Floor Tile/Mastic- Brown Marble Pattern | Main Office Restrooms, Waiting Area | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFM | 1”x1” Ceramic Floor Tile/Grout- Yellow | Athletics Director’s Office Restroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Covered by HA# MFW Material Identified by MEC in 2012 |
| MFN | Ceramic Floor Tile/Grout- Green Rectangle Pattern | Boy’s Locker Room Shower Area | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Covered by HA# MFW Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 7 of 9

Building Name: Newman Central High School

Building Address:  1101 W. 23rd Street Sterling, Illinois 61081

Name of Person Completing Report:

Title: 						                       			Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MFO | 1”x1” Ceramic Floor Tile/Grout- Green | Boy’s Locker Room Restroom Area | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M- Covered by HA# MFW Material Identified by MEC in 2012 |
| MFP | Ceramic Floor Tile/Grout- Peach Rectangle Pattern | Girl’s Locker Room Shower Area | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Covered by HA# MFW Material Identified by MEC in 2012 |
| MFQ | 1”x1” Ceramic Floor Tile/Grout- Peach | Girl’s Locker Room Restroom Area | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Covered by HA# MFW Material Identified by MEC in 2012 |
| MFR | Terrazzo | 1st Floor Hallways & Stairwells | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| TTA | Tank Insulation- End Caps | Lower Level Boiler Room Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M *Repair Scheduled- Repaired 3-29-13- Material Identified by MEC in 2012 |
| MTA | Transite Countertops & Sinks | Rooms 206, 208, 210 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MTB | Transite Fume Hood | Room 208 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFS | Wood Planks/Mastic | Superintendent’s Office | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MMA | 3” Vinyl Base Board/Mastic- Green | Teacher’s Lounge Restroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MMB | Ceramic Wall Tile- Light Green | Teacher’s Lounge Restroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFT | Linoleum/Mastic- Brown | Music Room Stairwell | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 8 of 9

Building Name: Newman Central High School

Building Address:  1101 W. 23rd Street Sterling, Illinois 61081

Name of Person Completing Report:

Title:   								                       	Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MMC* | Fire Block- Tan | Boiler Room- Interior of incinerator | N/A | N/A |  | Analyzed to be NON-ACM by TNC in 2016 Material Identified by TNC in 2016- Removed/2016 |
| MMC* | Window Glazing | Boiler Room Window | N/A | N/A |  | Analyzed to be ACM by TNC in 2016 Material Identified by TNC in 2016- Abated/2016 |
| MMD* | Window Caulking | Boiler Room Window | N/A | N/A |  | Analyzed to be ACM by TNC in 2016 Material Identified by TNC in 2016- Abated/2016 |
| MME | Window Glazing | 1961 Building- Classrooms, Cafeteria, and Offices | N/A | N/A |  | Analyzed to be ACM by TNC in 2016 Material Identified by TNC in 2016- Abated/2016 |
| MMF | Interior Window Caulking | 1961 Building- Classrooms, Cafeteria, and Offices | N/A | N/A |  | Analyzed to be NON-ACM by TNC in 2016 Material Identified by TNC in 2016- Removed/2016 |
| MMG | Exterior Window Caulking | 1961 Building- Classrooms, Cafeteria, and Offices | N/A | N/A |  | Analyzed to be ACM by TNC in 2016 Material Identified by TNC in 2016- Abated/2016 |
| MMH | Window Glazing | Main Entrance | N/A | N/A |  | Analyzed to be ACM by TNC in 2016 Material Identified by TNC in 2016- Abated/2016 |
| MMI | Door Caulking | Main Entrance | N/A | N/A |  | Analyzed to be ACM by TNC in 2016 Material Identified by TNC in 2016- Abated/2016 |
| MMJ | Window Caulk | Gymnasium- North Windows/East Side 2nd Level | N/A | N/A |  | Analyzed to be ACM by TNC in 2016 Material Identified by TNC in 2016- Abated/2016 |
| MMK | Window Mortar | Gymnasium- North Windows/East Side 2nd Level | N/A | N/A |  | Analyzed to be NON-ACM by TNC in 2016 Material Identified by TNC in 2016- Removed/2016 |
| MML | Window Caulk | Gymnasium- South Windows/East Side 2nd Level | N/A | N/A |  | Analyzed to be ACM by TNC in 2016 Material Identified by TNC in 2016- Abated/2016 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 9 of 9

Building Name: Newman Central High School

Building Address:  1101 W. 23rd Street Sterling, Illinois 61081

Name of Person Completing Report:

Title:								                       	Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MMM | Window Mortar | Gymnasium- South Window/East Side 2nd Level | N/A | N/A |  | Analyzed to be NON-ACM by TNC in 2016 Material Identified by TNC in 2016- Removed/2016 |
| MMN | Window Glazing | Gymnasium- Center Window/East Side 2nd Level | N/A | N/A |  | Analyzed to be ACM by TNC in 2016 Material Identified by TNC in 2016- Abated/2016 |
| MMO | Window Mortar | Gymnasium- Center Window/East Side 2nd Level | N/A | N/A |  | Analyzed to be NON-ACM by TNC in 2016 Material Identified by TNC in 2016- Abated/2016 |
| MFU | 12”x12” Floor Tile/Grout- Gray w/Gray & White Marks | Coach’s Office, Boy’s & Girl’s Locker Rooms | N/A | N/A |  | Analyzed to be NON-ACM by TNC in 2018 Material Identified by TNC in 2018 |
| MFX | 2”x2” Ceramic Floor Tile/Grout- White | Boy’s & Girl’s Showers | ND | ND |  | Assumed- Preventive Measures-Continue O&M Material Identified by TNC in 2018 |
| MWA | 4”x12” Ceramic Wall Tile/Grout- White | Boy’s & Girl’s Showers | ND | ND |  | Assumed- Preventive Measures-Continue O&M Material Identified by TNC in 2018 |
| MMC-MBD | 6” Baseboard/Adhesive- Gray | Boy’s & Girl’s Locker Rooms | N/A | N/A |  | Analyzed to be NON-ACM by TNC in 2018 Material Identified by TNC in 2018 |
| MMP | Drywall & Joint Compound | Coach’s Office, Boy’s & Girl’s Locker Rooms | ND | ND |  | Assumed- Preventive Measures-Continue O&M Material Identified by TNC in 2018 |
| MFU | Ceramic Floor Tile/Grout- Green | 1st Floor- Men’s Washroom | N/A | N/A |  | Analyzed to be NON-ACM by TNC in 2016 Material Identified by TNC in 2016 |
| MFV MFW | Ceramic Floor Tile/Grout- Pink Ceramic Floor Tile/Grout- Pink | 1st Floor- Woman’s Washroom Woman’s Locker Room | N/A N/A | N/A N/A |  | BOTH Analyzed to be NON-ACM by TNC in 2016 Material Identified by TNC in 2016 |
| MWC | 4”x6” Ceramic Wall Tile/Grout- Light Gray | Woman’s Locker Room, Woman’s & Men’s Washroom 1st & 2nd Floors | ND | ND |  | Assumed- Preventive Measures-Continue O&M Material Identified by TNC in 2018 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.