SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 4

Building Name:  Pope Saint John Paul II Catholic Academy – South Campus (formerly Our Lady of Good Counsel)

Building Address:  601 Talma Street- Aurora, Illinois 60505

Name of Person Completing Report:

Title:  					                       				Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | 9”x 9” Floor Tile/Mastic- Brown | Hallways, Gym Entrance, Stair Landing, 2nd Floor- Utility Closet, 101,102,103,104, 201, 203, 202, 204, 205 | ND | ND |  | Preventive Measures… Continue O&M- Tile Positive in 1988- Mastic is Assumed Tile/Mastic abated from 101,102,103,104,201,202,203,204 in 2014 |
| 02 | Linoleum | Stairs | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 03 | Pipe Fitting Insulation | Boiler Room & throughout Building | ND | ND |  | Preventive Measures… Continue O&M- Material also assumed to be present in concealed areas |
| 04 | Hot Water Tank Insulation | Boiler Room | ND | ND |  | Preventive Measures… Continue O&M |
| 05 | Boiler Flue | Boiler Room | N/A | N/A |  | Removed/Abated by Holian- November 2011 |
| 06 | 1’x1’ Ceiling Tile- Regular Hole | Cafeteria | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 07 | 2’x4’ Lay-In Ceiling Tile- Rough & Pin Hole | Hallways & Office | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 08 | Spray Applied Ceiling | Music Room | ND | ND |  | Preventive Measures… Continue O&M *MEC Recommends Abatement if/when Possible |
| 09 | 2’x2’ & 2’x4’ Ceiling Tiles- Swirl Pinhole | Hallways and Classrooms, Basement Storage Rooms off of Music Room | ND | ND |  | Preventive Measures… Continue O&M *MEC Recommends Abatement if/when Possible |
| 10 | Plaster Ceiling | Bathrooms & Scattered Throughout | ND | ND |  | ASSUMED-3 Samples NON-ACM in 1988- 5or7 Samples REQUIRED for more than 1000/5000Sqft |  |
| 12 | 9”x 9” Floor Tile | Throughout- (Elementary School) | N/A | N/A |  | Analyzed Positive- 1988 April 2005- No Longer Being used for Student/Administration Purposes |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 4

Building Name:  Pope Saint John Paul II Catholic Academy – South Campus (formerly Our Lady of Good Counsel)

Building Address:  601 Talma Street- Aurora, Illinois 60505

Name of Person Completing Report:

Title:  						                       			Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 13 | Linoleum | 1st Floor Hallway & 2nd Floor Classrooms (Elementary School) | N/A | N/A |  | Material analyzed to be NON-ACM in 1988- April 2005 no longer being used for School Purposes |
| 14 | 1’x1’ Ceiling Tile | New wing Hallway & Classrooms (Elementary School) | N/A | N/A |  | Material analyzed to be NON-ACM in 1988- April 2005 no longer being used for School Purposes |
| 15 | 2’x4’ Ceiling Tile- Rough | Original Building Classrooms (Elementary School) | N/A | N/A |  | Material analyzed to be NON-ACM in 1988- April 2005 no longer being used for School Purposes |
| 16 | Aircell Pipe Insulation | Boiler Room & Side Work Room | N/A | N/A |  | Material analyzed to be Positive in 1988- April 2005 no longer being used for School Purposes |
| 17 | Boiler Insulation | Boiler Room (Elementary School) | N/A | N/A |  | Material analyzed to be Positive in 1988- April 2005 no longer being used for School Purposes |
| 18 | Plaster Walls & Ceilings | Throughout Building & New Wing (Elementary School) | N/A | N/A |  | 3 Samples analyzed NON-ACM in 1988- 5/7 Samples Required for more than 1000/5000Sqft April 2005 no longer being used for School |
| 19 | Floor Tile Mastic- Associated w/HA #01 | 1st & 2nd Floors Throughout | N/A | N/A |  | HA# 19 has been Eliminated and is now Included w/Individual Associated Tiles (HA-01) |
| 20 | Floor Tile Mastic- Associated w/HA #12 | Throughout- (Elementary School) | N/A | N/A |  | ASSUMED- April 2005 no longer being used for School Purposes |
| 21 | 18”x 18” Sound Proofing Tiles & Associated Mastic | Cafeteria & Music Room | N/A | N/A |  | Material Analyzed Negative by True North in 2014 |
| 22 | Vibration Gasket | Boiler Room & Gym | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |  |
| 23 | Pipe Fitting Insulation | Boiler Room (Elementary School) | N/A | N/A |  | Material analyzed to be Positive in 1988- April 2005 no longer being used for School Purposes |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 4

Building Name:  Pope Saint John Paul II Catholic Academy – South Campus (formerly Our Lady of Good Counsel)

Building Address:  601 Talma Street- Aurora, Illinois 60505

Name of Person Completing Report:

Title:  							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MFA | 12”x 12” Floor Tile/Mastic- Blue & Gold | Cafeteria, Hallway, Music Room, Locker Rooms, Gym- Stage | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFB | 3” Ceramic Tile/Grout- Dark & Light Gray | Boy’s Locker Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MCA | 2’x4’ Lay-In Ceiling Tiles- Fissures & Pinholes | Basement- Hallway, 1st Floor- Foyer & Offices | N/A | N/A |  | Analyzed Negative by True North in 2014 |
| MBA | 6” Vinyl Wall Base/Mastic- Blue | Basement- Throughout, 1st Floor- Foyer & Offices | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFC | 1” Ceramic Tile/Grout- Green & White | Girl’s Locker & Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFD | Linoleum- Black | Stairs | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFE | Linoleum- Brown, Beige & Red Swirl | Stairs | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFF | Linoleum- Brown | Stair Steps to Gym Stage | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFG | 1” Ceramic Tile/Grout- Dark & Light Brown | Boy’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFH | 3” Ceramic Tile/Grout- Dark & Light Green | Foyer | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |  |
| MBB | 4” Vinyl Wall Base/Mastic- Brown | Foyer | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 4 of 4

Building Name:  Pope Saint John Paul II Catholic Academy – South Campus (formerly Our Lady of Good Counsel)

Building Address:  601 Talma Street- Aurora, Illinois 60505

Name of Person Completing Report:

Title:  				                       					Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MMA | Exterior Window Caulking | Exterior | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFI | 12”x12” Floor Tile/Mastic- Light Grey & Blue Mottled | Rooms 101,102,103,104,201,202,203,204 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material installed in 2014 |
| MFJ | 9”x9” Floor Tile/Mastic- Light Brown w/Brown, White & Yellow Streaks | Room 105, Landing & Rooms North of Stage | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2014 |
| MFK | 9”x9” Floor Tile/Mastic- Light Brown w/Brown, White & Green Streaks | Rooms 106, 206 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2014 |
| MFL | 9”x9” Floor Tile/Mastic- Light Brown w/Dark Green & White Streaks | Room 200C | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2014 |
| MFM | 9”x9” Floor Tile/Mastic- Green | Faculty Washroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2014 |
| MFN | 9”x9” Floor Tile/Mastic- Brown | Faculty Washroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2014 |
| MFO | 9”x9” Floor Tile/Mastic- Light Brown w/Light Blue Streaks | Room 200 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2014 |
| MMB | Window Glazing | Classroom Windows | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2017 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged