SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 8

Building Name:  St. Edward High School

Building Address:  335 Locust Street - Elgin, Illinois 60123

Name of Person Completing Report:

Title:							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | 2’x4’ Ceiling Tile- Pitted | Main Building Hallways, Kitchen, Cafeteria | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 02 | 2’x4’ Ceiling Tile- Pinhole | Basement- Kit. Storage 1st & 2nd Floor N. Classrooms & Girls’ Bathrooms | N/A | N/A |  | Material Removed/Abated in Summer 2012 |
| 03 | Linoleum/Mastic- Red | Basement & 1st Floor stairwells | ND | ND |  | Preventive Measures… Continue O&M |
| 04 | 9”x9” Floor Tile/Mastic- Tan w/Green | 102,103,104,105,106,202,203,East Entrance Landings | ND | ND |  | Preventive Measures… Continue O&M |
| 05 | 9”x9” Floor Tile/Mastic- Tan w/Light Brown | Classroom 204 | N/A | N/A |  | Material Abated Summer-2013 |
| 06 | Transite Wallboard | Basement- Kitchen | ND | ND |  | Preventive Measures… Continue O&M |
| 07 | 1’x1’ Wall Tile/Mastic | Room 203 | ND | ND |  | Analyzed Negative by True North- 2015 Mastic remains ASSUMED |
| 08 | Pipe Fitting Insulation | Throughout- Except New 2002 Addition | ND | ND |  | Preventive Measures… Continue O&M- Inaccessible Areas- Abated from Boiler Room in 2001 |
| 09 | Ceiling Sheets | Girls’ Gym Center Building | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 10 | 2’x4’ Ceiling Tile- Rough Pitted | Center Building Library, Main Entrance, Hallways, Classrooms | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 11 | 9”x9” Floor Tile/Mastic- Green | Center Building Classrooms 110,111,112,113 | ND | ND |  | Only 1 sample NON-ACM in 1988- -Both Tile and Mastic to remain ASSUMED- analyze Tile by TEM |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 8

Building Name:  St. Edward High School

Building Address:  335 Locust Street - Elgin, Illinois 60123

Name of Person Completing Report:

Title:  							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | Linoleum/Mastic | Center Building Stairways, Gym | ND | ND |  | Preventive Measures… Continue O&M |
| 13 | 9”x9” Floor Tile/Mastic- Off-White | 1st Floor- Center Building Hallway | ND | ND |  | Preventive Measures… Continue O&M |
| 14 | Pipe Fitting Insulation | Center Building | ND | ND |  | ASSUMED-Only 1 sample analyzed to be NON-ACM in 1988- 3 analyzed samples are required |
| 15 | Plaster Ceiling | Gym Stairwells | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 16 | 2’x4’ Ceiling Tile- Rough Pitted | Gym, Hallways, Band Room, Music Room, Weight Room, Art Room | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 17 | Ceiling Sheets | Boys’ Gym | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 18 | Linoleum/Mastic-Green | Gym Stairwells | ND | ND |  | Material Analyzed to be NON-ACM in 1988- Possible Mastic should be analyzed prior to disturbance |
| 19 | 9”x9” Floor Tile/Mastic- Brown, Black & Red | Art Room, Stage, Work Room, Sewing Room, Music Room | ND | ND |  | Preventive Measures… Continue O&M |
| 20 | #20 NOT USED IN ORIGINAL INSPECTION | N/A | N/A | N/A |  | #20 NOT USED IN ORIGINAL INSPECTION |
| 21 | 12”x12” Floor Tile/Mastic- Green (SEE- HA# MFC) | Gymnasium, Basement- Hallway, Sewing Shop, Music Room | N/A | N/A |  | Material Reassigned… SEE- HA# MFC |
| 22 | #22 NOT USED IN ORIGINAL INSPECTION | N/A | N/A | N/A |  | #22 NOT USED IN ORIGINAL INSPECTION |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 8

Building Name:  St. Edward High School

Building Address:  335 Locust Street - Elgin, Illinois 60123

Name of Person Completing Report:

Title:							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 23 | Boiler Flue Insulation | Gym Building Boiler Room | N/A | N/A |  | Material Removed/Abated in 1997 |
| 24 | 12”x12” Floor Tile/Mastic- Tan | Main Building Stairs to Boiler Room | N/A | N/A |  | Material not located by True North during 2015 Reinspecton |
| 25 | Ceiling Plaster | Main Building Boiler Room | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 26 | Gypsum Wall Board | Main Building Storage Room, Boiler Room | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 27 | 9”x9” Floor Tile- Brown | Hoban Hall | N/A | N/A |  | Material Removed/Abated in 2001 prior to Demolition of Hoban Hall |
| 28 | 9”x9” Floor Tile- White & Black | Hoban Hall | N/A | N/A |  | Material Removed/Abated in 2001 prior to Demolition of Hoban Hall |
| 29 | Plaster Walls & Ceiling | Hoban Hall | N/A | N/A |  | Building Demolished in 2001 |
| 30 | 1’x1’ Acoustical Tile | Hoban Hall | N/A | N/A |  | Building Demolished in 2001 |
| 31 | Linoleum | Hoban Hall | N/A | N/A |  | Material Removed/Abated in 2001 prior to Demolition of Hoban Hall |
| 32 | 9”x9” Floor Tile- Multi Colored | Hoban Hall | N/A | N/A |  | Material Removed/Abated in 2001 prior to Demolition of Hoban Hall |
| 33 | Boiler Room Pipe Insulation | Hoban Hall | N/A | N/A |  | Building Demolished in 2001 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 4 of 8

Building Name:  St. Edward High School

Building Address:  335 Locust Street - Elgin, Illinois 60123

Name of Person Completing Report:

Title:							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 34 | Boiler Room Pipe Fitting | Hoban Hall | N/A | N/A |  | Material Removed/Abated in 2001 prior to Demolition of Hoban Hall |
| 35 | 12”x12” Floor Tile/Mastic- White w/Dark Streaks | Mobile Classroom | N/A | N/A |  | Mobile Classroom no longer on property- True North 1-2015 |
| 36 | Boiler Flue | Hoban Hall | N/A | N/A |  | Material Removed/Abated in 2001 prior to Demolition of Hoban Hall |
| 37 | 2’x4’ Ceiling Tile- Rough | Hoban Hall | N/A | N/A |  | Building Demolished in 2001 |
| 38 | # 38 NOT USED IN ORIGINAL INSPECTION | N/A | N/A | N/A |  | # 38 NOT USED IN ORIGINAL INSPECTION |
| 39 | # 39 NOT USED IN ORIGINAL INSPECTION | N/A | N/A | N/A |  | # 39 NOT USED IN ORIGINAL INSPECTION |
| 40 | # 40 NOT USED IN ORIGINAL INSPECTION | N/A | N/A | N/A |  | # 40 NOT USED IN ORIGINAL INSPECTION |
| 41 | # 41 NOT USED IN ORIGINAL INSPECTION | N/A | N/A | N/A |  | # 41 NOT USED IN ORIGINAL INSPECTION |
| 42 | # 42 NOT USED IN ORIGINAL INSPECTION | N/A | N/A | N/A |  | # 42 NOT USED IN ORIGINAL INSPECTION |
| 43 | # 43 NOT USED IN ORIGINAL INSPECTION | N/A | N/A | N/A |  | # 43 NOT USED IN ORIGINAL INSPECTION |
| 44 | # 44 NOT USED IN ORIGINAL INSPECTION | N/A | N/A | N/A |  | # 44 NOT USED IN ORIGINAL INSPECTION |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 5 of 8

Building Name:  St. Edward High School

Building Address:  335 Locust Street - Elgin, Illinois 60123

Name of Person Completing Report:

Title:  							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 45 | 1’x1’ Ceiling Tile/Adhesive | Art Room, Music Room, Sewing Shop | OSHA | OSHA |  | Tile Neg. in 1988 – Adhesive analyzed less than 1%- True North-2015 OSHA Regulations Apply |
| 46 | 9”x9” Floor Tile Mastic | Under all 9”x9” Floor Tiles Throughout | N/A | N/A |  | HA# 46 has been Eliminated and is now Included w/Individual Associated Tiles |
| 47 | 12”x12” Floor Tile Mastic- (Now Included w/HA#’S MFA, MFB, MFC, MFD | (Now Included w/HA#’S MFA, MFB, MFC, MFD | N/A | N/A |  | HA# 47 has been Eliminated and is now Included w/HA#’S MFA, MFB, MFC, MFD |
| 48 | Linoleum Mastic | Under HA#’s 03, 12 | N/A | N/A |  | HA# 48 has been Eliminated and is now Included w/HA#’s 03, 12 |
| 49 | Boiler Insulation | Main Building | N/A | N/A |  | Material Removed/Abated prior to 2000 Re-Inspection |
| 50 | Flexible Duct Connector | Gymnasium Building- Laundry Room | N/A | N/A |  | Analyzed Negative by True North- 2015 |
| 51 | 9”x9” Floor Tile Mastic-(See HA# 46) | (See HA# 46) | N/A | N/A |  | (See HA# 46) |
| 52 | Linoleum Mastic | Hoban Hall | N/A | N/A |  | Material Removed/Abated in 2001 prior to Demolition of Hoban Hall |
| 53 | 12”x12” Floor Tile Mastic | Mobile Classroom | N/A | N/A |  | HA# 53 has been Eliminated and is now Included w/HA# 35 |
| 54A/B | Counter Top Linoleum/Mastic | Basement- Kitchen | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| 55 | 9”x9” Floor Tile Mastic | Hoban Hall | N/A | N/A |  | Material Removed/Abated in 2001 prior to Demolition of Hoban Hall |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 6 of 8

Building Name:  St. Edward High School

Building Address:  335 Locust Street - Elgin, Illinois 60123

Name of Person Completing Report:

Title:  							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 56 | Pipe Insulation- (Layered Paper) | Gymnasium Building- Basement | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| 57 | Pipe Fitting Insulation | Gymnasium Building- Basement | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| MBA | Vinyl Wall Base/Mastic- Gray | Basement & 1st Floor | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBB | Vinyl Wall Base/Mastic- Brown | 1st Floor- Library, Hallway, Art Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MCA | 2’x4’ Lay-In Ceiling Tile- Gypsum | Basement- Kitchen | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MCB | 2’x4’ Lay-In Ceiling Tile- Bird’s Feet w/Pinholes | Cafeteria | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MDA | Stucco Drywall Ceiling | Mobile Classroom- Two Classrooms, Two Bathrooms, Office | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFA | 12”x12” Floor Tile/Mastic- Gray w/Beige Flecks | Cafeteria, Gymnasium Building- Basement | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFB | 12”x12” Floor Tile/Mastic- Tan w/Beige Flecks | Basement- Copy Room, Gym Building, Gym Hallway, 1st Floor- Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFC | 12”x12” Floor Tile/Mastic- Green w/White Specks | Tower Basement-South Stairway, Gym-Coaches Office, Food Rm, Trainer’s Rm | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFD | 12”x12” Floor Tile/ Mastic- LT. Green w/Beige Flecks | Basement- Faculty Lounge | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 7 of 8

Building Name:  St. Edward High School

Building Address:  335 Locust Street - Elgin, Illinois 60123

Name of Person Completing Report:

Title:  							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MFE | 1” Ceramic Tile/Grout- White, Grey, Blue, Orange | 1st & 2nd Floor Bathrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMA | Boiler Gaskets | Basement- Main Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMB | Fiberboard Wall | Classrooms 110-113 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMC | Exterior Window Glazing | Gymnasium Building | N/A | N/A |  | Analyzed Negative by True North-2015 Material Identified by MEC in 2012 |
| MMD | Exterior Window Glazing | Main Building | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MME | Fire Door | Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMF | Exterior Window Caulking | Gymnasium Building | ND | ND |  | Preventive Measures… Continue O&M- Analyzed Positive by True North-2015 Material Identified by MEC in 2012 |
| MMG | 1’x1’ Wall Tile/Adhesive | Gymnasium Building- Kitchen | N/A | N/A |  | Analyzed Negative by True North-2015 Material Identified by MEC in 2012 |
| MMH | Stage Fire Curtain | Gymnasium Stage | N/A | N/A |  | Analyzed Negative by True North-2015 Material Identified by MEC in 2012 |
| MMI | Curtain Valance- Gray | Gymnasium Stage | N/A | N/A |  | Analyzed Negative by True North-2015 Material Identified by True North in 2015 |
| MMJ | Cloth Wire Insulation | Stage Lighting and Stage Storage | ND | ND |  | Preventive Measures… Continue O&M- Analyzed Positive by True North-2015- Material Identified by True North in 2015 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 8 of 8

Building Name:  St. Edward High School

Building Address:  335 Locust Street - Elgin, Illinois 60123

Name of Person Completing Report:

Title:  							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MMK | Stage Backdrop-White | Gymnasium Stage | N/A | N/A |  | Analyzed Negative by True North-2015- Material Identified by True North in 2015 |
| MFF | 12”x12” Floor Tile/Mastic- Gray w/Gray and White Marks | Mobile Classroom Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MML | Vibration Damper | Cafeteria Kitchen Storage | N/A | N/A |  | Analyzed Negative by True North-2015 Material Identified by True North in 2015 |
| MFG | 12”x12” Floor Tile/Mastic- Almond | Rooms 105, 202 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2018 |
| MFH | 6”x4’ Vinyl Tile- Wood Pattern | LRC Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2021 |
| MMM | Mastic | Gymnasium Wood Floor | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2021 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.