 **SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT Page 1 of 6**

**Building Name: Montini Middle School**

**Building Address:**  **1405 N. Richmond Road McHenry, Illinois 60050**

**Name of Person Completing Report:**

**Title:** **Date:**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **HA#** | **Material Description** | **Locations of material** | **Previous**  **Condition**  **\*\*\*** | **Current**  **Condition**  **\*\*\*** | **Photo**  **#** | **Comments** |
| **01** | **9”x9” Floor Tile/Mastic- Tan w/Brown Streaks** | **Cafeteria- South Closets** | **ND** | **ND** |  | ***Preventive Measures… Continue O&M- Mastic is ASSUMED*** |
| **02** | **9”x9” Floor Tile/Mastic- Grey w/Black Streaks** | **Basement- Tech Center (Under Carpet)** | **ND** | **ND** |  | ***Preventive Measures… Continue O&M- Mastic is ASSUMED*** |
| **03** | **9”x9” Floor Tile/Mastic- Tan w/Brown Spots** | **Basement- Closets Adjacent to Library** | **ND** | **ND** |  | ***Preventive Measures… Continue O&M- Mastic is ASSUMED*** |
| *~~04~~* | *~~9”x9” Floor Tile/Mastic- Black w/White Specks~~* | *~~1~~~~st~~ ~~& 2~~~~nd~~ ~~Floor- Hallway Borders~~* | *~~N/A~~* | *~~N/A~~* |  | ***Analyzed to be NON-ACM by TNC in 2018*** |
| *~~05~~* | *~~9”x9” Floor Tile/Mastic- Grey w/White Specks~~* | *~~1~~~~st~~ ~~& 2~~~~nd~~ ~~Floor- Hallways~~* | *~~N/A~~* | *~~N/A~~* |  | ***Analyzed to be NON-ACM by TNC in 2018*** |
| **06** | **9”x9” Floor Tile/Mastic- Red & Green Alternating w/Black Border** | **2nd Floor- Classrooms, Lounge, Storage Area** | **ND** | **ND** |  | ***Preventive Measures… Continue O&M- Mastic is ASSUMED*** |
| **07** | **9”x9” Floor Tile/ Mastic- Maroon & Khaki Alternating w/Black Border** | **1st Floor- Classrooms, Closet outside Principal’s Office** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M*** |
| *~~08~~* | *~~9”x9” Floor Tile/Mastic- Blue & Brown Alternating~~* | *~~1~~~~st~~ ~~Floor- Principal’s Office~~* | *~~N/A~~* | *~~N/A~~* |  | Material ***Removed/Abated*** |
| *~~09~~* | *~~9”x9” Floor Tile/Mastic- Brown & White Spotted~~* | *~~1~~~~st~~ ~~Floor- Room 3~~* | *~~N/A~~* | *~~N/A~~* |  | Material ***Removed/Abated- Replaced w/12”x12”*** |
| **10** | **9”x9” Floor Tile/Mastic- Yellow** | **1st Floor- Office, Hallway Outside of Principal’s Office** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M*** |
| *~~11~~* | *~~12”x12” Floor Tile/Mastic- White & Blue~~* | *~~Classrooms 1 & 4~~* | *~~N/A~~* | *~~N/A~~* |  | Material ***Removed/Abated- Replaced w/12”x12”*** |

**\*\*\* Material Condition\*\*\***

**(ND)- Not Damaged (D)- Damaged (SD)- Significantly Damaged**

**The 6-month inspection *must* be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan. A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan. NOTE:** If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided. Notify the Asbestos Program Manager immediately concerning any changes.

 **SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT Page 2 of 6**

**Building Name: Montini Middle School**

**Building Address:**  **1405 N. Richmond Road McHenry, Illinois 60050**

**Name of Person Completing Report:**

**Title:** **Date:**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **HA#** | **Material Description** | **Locations of material** | **Previous**  **Condition**  **\*\*\*** | **Current**  **Condition**  **\*\*\*** | **Photo**  **#** | **Comments** |
| *~~12~~* | *~~9”x9” Floor Tile- Green & White Spots~~* | *~~Classroom 2~~* | *~~N/A~~* | *~~N/A~~* |  | Material ***Removed/Abated- Replaced w/12”x12”*** |
| *~~13~~* | *~~9”x9” Floor Tile- Black & White Spots~~* | *~~Classroom 9~~* | *~~N/A~~* | *~~N/A~~* |  | Material ***Removed/Abated- HA# MFG Now Located Here*** |
| *~~14~~* | *~~1’x1’ Ceiling Tile~~***/***~~Adhesive Pucks~~***-** *~~Regular Pinhole~~* | *~~Basement- Cafeteria, Learning Center, 1~~~~st~~ ~~Floor- Hallway~~* | *~~N/A~~* | *~~N/A~~* |  | **Tiles** Analyzed to be ***NON-ACM*** in ***1988- Adhesive Pucks Analyzed to be NON-ACM by TNC in 2018*** |
| *~~15~~* | *~~2’x2’ Ceiling Tile- Groove & Pinhole~~* | *~~Basement- Oak Room~~* | *~~N/A~~* | *~~N/A~~* |  | Material Analyzed to be ***NON-ACM*** in ***1988*** |
| **16** | *~~1’x1’ Ceiling Tile~~***/Adhesive Pucks***~~- Random Peg hole~~* | **New Addition- 1st Floor- Throughout, 2nd Floor- Gym** | **ND** | **ND** |  | **Tiles** Analyzed to be ***NON-ACM*** in ***1988- Adhesive Pucks remain ASSUMED*** |
| *~~17~~* | *~~2’x4’ Ceiling Tile- Smooth~~* | *~~1~~~~st~~ ~~Floor- Nurse’s Station~~* | *~~N/A~~* | *~~N/A~~* |  | Material Analyzed to be ***NON-ACM*** in ***1988*** |
| **18** | **Plaster Wall & Ceiling- New Addition** | **Building Addition- Throughout** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M*** |
| *~~19~~* | *~~Plaster Wall & Ceiling- Old Building~~* | *~~Original Building- Throughout~~* | *~~N/A~~* | *~~N/A~~* |  | ***Material Analyzed to be NON-ACM by True North in 2015*** |
| **20** | **Spray Applied Ceiling Material** | **Basement- Library** | **ND** | **ND** |  | ***Preventive Measures… Continue O&M*** |
| **21** | **Pipe Insulation** | **Throughout** | **ND** | **ND** |  | ***Preventive Measures… Continue O&M*** |
| **22** | **Pipe Fitting Insulation** | **Throughout** | **ND** | **ND** |  | ***Preventive Measures… Continue O&M*** |

**\*\*\* Material Condition\*\*\***

**(ND)- Not Damaged (D)- Damaged (SD)- Significantly Damaged**

**The 6-month inspection *must* be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan. A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan. NOTE:** If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided. Notify the Asbestos Program Manager immediately concerning any changes.

 **SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT Page 3 of 6**

**Building Name: Montini Middle School**

**Building Address:**  **1405 N. Richmond Road McHenry, Illinois 60050**

**Name of Person Completing Report:**

**Title:** **Date:**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **HA#** | **Material Description** | **Locations of material** | **Previous**  **Condition**  **\*\*\*** | **Current**  **Condition**  **\*\*\*** | **Photo**  **#** | **Comments** |
| *~~23~~* | *~~9”x9” Floor Tile Mastic~~* | *~~Throughout~~* | *~~N/A~~* | *~~N/A~~* |  | ***HA# 23 has been Eliminated and is now Included w/Individual Associated Tiles*** |
| ~~24~~ | ~~12”x12” Floor Tile Mastic~~ | ~~Throughout~~ | *~~N/A~~* | *~~N/A~~* |  | ***HA# 24 has been Eliminated and is now Included w/Individual Associated Tiles*** |
| *~~25A~~* | *~~12”x12” Floor Tile-~~* | *~~N/A~~* | *~~N/A~~* | *~~N/A~~* |  | ***HA# 25A Descriptions have been Eliminated-*** |
| *~~25B~~* | *~~12”x12” Floor Tile Mastic~~* | *~~N/A~~* | *~~N/A~~* | *~~N/A~~* |  | ***HA# 25B Descriptions have been Eliminated*** |
| **26** | **Vibration Dampers** | **Girl’s Bathroom** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M*** |
| *~~27A~~* | *~~9”x9” Floor Tile- Off-White~~* | *~~N/A~~* | *~~N/A~~* | *~~N/A~~* |  | ***HA# 27A has been Eliminated and is now Included Elsewhere in Report*** |
| *~~27B~~* | *~~9”x9” Floor Tile Mastic~~* | *~~N/A~~* | *~~N/A~~* | *~~N/A~~* |  | ***HA# 27B has been Eliminated and is now Included w/Individual Associated Tiles*** |
| *~~28A~~* | *~~12”x12” Floor Tile-~~* | *~~N/A~~* | *~~N/A~~* | *~~N/A~~* |  | ***HA# 28A has been Eliminated and is now Included Elsewhere in Report*** |
| *~~28B~~* | *~~12”x12” Floor Tile Mastic~~* | *~~N/A~~* | *~~N/A~~* | *~~N/A~~* |  | ***HA# 28B has been Eliminated and is now Included w/Individual Associated Tiles*** |
| *~~29~~* | *~~Cold Water Pipe Insulation~~* | *~~N/A~~* | *~~N/A~~* | *~~N/A~~* |  | ***HA# 29 has been Eliminated and is now Included Elsewhere in Report*** |
| *~~30~~* | *~~Pipe Fittings on Cold Water Lines~~* | *~~N/A~~* | *~~N/A~~* | *~~N/A~~* |  | ***HA# 30 has been Eliminated and is now Included Elsewhere in Report*** |

**\*\*\* Material Condition\*\*\***

**(ND)- Not Damaged (D)- Damaged (SD)- Significantly Damaged**

**The 6-month inspection *must* be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan. A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan. NOTE:** If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided. Notify the Asbestos Program Manager immediately concerning any changes.

 **SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT Page 4 of 6**

**Building Name: Montini Middle School**

**Building Address:**  **1405 N. Richmond Road McHenry, Illinois 60050**

**Name of Person Completing Report:**

**Title:** **Date:**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **HA#** | **Material Description** | **Locations of material** | **Previous**  **Condition**  **\*\*\*** | **Current**  **Condition**  **\*\*\*** | **Photo**  **#** | **Comments** |
| **31** | **Transite Panel** | **Art Closet Door Across From Main Office, 1st Floor Janitor’s Closet** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M*** |
| *~~MFA~~* | *~~Ceramic Tie/Grout- Brown, Tan, Gray~~* | *~~Original Building- Bathrooms~~* | *~~N/A~~* | *~~N/A~~* |  | ***Tiles Analyzed to be NON-ACM by True North in July, 2018*** |
| *~~MFB~~* | *~~Terrazzo- Black & White~~* | *~~Building Addition- Boy’s & Girl’s Bath Rms & Locker Rms, NW Stair Landing~~* | *~~N/A~~* | *~~N/A~~* |  | ***Analyzed to be NON-ACM by TNC in 2018***  ***Material Identified by MEC in 2012*** |
| **MFC** | **Linoleum- Light Green** | **Building Addition- NW Stairwell** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFD** | **9”x9” Floor Tile/Mastic- Gray w/Black & White** | **Gym- Loft** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFE** | **Linoleum- Gray** | **Original Building- Stairs** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFF** | **12”x12” Floor Tile/Mastic- Gray w/Dark Gray & Beige Flecks** | **Basement- Cafeteria, Hallway, Library 1st Floor- Foyer, South & NW Stairwell** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFG** | **12”x12” Floor Tile/Mastic- Black w/White Flecks** | **Classroom 9** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFH** | **Linoleum- Tan** | **Original Building- South Stairwell** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFI** | **Ceramic Tile/Grout- Red Brick Pattern** | **Original Building- South Stairwell** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFJ** | **9”x9” Floor Tile/Mastic- Green & Tan** | **Principal’s Office (Under Carpet)** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |

**\*\*\* Material Condition\*\*\***

**(ND)- Not Damaged (D)- Damaged (SD)- Significantly Damaged**

**The 6-month inspection *must* be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan. A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan. NOTE:** If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided. Notify the Asbestos Program Manager immediately concerning any changes.

 **SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT Page 5 of 6**

**Building Name: Montini Middle School**

**Building Address:**  **1405 N. Richmond Road McHenry, Illinois 60050**

**Name of Person Completing Report:**

**Title:** **Date:**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **HA#** | **Material Description** | **Locations of material** | **Previous**  **Condition**  **\*\*\*** | **Current**  **Condition**  **\*\*\*** | **Photo**  **#** | **Comments** |
| **MFK** | **12”x12’ Floor Tile/Mastic- Beige w/Tan Flecks** | **Classrooms 2 & 3** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFL** | **9”x9” Floor Tile/Mastic- Blue & Gray Dots** | **Main Office, Art Closet Under Carpet** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MFM** | **12”x12” Floor Tile/Mastic- Blue, Gray & Tan Swirls** | **Classrooms 1 & 4** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MBA** | **4” Vinyl Wall Base/Mastic- Black** | **Original Building- Hallways** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by MEC in 2012*** |
| **MBB** | **6” Vinyl Wall Base/Mastic- Black** | **Basement** | **ND** | **ND** |  | ***A Material Identified by MEC in 2012SSUMED- Preventive Measures… Continue O&M*** |
| *~~MCA~~* | *~~2’x2’ Lay-In Ceiling Tile- Medium & Small Pinholes~~* | *~~Central Stairwell~~* | *~~N/A~~* | *~~N/A~~* |  | ***Armstrong Letter on File***  ***Material Identified by MEC in 2012*** |
| *~~MCB~~* | *~~2’x4’ Lay-In Ceiling Tile- Pinholes~~* | *~~Cafeteria~~* | *~~N/A~~* | *~~N/A~~* |  | ***Armstrong Letter on File***  ***Material Identified by MEC in 2012*** |
| *~~MMA~~* | *~~Ceramic Wall Tile- White and Black~~* | *~~1~~~~st~~ ~~Floor- Southeast Corner Bathroom~~* | *~~N/A~~* | *~~N/A~~* |  | ***Analyzed to be NON-ACM by TNC 7/18***  ***Material Identified by TNC in 2018*** |
| *~~MFN~~* | *~~Ceramic Floor Tile/Grout- Black~~* | *~~1~~~~st~~ ~~Floor- Southeast Corner Bathroom~~* | *~~N/A~~* | *~~N/A~~* |  | ***Analyzed to be NON-ACM by TNC 7/18***  ***Material Identified by TNC in 2018*** |
| *~~MFO~~* | *~~Leveling Compound- White~~* | *~~1~~~~st~~ ~~Floor- Under HA# MFA in Southeast Corner Bathroom~~* | *~~N/A~~* | *~~N/A~~* |  | ***Analyzed to be NON-ACM by TNC 7/18***  ***Material Identified by TNC in 2018*** |
| **MFP** | **12”x24” Ceramic Tile/Grout- Gray** | **1st Floor Bathrooms** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by TNC in 2018*** |

**\*\*\* Material Condition\*\*\***

**(ND)- Not Damaged (D)- Damaged (SD)- Significantly Damaged**

**The 6-month inspection *must* be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan. A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan. NOTE:** If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided. Notify the Asbestos Program Manager immediately concerning any changes.

 **SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT Page 6 of 6**

**Building Name: Montini Middle School**

**Building Address:**  **1405 N. Richmond Road McHenry, Illinois 60050**

**Name of Person Completing Report:**

**Title:** **Date:**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **HA#** | **Material Description** | **Locations of material** | **Previous**  **Condition**  **\*\*\*** | **Current**  **Condition**  **\*\*\*** | **Photo**  **#** | **Comments** |
| **MWA** | **18”x18” Ceramic Tile/Grout- Gray** | **1st Floor Bathrooms** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by TNC in 2018*** |
| **MFQ** | **2”x2”,1”x1”,1”x2” Ceramic Tile/Grout-Yellow, Brown, Green** | **1st Floor Corner Bathroom** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by TNC in 2018*** |
| **MWB** | **3”x6” Ceramic Tile/Grout- White w/Black Border** | **1st Floor Bathroom** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by TNC in 2018*** |
| **MMB** | **Adhesive on Wood Floor** | **Gymnasium** | **ND** | **ND** |  | ***ASSUMED- Preventive Measures… Continue O&M***  ***Material Identified by TNC in 2018*** |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |

**\*\*\* Material Condition\*\*\***

**(ND)- Not Damaged (D)- Damaged (SD)- Significantly Damaged**

**The 6-month inspection *must* be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan. A copy of the completed form must also be sent to the Diocesan Property Management**