SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 4

Building Name:  St. Catherine of Siena School

Building Address:  845 W. Main Street- W. Dundee, Illinois 60118

Name of Person Completing Report:

Title:									        	Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | 2’x2’ & 2’x4’ Ceiling Tile- Swirl Pattern | 2nd Floor Hallway, Reading Room, Rooms201,203,205 | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 02 | Plaster | Stairwells & Restrooms | ND | ND |  | ASSUMED-3 Samples NON-ACM in 1988- 5or7 Samples REQUIRED for more than 1000/5000Sqft |
| 03 | 2’x4’ Ceiling Tile- Grooved & Pinhole | Cafeteria, Concession Stand, Science-Computer Room | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 04 | Tectum Ceiling | Gymnasium | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 05 | 12”x12” Floor Tile/Mastic- Tan w/Grey and White Marks | 1st Floor- Hallway, Classroom 105 | ND | ND |  | Preventive Measures… Continue O&M |
| 06 | 9”x9” Floor Tile/Mastic- Tan w/Brown and White Marks | 1st Floor- Kitchen, Storage, Classrooms, 2nd Floor- Library | ND | ND |  | Preventive Measures… Continue O&M – Storage closet tile abated 7/2012 |
| 07 | 9”x9” Floor Tile/Mastic- Dark Brown | Stairwell Landings | ND | ND |  | 1 Sample <1% in 1988 by PLM - Both Tile and Mastic to remain ASSUMED until analyzed by TEM |
| 08 | 9”x9” Replacement Floor Tile/Mastic- Brown | 1st Floor- Principal’s Office, (Listed Throughout incl. Cafeteria in 1988) | ND | ND |  | Analyzed by TNC to be 2% Chrysotile 6/19 |
| 09 | Replenish Tank & Water Softener Insulation | Boiler Room | ND | ND |  | Preventive Measures… Continue O&M |
| 10 | Pipe Fitting Insulation | Throughout | ND | ND |  | Preventive Measures… Continue O&M – Music room and foyer repaired July 2012. |
| 11 | 2’x2’ Ceiling Tile- Rough | New Wing | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 4

Building Name:  St. Catherine of Siena School

Building Address:  845 W. Main Street- W. Dundee, Illinois 60118

Name of Person Completing Report:

Title:									            	Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | 12”x12” Floor Tile/Mastic- Off-White | New Wing | N/A | N/A |  | Material Abated July-2014 |
| 13 | Drywall | Basement-Throughout, 1st & 2nd Floor- Storage Rooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| 14 | 9”x9” Floor Tile Mastic | Under HA #’s 05, 06, 07, 08 | N/A | N/A |  | HA# 14 has been Eliminated and is now Included w/HA #’s 05, 06, 07, 08 |
| MBA | Vinyl Wall Base/Mastic- Brown | Basement, 1st & 2nd Floor- Throughout | N/A | N/A |  | Analyzed by TNC to be NON-ACM 6/19 Material Identified by MEC in 2012 |
| MBB | Vinyl Wall Base/Mastic- Dark Brown | 1st Floor & 2nd Floor- Library | N/A | N/A |  | Analyzed by TNC to be NON-ACM 6/19 Material Identified by MEC in 2012 |
| MBC | Vinyl Wall Base/Mastic- Beige | Classroom #105 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBD | Vinyl Wall Base/Mastic- Black | Gymnasium | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MCA | 2’x2’ & 2’x4’ Lay-In Ceiling Tile- Wavy Fissures w/Pinholes | 1st Floor- Foyer & Hallway, 2nd Floor Art Room | N/A | N/A |  | Analyzed by True North to be NON-ACM-2015 Material Identified by MEC in 2012 |
| MCB | 2’x2’ & 2’x4’ Lay-In Ceiling Tile- Small Fissures w/Pinholes | Classrooms #204 and Computer Room | N/A | N/A |  | Analyzed by True North to be NON-ACM-2015 Material Identified by MEC in 2012 |
| MFA | 12”x12” Floor Tile/Mastic- White w/Gray Flecks | Basement, 1st Floor- Classroom #101, NW Stair Landing | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFB | Linoleum- Brown | Stairways | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 4

Building Name:  St. Catherine of Siena School

Building Address:  845 W. Main Street- W. Dundee, Illinois 60118

Name of Person Completing Report:

Title:							            			   Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MFC | 12”x12” Floor Tile/Mastic- Beige w/Brown Flecks | 1st Floor- Storage & Classrooms 102,104 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFD | 1” Ceramic Tile/ Grout- Brown & Beige | 1st & 2nd Floor- Bathrooms & Boy’s and Girl’s Locker Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFE | 12”x12” Floor Tile/Mastic- Dark Gray w/Beige Flecks | 2nd Floor- Throughout | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMA | Boiler Chimney Brick | Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMB | Boiler Gasket | Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMC | Boiler Interior Insulation | Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMD | Anti-Vibration Cloth | Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MME | Blown-In Insulation | Foyer- Over Entrance Behind Ceiling Tile | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMF | Exterior Window Caulking | Exterior | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMG | Exterior Window Glazing | Exterior | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MCC | 2’x2’ Lay-in Ceiling Tiles- Pin Holes | Room 202 | N/A | N/A |  | Analyzed by True North to be NON-ACM-2015 Material Identified by True North in 2015 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 4 of 4

Building Name:  St. Catherine of Siena School

Building Address:  845 W. Main Street- W. Dundee, Illinois 60118

Name of Person Completing Report:

Title:							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MWA | 8”x15” Ceramic Wall Tile/Grout- Light Brown | Girl’s and Boy’s Locker Rooms in Basement | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFF | 12”x12” Floor Tile/Mastic- White and Gray Marks | New Wing Throughout | N/A | N/A |  | Analyzed by True North to be NON-ACM-2015 Material Identified by True North in 2015 |
| MCD | 2’x4’ Ceiling Tile- Holes | Basement-Kitchen | N/A | N/A |  | Armstrong Letter on File- Material identified by True North 2018 |
| MMH | Carpet Squares/Mastic- Tan w/Brown Lines | Bottom Landing East Central Stairwell | N/A | N/A |  | Analyzed by TNC to be NON-ACM 6/19 Material identified by True North 2019 |
| MMI | Carpet Squares/Mastic- Tan w/Brown Lines | Main Entrance to School | N/A | N/A |  | Analyzed by TNC to be NON-ACM 6/19 Material identified by True North 2019 |
| MFG | 8”x4’ Vinyl Tile- Grey Wood Pattern | Main Entrance, Front and Middle Stairway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by TNC in 2021 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.