        SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT	Page 1 of 5
Building Name: St. Edward Catholic Prep. Academy (formally St. Joseph’s)
Building Address: 274 Division Street- Elgin, Illinois 60120
Name of Person Completing Report:
Title:	Date:

HA#	Material Description	Locations of material	Previous / Condition / ***	Current / Condition / ***	Photo / #	Comments
01	1’x1’ Ceiling Tile- Rough	Throughout School Except Kitchen & Bathrooms	N/A	N/A		Material analyzed to be NON-ACM in 1988
02	Plaster	Throughout	ND	ND		ASSUMED-3 Samples NON-ACM in 1988- 5or7 Samples REQUIRED for more than 1000/5000Sqft
03	9”X9” Floor Tile/Mastic- Yellow	Classroom Grades 1,2 & 7	ND	ND		Preventive Measures… Continue O&M
04	12”x12” Floor Tile/Mastic- Greenish Gray	1st Floor- Classroom Grade 2	ND	ND		Negative in 1988 by PLM method-Both Tile and Mastic to remain ASSUMED until analyzed by TEM
05	9”x9” Floor Tile/Mastic- Brown w/White & Black Marks	1st Floor- Kindergarten 2nd Floor- Stairwells, Lounge, Library, Comp Rm	ND	ND		Preventive Measures… Continue O&M
06	12”x12” Floor Tile/Mastic- Tan / (Reassigned as Gray- SEE HA#-MFH)	Gym / (SEE HA#-MFH)	N/A	N/A		HA# 06 Descriptions have been Eliminated and are now Included w/HA# MFH
07	9”x9” Floor Tile- Green	Cafeteria, Kitchen, Halls, Basement	N/A	N/A		Material Removed/Abated in December 2002, Summer 2004 & 2011
08	9”x9” Floor Tile- Ivory	1st & 2nd Floor Hallways, 2nd Floor Bookroom	ND	ND		Preventive Measures… Continue O&M Material Removed/Abated from Hallways in December 2002
09	9”x9”Floor Tile/Mastic- Red	2nd Floor Classroom Grade 6	ND	ND		Material Reportedly Removed/Abated- Material may remain under existing Floor Tile?
10	9”x9” Floor Tile/Mastic- Tan w/Red	1st Floor- Classroom Pre-K 2nd Floor- Classroom Grade 8	ND	ND		Preventive Measures… Continue O&M
11	9”x9” Floor Tile/Mastic- Brown	Basement- Music Room, Maintenance Office	ND	ND		Preventive Measures… Continue O&M / Material Abated Music Room in February 2014

        *** Material Condition***
(ND)- Not Damaged (D)- Damaged (SD)- Significantly Damaged
The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan. A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan. NOTE: If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided. Notify the Asbestos Program Manager immediately concerning any changes.

        SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT	Page 2 of 5
Building Name: St. Edward Catholic Pre. Academy
Building Address: 274 Division Street- Elgin, Illinois 60120
Name of Person Completing Report:
Title:	Date:

HA#	Material Description	Locations of material	Previous / Condition / ***	Current / Condition / ***	Photo / #	Comments
12	Aircell Pipe Insulation	Throughout	ND	ND		Preventive Measures… Continue O&M
13	Hard Fittings on Fiberglass Lines	Throughout	ND	ND		Preventive Measures… Continue O&M
14	12”x12” Floor Tile/Mastic- Gray / (Reassigned as HA# MFH)	Gym / SEE HA# MFH)	N/A	N/A		HA# 14 Descriptions have been Eliminated and are now Included Elsewhere- SEE HA# MFH
15	9”x9” Floor Tile Mastic	Throughout	N/A	N/A		HA# 15 has been Eliminated and is now Included w/Individual Associated Tiles
16	12”x12” Floor Tile Mastic	Throughout	N/A	N/A		HA# 16 has been Eliminated and is now Included w/Individual Associated Tiles
100	Aircell Pipe Insulation	Boiler Room under Church	N/A	N/A		Material has been Removed/Abated
101	Boiler Insulation	Boiler Room under Church	N/A	N/A		Material has been Removed/Abated
102	Tank Insulation	Boiler Room under Church	N/A	N/A		Material has been Removed/Abated
MFA	12”x12” Floor Tile/Mastic- Beige w/Gray Flecks	Basement	ND	ND		ASSUMED- Preventive Measures… Continue O&M / Material Identified by MEC in 2012
MBA	Vinyl Wall Base/Mastic- Tan	Basement & 1st Floor	ND	ND		ASSUMED- Preventive Measures… Continue O&M / Material Identified by MEC in 2012
MCA	2’x2’ Lay-In Ceiling Tile- Rough	Basement	N/A	N/A		Analyzed to be NON-ACM by True North in 2015 / Material Identified by MEC in 2012

        *** Material Condition***
(ND)- Not Damaged (D)- Damaged (SD)- Significantly Damaged
The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan. A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan. NOTE: If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided. Notify the Asbestos Program Manager immediately concerning any changes.
        SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT	Page 3 of 5
Building Name: St. Edward Catholic Prep. Academy
Building Address: 274 Division Street- Elgin, Illinois 60120
Name of Person Completing Report:
Title:	Date:

HA#	Material Description	Locations of material	Previous / Condition / ***	Current / Condition / ***	Photo / #	Comments
MBB	Vinyl Wall Base/Mastic- Black	Base- Music Rm, 1st Fl-Gym, Kitchen, Storage, 2nd Fl- Class Grades 5 & 7	ND	ND		ASSUMED- Preventive Measures… Continue O&M / Material Identified by MEC in 2012
MFB	1” Ceramic Tile/Grout- Light Blue	Basement- Girl’s Bathroom, 1st Floor- Locker Room	ND	ND		ASSUMED- Preventive Measures… Continue O&M / Material Identified by MEC in 2012
MFC	1” Ceramic Tile/Grout- Gray & Beige	Basement- Boy’s Bathroom, 1st Floor- Bathroom, Foyer Storage Room	ND	ND		ASSUMED- Preventive Measures… Continue O&M / Material Identified by MEC in 2012
MFD	1”x2” Ceramic Tile/Grout- Gray & Beige	Stairwells, 1st Fl- Boys’ & Girl’s Bathrooms, 2nd Fl- Boy’s Bathroom	ND	ND		ASSUMED- Preventive Measures… Continue O&M / Material Identified by MEC in 2012
MFE	12”x12” Floor Tile/Mastic- Black w/ Beige	1st Floor- Foyer & Adjacent Stairway	ND	ND		ASSUMED- Preventive Measures… Continue O&M / Material Identified by MEC in 2012
MFF	16” Ceramic Tile/Grout- Rust	1st Floor- Storage by Foyer	ND	ND		ASSUMED- Preventive Measures… Continue O&M / Material Identified by MEC in 2012
MFG	12”x12” Floor Tile/Mastic- Beige & Black Flecks	1st & 2nd Floor Hallways	ND	ND		ASSUMED- Preventive Measures… Continue O&M / Material Identified by MEC in 2012
MFH	12”x12” Floor Tile/Mastic- Beige w/Gray Flecks	1st Floor- Gym	ND	ND		Tile Negative in 1988 by PLM-Both Tile and Mastic to remain ASSUMED- analyze Tile by TEM Method / Material Reclassified from HA#06 by MEC in 2012
MFJ	12”x12” Floor Tile/Mastic- Light Brown Mosaic	1st Floor- Kindergarten	ND	ND		ASSUMED- Preventive Measures… Continue O&M / Material Identified by MEC in 2012
MFK	12”x12” Floor Tile/Mastic- Beige w/ Black	2nd Floor- Classroom Grade 5	ND	ND		ASSUMED- Preventive Measures… Continue O&M / Material Identified by MEC in 2012
MFL	1”x2” Ceramic Tile/Grout- Green	2nd Floor- Boy’s Bathroom	ND	ND		ASSUMED- Preventive Measures… Continue O&M / Material Identified by MEC in 2012

        *** Material Condition***
(ND)- Not Damaged (D)- Damaged (SD)- Significantly Damaged
The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan. A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan. NOTE: If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided. Notify the Asbestos Program Manager immediately concerning any changes.

        SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT	Page 4 of 5
Building Name: St. Edward Catholic Prep. Academy
Building Address: 274 Division Street- Elgin, Illinois 60120
Name of Person Completing Report:
Title:	Date:

HA#	Material Description	Locations of material	Previous / Condition / ***	Current / Condition / ***	Photo / #	Comments
MFM	12”x12” Floor Tile/Mastic- Tan w/Brown Flecks	2nd Floor- Classroom Grade 7	ND	ND		ASSUMED- Preventive Measures… Continue O&M / Material Identified by MEC in 2012
MCB / MCD	2’x4’ Lay-In Ceiling Tile- Scattered Holes / 2’x4’ Lay-In Ceiling Tile- Fissures & Pin Holes	1st Floor- Kitchen / 1st Floor- Grade 3, 2nd Floor- Grade 4	N/A / N/A	N/A / N/A		Both Analyzed to be NON-ACM by True North in 2015- Material Identified by MEC in 2012
MCC	1’x1’ Ceiling Tile- Large Holes	2nd Floor- Grade 4	ND	ND		ASSUMED- Preventive Measures… Continue O&M / Material Identified by MEC in 2012
MFO	9”x9” Floor Tile/Mastic- Brown & Black	1st Floor- Grade 3, 2nd Floor- Grade 4, Stairwell	ND	ND		ASSUMED- Preventive Measures… Continue O&M / Material Identified by MEC in 2012
MMA	Interior Window Glazing	1st & 2nd Floors	ND	ND		ASSUMED- Preventive Measures… Continue O&M / Material Identified by MEC in 2012
MMB	Puck Adhesive / (Associated with HA# MCC)	2nd Floor- Grade 4	ND	ND		ASSUMED- Preventive Measures… Continue O&M / Material Identified by MEC in 2012
MFN	12”x12” Floor Tile/Mastic- Gray & Beige	2nd Floor- Grade 4	ND	ND		Material Identified by True North in 2015 / Material Identified by MEC in 2012
MWA	4”x4” Ceramic Tile/Grout- Tan w/Brown Border	2nd Floor Hallway Walls	ND	ND		ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015
MFI	12”x12” Floor Tile/Mastic- Brown w/White Marks	2nd Floor- 6th Grade Room	ND	ND		ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015
MFP	15”x15” Ceramic Tile/Grout- Tan w/Wavy Pattern	Basement Hall Outside of Computer Room	ND	ND		ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015
MFQ	12”x12” Floor Tile/Mastic- Blue & Gray	On sides of Gym & Free Throw Area, Kitchen, Hallway off of Gym	ND	ND		ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015

        *** Material Condition***
(ND)- Not Damaged (D)- Damaged (SD)- Significantly Damaged
The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan. A copy of the completed form must also be sent to the Diocesan Property Management.

        SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT	Page 5 of 5
Building Name: St. Edward Catholic Prep. Academy
Building Address: 274 Division Street- Elgin, Illinois 60120
Name of Person Completing Report:
Title:	Date:

HA#	Material Description	Locations of material	Previous / Condition / ***	Current / Condition / ***	Photo / #	Comments
MBC	Vinyl Wall Base/Mastic- Brown	1st Floor- Grade 3	ND	ND		ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015
MCF	2’x2’ Ceiling Tile-Large and Small Pinhole	Hallway at north end of office area	ND	ND	5	Analyzed- By True North on July 28th,2020 to be NON-ACM
MCE	2’x2’ Ceiling Tile-Fissure w/Pinhole	Located in Principal’s office, and main office areas in the hallway at south end of office are	ND	ND	4	Analyzed- By True North on July 28th, 2020 to be NON-ACM
MMD	Stairtread- Light Bronw w/Creme	Located at the south exterior entrance of the office area	ND	ND	6	Analyzed- By True North on July 28th , 2020 to be NON-ACM
MFG	12x12 Floor Tile/Mastic-Beige & Black Flecks	Located within the south and east office entrances	ND	ND	3	Analyzed- By True North on July 28, 2020 to be NON-ACM
MFR	12x12 Floor Tile/Mastic-Crème w/Brown Streaks	Located in main office hallway	ND	ND	7	ASSUMED- Preventive Measures... Continue O&M Material Identified by True North July 2020
MFS	9’x9’ Floor Tile/ Matic-Green	Located in the transition hallway at north end of office area. Now under wood laminate vinyl floor	ND	ND	8	ASSUMED-Preventive Measures...Continue O&M Material Identified by True North July 2020
MFT	9’x9’ Floor Tile/ Matic-Red	Located in the transition hallway at the north end of office area now under wood laminate vinyl floor	ND	ND	9	ASSUMED-Preventive Measure...Continue O&M Material Identified by True North July 2020
MFU	9’x9’ Floor Tile/ Matic-Dark Brown w/Pleach & Crème Streaks	Located in principal’s office, conference room, bookkeeper office, technology room, & Tittle I rooms under carpet/wood floor	ND	ND	1	Floor Tile- 10% Chrysotile Mastic- 2% Chrysotile
MMC	Interior Window Glazing-White	Located in Pre-K and music room exterior windows	ND	ND	2	Analyzed- By True North on July 28,2020 to be NON-ACM
MGF	12x12 Floor Tile/Mastic Beige & Black Flecks	Located within the south and east office entrances	ND	ND	3	Analyzed-By True North on July 28,2020 to be NON-ACM

        *** Material Condition***
(ND)- Not Damaged (D)- Damaged (SD)- Significantly Damaged