SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 4

Building Name:  St. Peter

Building Address:  1881 Kaneville Road- Geneva, Illinois 60134

Name of Person Completing Report:

Title:  				                       					Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | 1’x1’ Ceiling Tile- Rough | Hallway | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 02 | 2’x2’ Ceiling Tile- Rough | Classrooms, Library, Office | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 03 | 2’x4’ Ceiling Tile- Rough | Lunch Room | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 04 | Gypsum Wall Board | Classrooms | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 05 | Plaster Ceiling | Bathrooms, Faculty, Office, Library, Hallway, Classrooms, Foyers | ND | ND |  | Preventive Measures… Continue O&M |
| 06 | 9”x9” Floor Tile/Mastic- Tan | Basement- Seton Hall- Kitchen, Lunch Room/Multi-Purpose Room | N/A | N/A |  | Material does not exist under HA#MFD as previously noted. |
| 07 | 9”x9” Floor Tile- Red | Faculty, Library, Kitchen | N/A | N/A |  | Material Removed/Abated in 2002 & 2003 |
| 08 | 9”x9” Floor Tile- Grey | Classrooms | N/A | N/A |  | Material Removed/Abated in 2002 & 2003 |
| 09 | Floor Tile Mastic (Associated w/Remaining HA #06) | Basement- Seton Hall, Multi- Purpose Room | N/A | N/A |  | Material Associated w/HA# 07 & 08 Removed/Abated in 2002 & 2003 Associated HA# 06 remains- Preventive Measures… Continue O&M |
| 10A | 9”x9” Floor Tile/Mastic | Basement Classrooms | ND | ND |  | Tile Previously Removed- Mastic may Remain under existing 12”x12” Tile- |
| 10B | 9”x9” Floor Tile Mastic | Basement Classrooms | N/A | N/A |  | HA# 10B Descriptions have been Eliminated and are now Included w/10A |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 4

Building Name:  St. Peter

Building Address:  1881 Kaneville Road- Geneva, Illinois 60134

Name of Person Completing Report:

Title:  					                       				Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 11 | 4’x8’ Ceiling Panels (Above HA# MCB) | Gymnasium (Above HA# MCB) | ND | ND |  | ASSUMED- 1 sample analyzed to be NON-ACM in 2000- 3 samples are required- Continue O&M |
| MFA | 12”X12” Floor Tile/Mastic- Aqua w/White Flecks | Basement | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFB | 12”x12” Floor Tile/Mastic- Gray w/Light Gray Flecks | Basement, 1st & 2nd Floors | N/A | N/A |  | Material analyzed to be NON-ACM by True North-2018 Material Identified by MEC in 2012 |
| MFC | 2” Ceramic Tile/Grout- Gray | Basement, 1st & 2nd Floor Bathrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFD | 12”x12” Floor Tile/ Mastic- Gray w/Beige Streaks | 1st Floor- McLoughlin Hall Multi-Purpose Room | N/A | N/A |  | Material Analyzed to be Non-ACM by TNC-5/21 Material Identified by MEC in 2012 |
| MFE | 12”x12” Floor Tile/Mastic- Gray w/Black & Beige Specks | 1st Floor- Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFF | 12”x12” Floor Tile/Mastic- Multi-Colored | 1st Floor- North Classrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MDA | Drywall w/Compound & Tape | Basement | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBA | Vinyl Wall Base/Mastic- Gray | Basement, 1st & 2nd Floors | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| TJA | Pipe Fitting Insulation on Fiberglass Lines | Basement- Seton Hall, Marquette & Tekawitha Rooms, Storage Rooms | ND | ND |  | Preventive Measures… Continue O&M-Material Analyzed Positive by MEC in 2012 Material Identified by MEC in 2012 |
| MCA | 2’x4’ Lay-In Ceiling Tile- Large & Small Pinholes | Basement, 1st & 2nd Floors- Throughout | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 4

Building Name:  St. Peter

Building Address:  1881 Kaneville Road- Geneva, Illinois 60134

Name of Person Completing Report:

Title:  							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MCB | 2’x4’ Lay-In Ceiling Tile- Smooth | Basement- South Section 1st Floor- Multi-Purpose Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MCC | 2’x4’ Lay-In Ceiling Tile- Gypsum | Basement- Bathrooms 1st Floor- Bathrooms & Kitchen 2nd Floor- Bathrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFG | 12”x12” Floor Tile/Mastic- Green | Patches in Floor of the Seton Hall Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFH | Epoxy Floor Covering- Grey w/Black and White Marks | Basement- Art Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFI | Linoleum- Grey | On Stairs Throughout Building | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFJ | 12”x12” Floor Tile/Mastic- Off White w/Blue Specks | Rooms 204,205,206,207 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFK | 12”x12” Floor Tile/Mastic- Blue | 1st and 2nd Floor Hallways, In front of Main Office | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFL | 12”x12” Floor Tile/Mastic- Green | 1st and 2nd Floor Hallways, In front of Main Office | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFM | 12”x12” Floor Tile/Mastic- Red | 1st and 2nd Floor Hallways, In front of Main Office | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFN | 12”x12” Floor Tile/Mastic- Yellow | 1st Floor- Northwest Corner Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFO | 12”x12” Floor Tile/Mastic- Off-White w/Tan Flecks | 1st Floor Main Hallway | N/A | N/A |  | Material analyzed to be NON-ACM by True North-2018- Material Identified by True North in 2018 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 4 of 4

Building Name:  St. Peter

Building Address:  1881 Kaneville Road- Geneva, Illinois 60134

Name of Person Completing Report:

Title:  			                       						Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MMA | Mastic | Beneath Gymnasium Wood Flooring | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2021 |
| MMB | Vibration Dampener | Mechanical Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2021 |
| MFP | 6”x 4’ Vinyl Plank- Wood Grain Pattern | Teen Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2021 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.