SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 4

Building Name: St. Mary

Building Address:  6 West 6th Street Sterling, Illinois 61081

Name of Person Completing Report:

Title:  							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 & 25 | Linoleum- White & Red Linoleum Mastic Associated w/HA# 01 | Classrooms | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988- Building Has Been Demolished |
| 02 | Blown-In Insulation | Attic | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988- Building Has Been Demolished |
| 03 | Transite Pipe | Boiler Room & Gym Storage Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| 04 | Tank Insulation | Boiler Room | N/A | N/A |  | Material Removed/Abated |
| 05 | Air Cell Pipe Insulation | Throughout (Pre- 1988 Survey) | ND | ND |  | Preventive Measures… Continue O&M- Material Removed/Abated from Gym & North Stairwell |
| 06 | Pipe Fittings | Throughout (Pre- 1988 Survey) | ND | ND |  | Preventive Measures… Continue O&M- Material Removed/Abated from Gym & North Stairwell |
| 07 | Fiberglass Pipe Insulation | Throughout | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 08 | Soft Pipe Fitting Insulation | Throughout | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 09 | 12”x12” Floor Tile/Mastic- Light Gray w/Green Streaks | Basement- Cafeteria, Green Room, Knights of Columbus Room | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |
| 10 | 9”x9” Floor Tile/Mastic- Off-White w/Green Streaks | Basement- Kitchen | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M- Assumed to remain under HA# 24 |
| 11 | 9”x9” Floor Tile- White | N/A | N/A | N/A |  | Material removed Prior to Building being Demolished |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 4

Building Name: St. Mary

Building Address:  6 West 6th Street Sterling, Illinois 61081

Name of Person Completing Report:

Title:  						                       			Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | 9”x9” Floor Tile- Blue w/White Streaks | N/A | N/A | N/A |  | Material removed Prior to Building being Demolished |
| 13 | 9”x9” Floor Tile- Off-White w/Orange & Brown Streaks | N/A | N/A | N/A |  | Material removed Prior to Building being Demolished |
| 14 | 12”x12” Floor Tile- Brown w/White Streaks | N/A | N/A | N/A |  | Material removed Prior to Building being Demolished |
| 15 | Plaster Walls | Basement- Scattered Throughout, 1st Floor- Foyer & Gym Storage | ND | ND |  | ASSUMED-2 Samples NON-ACM in 1988- 5/7 Samples REQUIRED for more than 1000/5000Sqft |
| 16 | HA# 16 NOT USED IN ORIGINAL SURVEY | HA# 16 NOT USED IN ORIGINAL SURVEY | N/A | N/A |  | HA# 16 NOT USED IN ORIGINAL SURVEY |
| 17 | Plaster Ceiling | Basement- Hallway, Bathrooms, Storage Rooms | N/A | N/A |  | Material Analyzed by MEC to be NON-ACM in October 2012 |
| 18 | 1’x1 ½’ Acoustical wall Tile | Cafeteria | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 19 | 1’x1’ Ceiling Tile | Cafeteria & Classrooms | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 20 | Gypsum Wallboard | Classrooms | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988- Building has been Demolished |
| 21 | 2’x2’ Ceiling Tile- Pegboard | Classrooms | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988- Building has been Demolished |
| 22 | 1’x1’ Ceiling Tile- Pegboard | Classrooms | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988- Building has been Demolished |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 4

Building Name: St. Mary

Building Address:  6 West 6th Street Sterling, Illinois 61081

Name of Person Completing Report:

Title:  						               	        		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 23 | 9”x9” Floor Tile Mastic | Basement- North Storage Room Next to Girl’s Locker Room | N/A | N/A |  | HA# 23 has been Eliminated and is now Included w/Individual Associated Tiles |
| 24 | 12”x12” Floor Tile/Mastic- White w/Black Flecks | Basement- Kitchen | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| MFA | Ceramic Tile/Grout- Brown Rectangles & Squares Pattern | Basement- Hallway, 1st Floor- Stairwells, Foyer | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFB | 5”x5” Ceramic Tile/Grout- Brown | Stairwells- Stair Tread | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFC | 5”x5” Ceramic Tile/Grout- Tan | Basement- Hallway, Stairwells- Stair Risers | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MWA | Ceramic Wall Tile/Grout- Brown & Tan | Stairwells- Stair Tread | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFD | Ceramic Tile/Grout- Tan, Brown & Light Brown | Basement- Bathrooms, Shower Stalls, South Janitor’s Closet | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBA | Vinyl Wall Base/Mastic- Green | Basement- Green Room, Knights of Columbus Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBB | Vinyl Wall Base/Mastic- Black | Cafeteria | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBC | Vinyl Wall Base/Mastic- Gray | Kitchen | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMA | Adhesive Pucks Associated w/HA# 19 | Cafeteria, Green Room, Knights of Columbus Room | N/A | N/A |  | Material Analyzed by MEC to be NON-ACM in October 2012- Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th  of each year.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 4 of 4

Building Name: St. Mary

Building Address:  6 West 6th Street Sterling, Illinois 61081

Name of Person Completing Report:

Title:  								                     	Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MMB | Mastic on Wood Floor | Gym | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.