SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 4

Building Name: St. John the Baptist

Building Address:  2304 W. Church Street Johnsburg , Illinois 60051

Name of Person Completing Report:

Title:										Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | 2’x4’ Lay-In Ceiling Tile- Grooved & Pinhole | School Building- Main Office, Classrooms, EEC Hallway | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 02 | 9”x9” Floor Tile/Mastic- Brown & Green | School Building- Hallway, Classrooms, Lounge, Janitor’s Closet, AV Room | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED- Covered by 12”x12” Tile or Carpeting |
| 03 MMA | 1’x1’ Ceiling Tile- Peg Hole SEE MMA- Adhesive Pucks | School Building- Throughout | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988- Adhesive Pucks (MMA) are NON-ACM by TNC/2018 |
| 04 | Air Cell Pipe Insulation | School Building- Throughout | ND | ND |  | Preventive Measures… Continue O&M |
| 05 | 9”x9” Floor Tile/Mastic- Gray | EEC Building- Basement- 1st Floor- Throughout | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Tile previously Removed/Abated- Mastic Remains |
| 06 | Linoleum- Gray | EEC Building- Stairwells | N/A | N/A |  | Material Removed/Abated |
| 07 | Pipe Fitting Insulation | EEC Building- Throughout | ND | ND |  | Preventive Measures… Continue O&M- Piping Exposed in Basement, Assumed to be Elsewhere |
| 08 | Gypsum Wall & Ceiling Board | EEC Building- Throughout | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 09 | 12”x12” Floor Tile/Mastic- Off-White | EEC Building- 1st Floor- North End | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M- Tile previously Removed/Abated- Mastic Remains |
| 10 | Linoleum- Brown | EEC Building- Present Day Library (Former Kindergarten Room) | N/A | N/A |  | Material Removed/Abated |
| 11 | Ceiling Covering | School Building- Boiler Room | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 4

Building Name: St. John the Baptist

Building Address:  2304 W. Church Street Johnsburg , Illinois 60051

Name of Person Completing Report:

Title:  					                       	              			Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | 9”x9” Floor Tile Mastic | School- Throughout Building | N/A | N/A |  | HA# 12 has been Eliminated and is now Included w/Individual Associated Tiles |
| 13 | Drywall | School- Office | N/A | N/A |  | Per MEC 10-01-2012- Material is Determined to be NON-SUSPECT- Exemption Letter from Architect |
| 14 | 9”x9” Floor Tile Mastic | EEC- Throughout Building | N/A | N/A |  | HA# 14 has been Eliminated and is now Included w/Individual Associated Tiles |
| 15 | Linoleum Mastic | EEC Building | N/A | N/A |  | HA# 15 has been Eliminated and is now Included w/Individual Associated Linoleum |
| 16A | 12”x12” Floor Tile/Mastic- Beige Patterned | EEC Building- 1st Floor | ND | ND |  | Floor Tile Material Removed/Abated- Mastic Remains ASSUMED |
| 16B | 12”x12” Floor Tile Mastic (Associated w/HA# 16A) | EEC Building- 1st Floor | N/A | N/A |  | HA# 16B has been Eliminated and is now Included w/HA# 16A |
| 17 | 12”x12” Floor Tile Mastic | EEC Building- 1st Floor | N/A | N/A |  | HA# 17 has been Eliminated and is now Included w/Individual Associated Tiles |
| MMA | Puck Adhesive (Associated w/HA# 03) | School- Throughout | N/A | N/A |  | Material Analyzed to be NON-ACM by TNC in 2018 Material Identified by MEC in 2012 |
| MFG | 12”x12” Floor Tile/Mastic- Gray & Beige Flecks | School- Hallway, Computer Room, Rooms 1,2,3,4,5,6,7,8 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBC | Vinyl Wall Base/Mastic- Gray | School- Throughout | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFA | 12”x12” Floor Tile/Mastic- Aqua w/Dark Aqua Flecks | EEC- Basement-Throughout, 1st Floor- Computer Room, Kitchen | N/A | N/A |  | Material Analyzed to be NON-ACM by TNC in 2018 Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 4

Building Name: St. John the Baptist

Building Address:  2304 W. Church Street Johnsburg , Illinois 60051

Name of Person Completing Report:

Title:  						                            			Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MFB | Linoleum/Mastic- Brown | EEC- East Stairway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFC | 12”x12” Floor Tile/Mastic- Gray w/Dark Gray & Beige Flecks | EEC- Basement- Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFD | 14”x14” Ceramic Tile/Grout- Tan | EEC- 1st Floor- Janitor’s Closet | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFE | Ceramic Tile/Grout- Gray & Black Specks | EEC- 1st Floor Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFF | 12”x12” Floor Tile/Mastic- Beige w/Gray Flecks | EEC- 2nd Floor- Bathrooms & Closet MASTIC- Throughout | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBA | Vinyl Wall Base/Mastic- Gray | EEC- Basement & 1st Floor | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBB | Vinyl Wall Base/Mastic- Brown | EEC- East Stairway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMB | Vibration Damper | EEC- Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFH | 12”x12” Ceramic Tile/Grout- Gray | Office Lobby, Kitchen | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MBD | 6” Ceramic Wall Base- Gray | Office Lobby, Kitchen | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MCA | 2’x4’ Ceiling Tile- Rough w/Pin Holes | Gym- Multi Purpose Room | N/A | N/A |  | Material Analyzed to be NON-ACM by True North in 2015- Material Identified by True North in 2015 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 4 of 4

Building Name: St. John the Baptist

Building Address:  2304 W. Church Street Johnsburg , Illinois 60051

Name of Person Completing Report:

Title:							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MMC | Drywall | ‘93 Addition- Main Office | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by TNC in 2018 |
| MBE | 4” Vinyl Wall Base/Mastic- Grey | ’93 Addition- Main Office | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by TNC in 2018 |
| MCB | 2’x4’ Ceiling Tile- Deep Fissures w/Pin Holes | ’93 Addition- Main Office | N/A | N/A |  | Material Analyzed to be NON-ACM by TNC in 2018 Material Identified by TNC in 2018 |
| MCC | 2’x2’ Ceiling Tiles- Deep Fissures w/Pin Holes | ’93 Addition- Entrance and Hallway | N/A | N/A |  | Material Analyzed to be NON-ACM by TNC in 2018 Material Identified by TNC in 2018 |
| MMD | Plaster | ’93 Addition- Kitchen | N/A | N/A |  | Material Analyzed to be NON-ACM by TNC in 2018 Material Identified by TNC in 2018 |
| MFI | 12”x12” Floor Tile/Mastic- Off White w/Grey Flecks | EEC- 3rd Floor Men’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by TNC in 2018 |
| MFJ | 2”x2” Ceramic Tile/Grout- Tan | ’93 Addition- Boy’s and Girl’s Gym Bathrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by TNC in 2018 |
| MCD | 2’x4’ Ceiling Tile- Gypsum | Men and Woman Bathrooms off Gym | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by TNC in 2018 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.