SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 4

Building Name:  St. Rita

Building Address:  6284 Valley Drive - Rockford, Illinois 61109

Name of Person Completing Report:

Title:   				                       					Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 12”x12” Floor Tile/Mastic- Beige w/Brown Streaks | 1st Floor Hallway | ND | ND |  | Tile Negative in 1988 by PLM-Both Tile and Mastic to remain ASSUMED- analyze Tile by TEM Method |
| 2 | 12”x12” Floor Tile/Mastic- Green w/Black and White Specks | Cafeteria | ND | ND |  | Tile Negative in 1988 by PLM-Both Tile and Mastic to remain ASSUMED- analyze Tile by TEM Method |
| 3 | 2’x2’ Ceiling Tile- Various Holes | Various Locations Throughout | N/A | N/A |  | Material Removed/Abated in June 2006 |
| 4 | 2’x4’ Ceiling Tile- Various Holes | Various Locations Throughout | N/A | N/A |  | Material Removed/Abated in July 2005 |
| 5 | 2’x4’ Ceiling Tile- Rough Texture | Various Locations Throughout | N/A | N/A |  | Material Removed/Abated in July 2005, June 2006 |
| 6 | N/A | N/A | N/A | N/A |  | HA# 6 NOT USED IN ORIGINAL REPORT |
| 7 | Plaster Ceiling | Various Locations Throughout | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 8 | Fiberglass Pipe Insulation | Various Locations Throughout | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 9 | Pipe Fitting Insulation | Throughout | ND | ND |  | Preventive Measures… Continue O&M |
| 10 | Duct Insulation | Boiler Room | N/A | N/A |  | Abated in Summer 2012 |
| 11 | Fiberboard | Gymnasium Ceiling | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 4

Building Name:  St. Rita

Building Address:  6284 Valley Drive   Rockford, Illinois 61109

Name of Person Completing Report:

Title:   				                       					Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | Drywall | Basement- Cafeteria | N/A | N/A |  | Material Removed/Abated in July 2005 |
| 13 | Flexible Duct Connectors | Gymnasium | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| SFA | Spray-On Fireproofing | Kitchen | N/A | N/A |  | Analyzed by True North to be NON-ACM in 2015 Material Identified by MEC in 2012 |
| TPA | Tape Pipe Wrap | Cafeteria | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MCA | 2’x2’ Lay-In Ceiling Tile- Pinholes | Ground Floor & Upper Floor Throughout | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MCB | 2’x4’ Lay-In Ceiling tile- Gypsum | Kitchen | N/A | N/A |  | Letter on File stating Material NON-ACM Material Identified by MEC in 2012 |
| MFA | HA MFA- NOT USED | HA MFA- NOT USED | N/A | N/A |  | HA MFA- NOT USED |
| MFB | 5”x5” Ceramic Tile/Grout- Brown | Kitchen | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFC | Terrazzo- White & Green | Ground Floor & Upper Floor- Hallways | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFD | 12”x12” Floor Tile/Mastic- Light Blue & White Flecks | Ground Floor- Janitor’s Closet, Classrooms, Upper Floor- Faculty Lounge, Office & 102-106,201-204,209-213 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFE | Ceramic Tile/Grout- Tan, Brown & Beige | Ground Floor- Boy’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 4

Building Name:  St. Rita

Building Address:  6284 Valley Drive - Rockford, Illinois 61109

Name of Person Completing Report:

Title:  				                       					Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MFF | 1”X1” Ceramic Tile/Grout- White & Pink | Ground Floor- Girl’s Bathroom, Upper Floor- Faculty Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFG | 1”x1” Ceramic Tile/Grout- White & Light Pink | Ground Floor- Boy’s Locker Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFH | Linoleum- Brown w/White Specks | Stairs | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFI | 1”x2” Ceramic Tile/Grout- Green & White Rectangles w/2” Light Green Squares | Upper Floor- Faculty Bathroom | N/A | N/A |  | Material Abated Material Identified by MEC in 2012 |
| MBA | Vinyl Wall Base/Mastic- Gray | Throughout | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBB | Vinyl Wall Base/Mastic- Brown | Gymnasium | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBC | Vinyl Wall Base/Mastic- Black | Ground Floor- Girl’s Locker Room, Upper Floor- Copy Room | ND | ND |  | HA MFA- NOT USED |
| MBD | Vinyl Wall Base- Beige | Upper Floor- Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMA | Fire Doors | Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMB | HA MMB- NOT USED | HA MMB- NOT USED | N/A | N/A |  | HA MMB- NOT USED |
| MMC | Black Asphaltic Roof Deck Layer | Upper Floor- Throughout | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 4 of 4

Building Name:  St. Rita

Building Address:  6284 Valley Drive - Rockford, Illinois 61109

Name of Person Completing Report:

Title:   				                       					Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MMD | 4” Thick White Roof Decking Insulation | Upper Floor- Throughout | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MME | Mastic | Wood Floor in Gymnasium | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MMF | Carpet Mastic | Upper Floor- Library, Offices, Conference Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFJ | 12”x12” Floor Tile/Mastic-Light Blue w/Dark Blue Specs | Ground Floor- Girl’s and Boy’s Locker Rooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MWA | 4”x4” Ceramic Tile/Grout- Tan | Ground Floor- Hallway Walls, Boy’s Bathroom Upper Floor- Hallway Walls, Stairwells | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MWB | 4”x4” Ceramic Tile/Grout- Pink | Ground Floor- Girl’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MWC | 10”x6” Ceramic Tile/Grout- Tan | Main Floor- Boy’s, Girl’s, Faculty Bathrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFK | 12”x12” Ceramic Tile/Grout- Tan | Main Floor- Boy’s, Girl’s, Faculty Bathrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.