SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 4

Building Name: St. Mary School

Building Address:  222 Waterman Street Sycamore, Illinois 60178

Name of Person Completing Report:

Title:  							                       		Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 02 | 2’x2’ Ceiling Tile- Smooth 2’x4’ Ceiling Tile- Rough | 1st & 2nd Floor- Classrooms 2nd Floor Classrooms | N/A N/A | N/A N/A |  | Material Analyzed to be NON-ACM in 1988 Material Analyzed to be NON-ACM in 1988 |
| 03A | Plaster Ceilings & Walls | Original Building- Throughout | ND | ND |  | ASSUMED-1 Sample NON-ACM in 1988- 5/7 Samples REQUIRED for more than 1000/5000Sqft |
| 03B | Plaster Ceilings | Addition- Bathrooms, Hallways, Closets, 2nd Floor Classrooms | ND | ND |  | ASSUMED-2 Samples NON-ACM in 1988- 5/7 Samples REQUIRED for more than 1000/5000Sqft |
| 04 | 9”x9” Floor Tile/Mastic- Grey w/White & Black Streaks | Classroom 102 | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |
| 05 | 9”x9” Floor Tile/Mastic- Tan | Office Area, 1st Floor Hall, 2nd Floor Hall, Stairs, Copy Room & Adjacent Storage Rooms | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED- Abated from Office Area-2013 & Hallways-2014 |
| 06 | 9”x9” Floor Tile/Mastic- Light Green w/White & Black Streaks | 104,202 | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED- Alternating Tiles in Rooms w/HA# 07 |
| 07 | 9”x9” Floor Tile/Mastic- Dark Green w/White Streaks | 104,202 | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED- Alternating Tiles in Rooms w/HA# 06 |
| 08 | 9”x9” Floor Tile/Mastic- Grey w/White Streaks | 204 | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED- Alternating Tiles in Room w/HA# 09 |
| 09 | 9”x9” Floor Tile/Mastic- Tan/Gray w/White Streaks | 102,204 | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED- Alternating w/HA# 04 & HA# 08 |
| 10 | 9”x9” Floor Tile/Mastic- Off-White | Kitchen, Cafeteria- SW Office & NW Entrance | ND | ND |  | 1 sample Neg. in 1988 by PLM-Both Tile and Mastic to remain ASSUMED- analyze Tile by TEM Method |
| 11 | 12”x12” Floor Tile/Mastic- Speckled | Cafeteria | ND | ND |  | Preventive Measures… Continue O&M- Mastic also tested Positive by TNC in 2018 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 4

Building Name: St. Mary School

Building Address:  222 Waterman Street Sycamore, Illinois 60178

Name of Person Completing Report:

Title:   									               Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | Boiler Insulation | Boiler Room | N/A | N/A |  | Material Removed/Abated in Summer 2011 |
| 13 | Tank Insulation | Boiler Room | N/A | N/A |  | Material Removed/Abated in Summer 2011 |
| 14 | Air Cell Pipe Insulation | Boiler Room & Throughout School | ND | ND |  | Preventive Measures… Continue O&M Partially Abated from Boiler Room in Summer 2011 |
| 15 | Boiler Flue | Boiler Room | N/A | N/A |  | Material Removed/Abated in Summer 2011 |
| 16 | Hard Fittings on Fiberglass Insulation | Boiler Room & Throughout School | ND | ND |  | Preventive Measures… Continue O&M Partially Abated from Boiler Room in Summer 2011 |
| 17 | 9”x9” Floor Tile Mastic | N/A | N/A | N/A |  | HA# 17 has been Eliminated and is now Included w/Individual Associated Tiles |
| 18 | 12”x12” Floor Tile Mastic | N/A | N/A | N/A |  | HA# 18 has been Eliminated and is now Included w/Individual Associated Tiles |
| 19 | 2’x2’ Ceiling Tile- Dense Fissures w/Pinholes | 1st Floor- Hallway, Copy Room & Cafeteria Bathrooms | N/A | N/A |  | Material Analyzed by MEC to be NON-ACM in October 2012 |
| 20A | Linoleum | Kitchen Storage Closet | N/A | N/A |  | Material Abated Summer 2014 |
| 20B | Linoleum Mastic (Associated w/HA# 20A) | Kitchen Storage Closet | N/A | N/A |  | Material Abated Summer 2014 |
| 21 | Red Linoleum/Mastic | 2nd Floor- 4th & 5th Grade Classrooms-Coat Closets | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 4

Building Name: St. Mary School

Building Address:  222 Waterman Street Sycamore, Illinois 60178

Name of Person Completing Report:

Title:   									                Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 22 | Linoleum Mastic | 2nd Floor- 4th & 5th Grade Classrooms-Coat Closets | N/A | N/A |  | HA# 22 has been Eliminated and is now Included w/Associated Linoleum HA# 21 |
| 23 | 12”x12” Floor Tile- White | N/A | N/A | N/A |  | HA# 23 Description has been Eliminated and is now Included Elsewhere |
| 24 | 12”x12” Floor Tile Mastic | N/A | N/A | N/A |  | HA# 24 has been Eliminated and is now Included w/Individual Associated Tiles |
| MFA | 9”X9” Floor Tile/Mastic- Brown w/Dark Brown & Beige Streaks | Entrance Foyer | N/A | N/A |  | Material Abated Summer 2013 Identified by MEC in 2012 |
| MFB | Linoleum- Wood Grain Pattern | Faculty Lounge | N/A | N/A |  | Material Abated Summer 2013 Identified by MEC in 2012 |
| MFC | 1”x1” Ceramic Tile/Grout- Beige & Tan | Faculty Lounge Bathroom | N/A | N/A |  | Material Abated Summer 2013 Identified by MEC in 2012 |
| MFD | 1”x1” Ceramic Tile/Grout- Light Blue | 1st Floor- Boy’s Bathroom | N/A | N/A |  | Material Abated Summer 2014 Identified by MEC in 2012 |
| MFE | 1”x1” Ceramic Tile/Grout- White & Green | Copy Room- Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Identified by MEC in 2012 |
| MFF | 1”x1” Ceramic Tile/Grout- Light & Dark Orange | 1st Floor- Girl’s Bathroom | N/A | N/A |  | Material Abated Summer 2014 Identified by MEC in 2012 |
| MFG | Terrazzo- Black, Brown & White Stone Pattern | Original Building- Stairwells | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Identified by MEC in 2012 |
| MFH | 12”x12” Floor Tile/Mastic- Beige w/Gray Streaks | Cafeteria- Boy’s & Girl’s Bathrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M] Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 4 of 4

Building Name: St. Mary School

Building Address:  222 Waterman Street Sycamore, Illinois 60178

Name of Person Completing Report:

Title:   									             	Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MBA | Vinyl Wall Base/Mastic- Brown | 2nd Floor- Addition-Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Identified by MEC in 2012 |
| MBB | Vinyl Wall Base/Mastic- Tan | Cafeteria | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Identified by MEC in 2012 |
| MBC | Vinyl Wall Base/Mastic- Gray | Cafeteria- Boy’s & Girl’s Bathrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Identified by MEC in 2012 |
| MCA | 2’x2’ Lay-In Ceiling Tile- Dense Fissures w/Pinholes | Copy Room & Adjacent Hallway-South End | N/A | N/A |  | Material Analyzed by MEC to be NON-ACM in October 2012- Identified by MEC in 2012 |
| MMA | Interior Window Glazing | Building Addition- 1st & 2nd Floor Windows | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Identified by MEC in 2012 |
| MMB | HVAC Anti-Vibration Cloth | 1st Floor- Janitor’s Closet | N/A | N/A |  | Material removed during Bathroom Remodel/2014 Identified by MEC in 2012 |
| MMC | Exterior Window Caulking | Original Building- 1st & 2nd Floor Windows | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Identified by MEC in 2012 |
| MMD | Exterior Window Glazing | Original Building- 1st Floor Windows | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Identified by MEC in 2012 |
| MFI | 12”x12” Floor Tile/Mastic- Off White w/Blue & Gray Marks | 60’s Building- Hallway outside of rooms 102 & 104 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Identified by TNC in 2018 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.