SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 3

Building Name:  Pope Saint John Paul II Catholic Academy – North Campus (formerly St. Joseph)

Building Address:  706 High Street- Aurora, Illinois 60505

Name of Person Completing Report:

Title:					                       				   Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | 2’x4’ Ceiling Tile- Pinhole | Throughout Building Except Bathrooms | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 03 | 9”x9” Floor Tile/Mastic- Tan w/Brown & White Speck | Throughout Building, Conference Room, Conference Room Office | ND | ND |  | Preventive Measures… Continue O&M Tile is Positive- Mastic is Assumed |
| 04 | Pipe Fitting Insulation | Throughout Building | ND | ND |  | Preventive Measures… Continue O&M |
| 05 | 1’x2’ Ceiling Tile- Irregular Hole | 2nd Floor Hallway | N/A | N/A |  | Material analyzed to be NON-ACM in 1988 |
| 06 | Boiler Insulation | Original Boiler Room | N/A | N/A |  | Material was Removed/Abated From Boiler Room in 1993/1994 |
| 07 ** | Pipe Insulation ** | Original Boiler Room, Could not be Located in other Locations | ND | ND |  | Material was Removed/Abated from Boiler Room in 1993/1994. **May still be present in Concealed Locations |
| 08 | Floor Tile Mastic- Associated w/HA #03 | Throughout Building | N/A | N/A |  | HA# 08 Description has been Eliminated and is now Included w/HA# 03 |
| 09 | Drywall | Original Boiler Room | N/A | N/A |  | Material was Removed/Abated From Boiler Room in 1993/1994 |
| 10 | Ceiling Insulation | Original Boiler Room | N/A | N/A |  | Material was Removed/Abated From Boiler Room in 1993/1994 |
| MFA | 12”x 12” Floor Tile/Mastic- Beige w/Cream & Gray | Throughout 2nd Floor and 1st Floor Electrical Closet | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |  |
| MFB | Terrazzo- Tan & Beige Stone Pattern | Hallways and Stairs | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 3

Building Name:  Pope Saint John Paul II Catholic Academy – North Campus (formerly St. Joseph)

Building Address:  706 High Street- Aurora, Illinois 60505

Name of Person Completing Report:

Title:			                       						   Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MFC | Terrazzo- Brown, Black & Tan Stone Pattern | 1st Floor Girl’s Bathroom & 2nd Floor Boy’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MDA | Drywall w/Compound & Tape | 1st Floor Faculty Room & Adjacent Office | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MBA | 6” Vinyl Wall Base/Mastic- Black | Throughout | NA | NA |  | ANALYZED NON ACM by True North 7/2015 |
| MBB | 4” Vinyl Wall Base/Mastic- Brown | Throughout | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MBC | 4” Vinyl Wall Base/Mastic- Beige | Offices | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MBD | 4” Vinyl Wall Base/Mastic- Tan | Library, First Floor Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFD | 1” Ceramic Tile/Grout- Multi-Colored | 1st & 2nd Floor Boy’s Bathrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MMA | Fire Doors | 1st & 2nd Floor- Janitor’s Closets | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MMB | Exterior Window Caulking | Exterior Windows | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2011 |
| MFE | 8” Ceramic Tile/Grout- Multi Colored | 1st & 2nd Floor Restrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2014 |  |
| MFF _____ MFG | 9”x9” Floor Tile/Mastic- Cream Colored ______________________________________ 9”x9” Floor Tile/Mastic- Brown Marble | Supply Room & Principal’s Office _______________________________ Supply Room Restroom & Principal’s Office Restroom | ND _____ ND | ND ______ ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2014_____________________________________ ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2014 |

*** Material Condition***                                       (ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damage

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 3

Building Name:  Pope Saint John Paul II Catholic Academy – North Campus (formerly St. Joseph)

Building Address:  706 High Street- Aurora, Illinois 60505

Name of Person Completing Report:

Title:			                       						   Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MMC | Window Glazing- Interior | Classroom Windows | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Identified by True North in 2017 |
| MBE | 4” Ceramic Wall Base/Mastic- Cream | Throughout 1sty and 2nd Floors | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Identified by True North in 2017 |
| MBF | 6” Vinyl Wall Base/Mastic- Light Brown | Throughout 1st Floor Hallway | NA | NA |  | ASSUMED- Preventive Measures… Continue O&M Identified by True North in 2017 (HA was previously identified as MBD, therefore will be removed from Management Plan) |

*** Material Condition***                                       (ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damage

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.