SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 5

Building Name:  Aquin Central Jr/Sr High School

Building Address:  1419 S. Galena Avenue - Freeport, Illinois 61032

Name of Person Completing Report:

Title:					       					                  Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | 2’x4’ Ceiling Tile- Rough Large Cut | Hallway- New Building, Classrooms 208, 201, Kitchen Area | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 02 | 1’x1’ Ceiling Tile- Rough Large Cut | Cafeteria, Library, Band room, 6 Classrooms | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 03 | Pressboard on Ceiling | Stage Ceiling in Original Building | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 04 | Plaster-Wall and Ceiling | Throughout Original Building | N/A | N/A |  | 7 Samples Analyzed to be NON-ACM in 1988 |
| 05 | Ceiling Plaster | Addition –High School- Bathrooms, Locker Rooms | ND | ND |  | ASSUMED- Only 4 Samples analyzed NON-ACM in 1988- 5 Samples Required for more than 1000Sqft |
| 06 | Fiberboard | Addition- Main Corridor | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 07 | Linoleum/Mastic | Classrooms 203, 206, Faculty Restrooms | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 08 | 3’x9’ Fiberboard | Gymnasium | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 09 | 9”x9” Floor Tile/Mastic- Grey w/Black and White Streaks | Jr. High- 1st Floor Lounge Area, Bathroom, (Faculty Room) | ND | ND |  | Preventive Measures… Continue O&M- Mastic Assumed |
| 10 | 9”x9” Floor Tile/Mastic- Brown and Tan | Jr. High- 1st Floor Conference Room (Superintendent’s Office) | ND | ND |  | Preventive Measures… Continue O&M- Under Carpeting- Mastic Assumed |
| 11 | 9”x9” Floor Tile/Mastic- Tan and Green Alternating | Jr. High- 1st Floor Offices under Carpet and Tile | ND | ND |  | Preventive Measures… Continue O&M- Mastic Assumed Covered with Wood Flooring 8/2021 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 5

Building Name:  Aquin Central Jr/Sr High School

Building Address:  1419 S. Galena Avenue Freeport, Illinois 60140

Name of Person Completing Report:

Title:				                       					   Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | 9”x9” Floor Tile/Mastic- White & Dark Flecks | Jr. High- 1st Floor- Room 101 2nd Floor- Room 205 Under Carpet | ND | ND |  | 1 sample Negative in 1988 by PLM- Tile and Mastic to remain ASSUMED- analyze Tile by TEM Method Covered with Wood Flooring 8/2021 |
| 13 | 9”x9” Floor Tile/Mastic- White & Dark Splotches | High School- Science Classrooms, Room D (Hallway, Biology), Kitchen, Gym Storage Rooms | ND | ND |  | 1 sample in 1988- 3 required To remain ASSUMED until analyzed by TEM-Under 12”x12” in Science Rooms- Mastic only under Carpet in Room D |
| 14 | 9”x9” Floor Tile/Mastic- Grey | High School- Rooms A, B, C, Gym & Kitchen Storage Areas | ND | ND |  | Preventive Measures… Continue O&M- Mastic Assumed- Remains under 12”x12” in Classrooms? |
| 15 | 9”x9” Floor Tile/Mastic- Brownish Grey w/White Streaks | H. S.- Ticket Booth, Music Room, Coach’s Office area, Kitchen Storage | ND | ND |  | Preventive Measures… Continue O&M- Mastic Assumed - Covered with Wood Flooring 8/2021 |
| 16 | Boiler Stack Insulation | Boiler Room | ND | ND |  | Preventive Measures… Continue O&M |
| 17 | HA# 17 Was Not Used In Original Inspection | HA# 17 Was Not Used | N/A | N/A |  | HA# 17 Was Not Used In Original Inspection |
| 18A | Pipe Fittings | High School- Boiler Room, 1st Floor- Pipe Chases, Pipe Tunnels | ND/D | ND |  | Preventive Measures… Continue O&M- Damaged in Tunnels-RESTRICTED ACCESS |
| 18B | Pipe Fittings in Tunnels | Included in HA# 18A | N/A | N/A |  | HA# 18B has been Eliminated and is now Included w/HA# 18A |
| 19 | Air Cell Pipe Insulation | Jr. High- Basement, Pipe Tunnels, Throughout, 1st Floor- Throughout | ND/D | ND/D |  | Preventive Measures… Continue O&M- Damaged in Tunnels-RESTRICTED ACCESS |
| 20A | Magnesia Pipe Insulation | High School- Basement, Pipe Tunnels, Throughout, 1st Floor- Pipe Chases | ND/D | ND/D |  | Preventive Measures… Continue O&M- Damaged in Tunnels-RESTRICTED ACCESS |
| 20B | Magnesia Pipe Insulation | Boiler Room | ND | ND |  | Preventive Measures… Continue O&M |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 5

Building Name:  Aquin Central Jr/Sr High School

Building Address:  1419 S. Galena Avenue Freeport, Illinois 60140

Name of Person Completing Report:

Title:					                       				   Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 21 | 9”x9” Floor Tile Mastic- Associated w/HA#’s 9, 10, 11, 12, 13, 14, 15 | Throughout | N/A | N/A |  | HA# 21 has been Eliminated and is now Included w/Individual Associated Tiles |
| 22 | Linoleum Mastic- Associated w/HA# 7 | Classrooms 203, 206, Faculty Restrooms | N/A | N/A |  | HA# 22has been Eliminated and is now Included w/HA# 07 |
| 23 | 12”x12” Floor Tile Mastic | Room 101, 103 | N/A | N/A |  | HA# 23 has been Eliminated and is now Included w/Individual Associated Tiles |
| 24 | 12”x12” Ceiling Tile | Janitor’s Closet | N/A | N/A |  | Analyzed by True North to NON-ACM in 2015 |
| MBA | 6” Slate Wall Base/Mastic- Brown | Jr. High- 1st & 2nd Floor- Offices, Classrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by MEC in 2012 |
| MBB | 6” Slate Wall Base/Mastic- Black | Jr. High- Basement Art & Maintenance Office Area | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by MEC in 2012 |
| MCA | 2’x4’ Lay-In Ceiling Tile- Shallow Bird’s Feet Pattern | Jr. High- 1st & 2nd Floor Classrooms & Offices | N/A | N/A |  | Analyzed by True North to NON-ACM in 2015 Material identified by MEC in 2012 |
| MCB | 2’x4’ Lay-In Ceiling Tile- Deep Bird’s Feet Pattern | Jr. High- 2nd Floor Hallway | N/A | N/A |  | Analyzed by True North to NON-ACM in 2015 Material identified by MEC in 2012 |
| MCC | 2’x4’ Lay-In Ceiling Tile- Fissures & Pinholes | Jr. High- 1st & 2nd Floor Lounge, Office, Classrooms | N/A | N/A |  | Analyzed by True North to NON-ACM in 2015 Material identified by MEC in 2012 |
| MCD | 2’x4’ Lay-In Ceiling Tile- Wavy Fissures & Large Pinholes | Jr. High- 1st Floor Hallway | N/A | N/A |  | Analyzed by True North to NON-ACM in 2015 Material identified by MEC in 2012 |
| MCE | 2’x4’ Lay-In Ceiling Tile- Wide Fissures w/Pinholes | Jr. High- 1st Floor Bathrooms | N/A | N/A |  | Analyzed by True North to NON-ACM in 2015 Material identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 4 of 5

Building Name: Aquin Central Jr-Sr High School

Building Address:  1419 S. Galena Avenue Freeport, Illinois 61032

Name of Person Completing Report:

Title:					                       				   Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MDA | Drywall w/Compound & Tape | Jr. High- Auditorium Stage | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by MEC in 2012 |
| MFA | Terrazzo- Black, White & Tan Stone Pattern | Jr. High- 1st & 2nd Floor Throughout | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by MEC in 2012 |
| MFB | 12”x12” Floor Tile/Mastic- Lt. Blue & White Flecks | Jr. High- 1st Floor- Classrooms, Office, Faculty Rm, High School- Classrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by MEC in 2012 |
| MFC | Black & White Speckled Flooring | Jr. High- 1st Floor Bathrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by MEC in 2012 |
| MFD | Linoleum- Beige Square Pattern | Jr. High- 1st Floor- Faculty Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by MEC in 2012 |
| MFE | HA# MFE Not Used | HA# MFE Not Used | N/A | N/A |  | HA# MFE Not Used |
| MFF | 1”x1” Ceramic Tile/Grout- Multi Colored | High School- Hallways, Bathrooms, Lobby | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by MEC in 2012 |
| MFG | 1”x1” Ceramic Tile/Grout- White, Brown & Gray | High School- Gym Locker Rooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by MEC in 2012 |
| MFH | 1”x1” Ceramic Tile/Grout- Brown | High School- Boy’s Locker Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by MEC in 2012 |
| MFI | Terrazzo- Beige, Brown & Gray Stone Pattern | High School- Cafeteria | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by MEC in 2012 |
| MFJ | 5”x5” Ceramic Tile/Grout- Brown | High School- Kitchen Area | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 5 of 5

Building Name: Aquin Central Jr-Sr High School

Building Address:  1419 S. Galena Avenue Freeport, Illinois 61032

Name of Person Completing Report:

Title:					                       				   Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MMA | Black Tar Wallboard | High School- North- South Hallway-West Side | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by MEC in 2012 |
| MMB | Carpet Mastic | Jr. High- 1st Floor- Offices, Chapel, High School- Library, Music, Offices, Classroom D | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by MEC in 2012 |
| MMC | Boiler Gasket | High School- Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by MEC in 2012 |
| MMD | Interior Window Glazing | High School- Windows Throughout | ND | ND |  | Analyzed Positive- by MEC in 2012- Preventive Measures… Continue O&M Material identified by MEC in 2012 |
| MME | Fire Retardant Curtain | Jr. High- Auditorium Stage | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by MEC in 2012 |
| MTA | Transite Lab Table Tops | High School- Science Classrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by MEC in 2012 |
| MCF | 2’x4’ Ceiling Tile- Smooth | High School- Concession Area between Gym & Cafeteria | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by True North in 2015 |
| MMF | Mastic | Wood Floor in Gym | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by True North in 2015 |
| MFK | Linoleum- Brown | High School- Stairs | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by True North in 2015 |
| MFL | 9”x9” Floor Tile/Mastic- Light Brown w/Brown Splotches | High School- Kitchen, Gym Storage Rooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material identified by True North in 2015 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.