SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT					Page 1 of 5

Building Name: St. Bridget

Building Address:  604 Clifford Avenue Loves Park, Illinois 61111

Name of Person Completing Report:

Title: 			                       						    Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Spray Applied Acoustical Ceiling Material | Throughout | ND | ND |  | Preventive Measures… Continue O&M |
| 1A | 12”x12” Floor Tile/Mastic- Ivory | Gymnasium Lobby, Hallway | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |
| 02 | 9”x9” Floor Tile/Mastic- Tan w/Long Brown Streaks & Blotches | Hallways and Classrooms Throughout | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED Abated Rm 9 2010 |
| 2A | 12”x12” Floor Tile/Mastic- Tan w/Brown Streaks | Gymnasium, Stage, Stage Storage, Boy’s & Girl’s Locker Rooms | ND | ND |  | Tile Negative in 1990 by PLM-Both Tile and Mastic to remain ASSUMED- analyze Tile by TEM Method *covered with wood (See HA-MMB) |
| 03 | 9”x9” Floor Tile/Mastic- Brown w/Red & White Streaks | Hallways, Classrooms, Kitchen & Janitor’s Closets, AV Supply Closet | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED- Covered with gray 12x12 in janitor’s closet 1/14. Kitchen covered w/vinyl 10/15 Hallways encapsulated/covered w/12x12( See HA-MFI), classrooms encapsulated/covered w/carpet squares (See HA-MFJ |
| 3A | 9”x9” Floor Tile/Mastic- Brown | Janitor’s Closet, Janitor’s Closet & Storage Rooms, Lobby Storage | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED- Covered with gray 12x12 in janitor’s closets adjacent to main bathrooms 1/14.* Abated summer 2016 |
| 3A-1 | 9”x9” Floor Tile Mastic (Associated w/HA 3A) | HA 3A-1 is now Included w/HA3A | ND | ND |  | HA# 3A-1 has been Eliminated and is now Included w/Individual Associated Tiles |
| 04 | 9”x9” Floor Tile/Mastic- Green w/White Streaks | Kitchen | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |
| 4A | Gypsum Board | Gymnasium Stage Storage | N/A | N/A |  | Material Analyzed to be NON-ACM in 1990 |
| 05 | Plaster Ceilings & Walls | Kitchen, Restrooms, Kindergarten | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 5A | Plaster Ceilings & Walls | Throughout Gymnasium & Associated Gymnasium Area Rooms | N/A | N/A |  | Material Analyzed to be NON-ACM in 1990 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 5

Building Name: St. Bridget

Building Address:  604 Clifford Avenue Loves Park, Illinois 61111

Name of Person Completing Report:

Title:  					                       				   Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 06 | 9”x9” Floor Tile/Mastic- Light Brown w/Long White & Brown Streaks | Lobby, Scattered Areas in Hallway, Kindergarten Room #9 | ND | ND |  | Tile Negative in 1990 by PLM-Both Tile and Mastic to remain ASSUMED- analyze Tile by TEM Method- Material Abated from Room #9 in 2010 Ecapsulated/covered w/12x12*SeeHA-MFI |
| 6A | Sprayed-Applied Acoustical Ceiling Material | Gymnasium Lobby | ND | ND |  | Preventive Measures… Continue O&M |
| 07 | Pipe Insulation | Throughout Boiler Room, Tunnels, Inside Walls & Chases | ND | ND |  | Preventive Measures… Continue O&M |
| 7A | 9”x9” Floor Tile/Mastic- Tan w/Brown & White Streaks | Gymnasium Stairwell to Attic, Balcony | ND | ND |  | Preventive Measures… Continue O&M |
| 08 | Boiler Insulation/Boiler Breeching (Breeching Now Identified as HA# TDA) | Boiler Room | ND | ND |  | Preventive Measures… Continue O&M |
| 8A | 1’x1’ Ceiling Tile- Peg Hole | Stage Storage | N/A | N/A |  | Material Analyzed to be NON-ACM in 1990 Material Not Located during 2015 Inspection |
| 9A | 1’x2’ Acoustical Ceiling Tile | Gymnasium, Balcony | N/A | N/A |  | Material Analyzed to be NON-ACM in 1990 |
| 10A | Pipe Insulation | Gymnasium Throughout Rafters | ND | ND |  | Preventive Measures… Continue O&M- Insulation encapsulated w/ Plastic Coating |
| 11 | 12”x12” Floor Tile Mastic | HA-11 is now Included w/Associated Tile in HA-1A | N/A | N/A |  | HA# 11 has been Eliminated and is now Included w/Individual Associated Tiles in HA-1A |
| 12 | 9”x9” Floor Tile Mastic | HA-12 is now Included w/Associated 9”x9” Tile in Areas Throughout | N/A | N/A |  | HA# 12 has been Eliminated and is now Included w/Individual Associated Tiles |
| 13 | 9”x9” Floor Tile Mastic | HA-12 is now Included w/Associated 9”x9” Tile in Areas Throughout | N/A | N/A |  | HA# 13 has been Eliminated and is now Included w/Individual Associated Tiles |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 5

Building Name: St. Bridget

Building Address:  604 Clifford Avenue Loves Park, Illinois 61111

Name of Person Completing Report:

Title:  					                       				   Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 14 | Hot Water Tank Insulation | Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| 15 | Pipe Fitting Insulation | Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| 16 | Linoleum Border/Mastic | Gymnasium Balcony | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| 17 | Linoleum Mastic | HA-17 is now Included w/Associated Linoleum Border HA-16 | N/A | N/A |  | HA# 17 has been Eliminated and is now Included w/Associated Linoleum Border HA-16 |
| MBA | 6” Vinyl Wall Base/Mastic- Gray | Cafeteria, Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBB | 4” Vinyl Wall Base/Mastic- Brown | Janitor’s Closet, Kitchen Storage | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFA | 12”x12” Floor Tile/Mastic- Tan w/Small Brown Flecks | Hallway- Outside Classroom #2, Classroom #3 North End | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFB | Ceramic Tile/Grout- Green | Boy’s & Girl’s Bathrooms | N/A | N/A |  | Material Analyzed by Ironwood to be NON-ACM in 2013- Material Identified by MEC in 2012 |
| MFC | 2”x2” Ceramic Tile/Grout- Gray | Central Boy’s Bathroom | N/A | N/A |  | Material Analyzed by Ironwood to be NON-ACM in 2013- Material Identified by MEC in 2012 |
| MMA | Interior Window Glazing | Windows Throughout | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| TDA | Boiler Breeching (Previously improperly Included w/HA# 08) | Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M- Material NOT Previously Sampled- Material reclassified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 4 of 5

Building Name: St. Bridget

Building Address:  604 Clifford Avenue Loves Park, Illinois 61111

Name of Person Completing Report:

Title:  							                       		   Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| TTA | Heat Exchanger Insulation | Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| MCA | 2’x2’ Ceiling Tile | Throughout West Wing | N/A | N/A |  | Letter on File from Armstrong stating NON-ACM |
| MMB | Mastic | On Wood Floor in Gym | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MBC | 6” Vinyl Wall Base- Brown | Hallway in New Building | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFD | 12”x12” Floor Tile/Mastic- Tan w/Blotches Red & Green Tile | Hallway In New Building | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MWA | 12”x12” Ceramic Wall Tile/Grout- Gray | Boy’s & Girl’s Bathrooms except Bathroom Near Gym | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFE | 12”x12” Ceramic Floor Tile/Grout- Gray | Boy’s & Girl’s Bathrooms except Bathroom Near Gym | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFF | 12”x12” Floor Tile- Tan w/Brown & White Streaks | Hallway and Classroom in 1993 Addition | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFG | 12”x12” Floor Tile- Brown w/White Streaks | 1993 Addition- Edge of Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MBD | 4” Vinyl Wall Base- Brown | Throughout 1993 Addition of Classroom and Hallway | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFH | 12”x12” Floor Tile/Mastic- Gray w/White Blotches | Teacher’s Lounge | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 5 of 5

Building Name: St. Bridget

Building Address:  604 Clifford Avenue Loves Park, Illinois 61111

Name of Person Completing Report:

Title:  					                       				    Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MMC | Interior Window Glazing | On Windows of the 1993 Addition | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFI | 12” x 12” Floor Tile/Mastic- Gray w/Black Specks- Covering HA-02 | Cafeteria, Hallways, Classrooms (north wing, east/west wing excluding the 1993 the addition.) | ND | ND |  | Tile is NON-ACM Mastic is ASSUMED Material Identified by True North in 2018 |
| MFJ | 12”x12” Floor Tile/Mastic- Tan w/Black Specks- Covering HA-02 | Along the Edge of Hallway | ND | ND |  | Tile is NON-ACM Mastic is ASSUMED Material Identified by True North in 2018 |
| MFK | 12”x12” Floor Tile/Mastic- Grey w/Black Specks | Original Building- Entrance to Bathrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2018 |
| MFL | Sheet Flooring- White w/Specks- Covering HA-04 | Kitchen | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2018 |
| MMD | 24”x24” Carpet Tiles w/Adhesive | Classrooms 1,2,3,4,5,6,7,8,11,12,13,14,15,18, Office, Principals Office | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2018 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.