SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 1 of 4

Building Name: All Saints Academy (St. James School)

Building Address:  409 N First Street Rockford, Illinois 61107

Name of Person Completing Report:

Title:   				                       					Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | 9”x9” Floor Tile/Mastic- Light Green w/Dark Green Specks | Multi-Purpose Room & Stage | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |
| 02 | 9”x9” Floor Tile/Mastic- White w/Black Streaks | 1st & 2nd Floor- Hallways, Gymnasium under Wood Floor | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |
| 03 | 2’x2’ Ceiling Tile-Rough | Throughout | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 04 | Plaster | Scattered Areas Throughout | ND | ND |  | ASSUMED-3 Samples NON-ACM in 1988- 5/7 Samples REQUIRED for more than 1000/5000Sqft |
| 05 | Pipe Insulation | Boiler Room, Fan Room, Locker Rooms, Above Suspended Ceiling | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 06 | Pipe Fitting Insulation | Throughout | ND | ND |  | Preventive Measures… Continue O&M |
| 07 | Hot Tank Insulation | Boiler Room- (Not in operation) | ND | ND |  | Preventive Measures… Continue O&M |
| 08 | 9”x9” Floor Tile/Mastic- Beige w/Brown Specks | Library Storage,101,105, Nurses, Storage by Faculty,203,205, Far SE Classroom | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |
| 09 | Duct Insulation | Fan Room | N/A | N/A |  | Material Analyzed to be NON-ACM in 1988 |
| 10 | 9”x9” Floor Tile/Mastic- Greenish Gray w/Faint Dark Streaks | Classrooms 102,202 & Hall Outside of Fan Room | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |
| 11 | 9”x9” Floor Tile/Mastic- Beige w/Brown Streaks | Classrooms 105,104,201,206, Gymnasium Storage | ND | ND |  | Preventive Measures… Continue O&M- Mastic is ASSUMED |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 2 of 4

Building Name: All Saints Academy (St. James School)

Building Address:  409 N First Street Rockford, Illinois 61107

Name of Person Completing Report

Title:					                       				Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | Flexible Connector | Fan Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| 13 | 9”x9” Floor Tile Mastic | N/A | N/A | N/A |  | HA# 13 has been Eliminated and is now Included w/Individual Associated Tiles |
| 14 | Boiler Breeching | Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M |
| MFA | 9”X9” Floor Tile/Mastic- Light Green w/Dark Green Specks | Multi-Purpose Room- Stage Area | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFB | Linoleum/Mastic- Tan | Multi-Purpose Room- Stairs to Stage | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFC | 12”x12” Floor Tile/Mastic- Green w/Dark Green Flecks | 1st Floor- Hallway- North 2001 Building | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFD | 12”x12” Floor Tile/Mastic- White w/Black Specks | 2001 Building 1st Floor- Hallway- NE End, NE Stairwell, 2nd Floor- Hallway NE End | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFE | Linoleum- Gray w/White Streaks | Stairwells | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFF | Linoleum- Gray | Stairwell- Landings | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFG | 1”x1” Ceramic Tile/Grout- Gray | 1st Floor- Foyers, SW Stairwell, 2nd Floor- Stairwells | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFH | 9”x9” Floor Tile/Mastic- Beige w/Tan Streaks | Classrooms 106, 207 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 3 of 4

Building Name: All Saints Academy (St. James School)

Building Address:  409 N First Street Rockford, Illinois 61107

Name of Person Completing Report:

Title:				                       					Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MFI | 9”x9” Floor Tile/Mastic- White w/Dark Gray Flecks | Classroom 207 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFJ | 12”x12” Floor Tile/Mastic- Beige w/Gray Flecks | Faculty Bathrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFK | 1”x1” Ceramic Tile/Grout- Burnt Brown & Light Tan | 1st Floor- Girl’s Bathroom, 2nd Floor- Boy’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFL | 1”x1” Ceramic Tile/Grout- Light Tan | 2nd Floor- Girl’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFM | 1”x1” Ceramic Tile/Grout- Gray & White | 1st Floor- Boy’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFN | 2”x2” Ceramic Tile/Grout- Gray | Boy’s & Girl’s Locker Rooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFO | 5”x5” Ceramic Tile/Grout- Brown | Kitchen | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFP | 1”x1” Ceramic Tile/Grout- Yellow & White | 1st Floor- Girl’s Bathroom | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MFQ | 12”x12” Floor Tile/Mastic- Light Gray w/Dark Gray & Beige Flecks | 1st Floor- Janitor’s Closet | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMA | Boiler Gasket | Boiler Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MMB | Fire Doors | Boiler Room, Fan Room | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.

SIX MONTH ASBESTOS PERIODIC SURVEILLANCE REPORT				Page 4 of 4

Building Name: All Saints Academy (St. James School)

Building Address:  409 N First Street Rockford, Illinois 61107

Name of Person Completing Report:

Title:   						                       			Date:

| HA# | Material Description | Locations of material | Previous Condition *** | Current Condition *** | Photo # | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MBA | Vinyl Wall Base/Mastic- Black | 1st & 2nd Floor- Classrooms | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MBB | Vinyl Wall Base/Mastic- Gray | 1st Floor- Stairwell | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by MEC in 2012 |
| MCA | 2’x4’ Ceiling Tile- Dots & Fissures | 1st Floor Hallways and 2001 Building | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFR | 9”x9” Floor Tile/Mastic- White w/Black Flecks | Room 210 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFS | 12”x12” Floor Tile/Mastic- White w/Green Flecks | Rooms 204,205,206, & Pre-School 1st Floor | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MBC | 3” Vinyl Wall Base/Mastic- Light Brown | 2001 Building- Art Room, 204,205,206 | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MBD | 3” Vinyl Wall Base/Mastic- Light Gray | Office “B” 2001 Section | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MWA | Drywall, Tape, Joint Compound | 2001 Addition- Hallway and Office | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2015 |
| MFT | Vinyl Plank Flooring- Wood Pattern | Faculty Lounge | ND | ND |  | ASSUMED- Preventive Measures… Continue O&M Material Identified by True North in 2021 |

*** Material Condition***

(ND)- Not Damaged          (D)- Damaged           (SD)- Significantly Damaged

The 6-month inspection must be performed and this form(s) completed by your AHERA-trained employee. Form(s) will be completed no later than March 30th and September 30th of each calendar year. The completed inspection form(s) should then be inserted into your Asbestos Management Plan.  A copy of the completed form must also be sent to the Diocesan Property Management Office, attention Brian Heinkel, for insertion into our copy of your Asbestos Management Plan.  NOTE:   If the status of the ACBM has changed, then photograph the area and record the photograph number in the space provided.  Notify the Asbestos Program Manager immediately concerning any changes.